
                 DEPARTMENT OF ADMINISTRATIVE SERVICES (DAS)

                   Office of School Construction Grants & Review (OSCG&R)

                   FLOOD MANAGEMENT CERTIFICATION PROCESS


[image: image2.png]





             FORM SCG-5002
Any school construction project which adds impervious area to the site (including building area, pavement, sidewalks, etc.), or removes vegetated areas (wooded areas) to create open fields, or changes the slopes of existing grades may be required to submit an executed application to the state Department of Energy and Environmental Protection (DEEP) Inland Water Resources Division (IWRD) for flood management certification.

It shall be the responsibility of the design professionals to thoroughly investigate the requirements of the Connecticut General Statutes (C.G.S.) regarding Flood Management Certification (FMC).  
If, after their investigation, it is determined that Flood Management Certification (FMC) is required, the design professionals shall submit a completed FORM SCG-5003: Flood Management Certification Notice to the OSCG&R Plan Reviewer at the Design Development Review (DDR) meeting indicating that certification is required, and a Flood Management Certification application will be prepared.  
If, after investigation, it is determined that Flood Management Certification (FMC) is not required, the design professionals shall submit a completed FORM SCG-5003: Flood Management Certification Notice to the OSCG&R Plan Reviewer at the Design Development Review (DDR) meeting indicating that no Flood Management Certification application will be prepared.
The design professionals shall obtain and complete the necessary application forms and instructions from DEEP/IWRD.

Connecticut Technical High School System Projects: for CT-THHS projects, the design professional responsible for completing the application shall prepare the forms, sign and seal the appropriate pages, and then arrange through the OSCG&R Plan Reviewer for a state Division of Construction Services (DCS) project manager to review the documents to be submitted to DEEP.

The documentation and information required to be submitted is identified on the DEEP website.  The following is only a reminder of some of the critical information that DEEP requires.

Full-scale Plans (1:40 minimum) and Details:
· Erosion and sediment control

· Contour/Grading elevations (existing and proposed)

· Identify watercourses and watershed areas

· Information addressing NFIP (National Flood Insurance Program) standards

· Existing and proposed drainage structures and pipelines

· Details for detention basins, swales, drywells, etc.

Support information:
· Peak flows - pre and post conditions (analyze 2, 10, 25, 50 and 100 year frequency storm events)

· Storm drainage computation and outlet protection design

· Summary of discharges table for each design point

· Outlet velocity computations

FORM SCG-5002 rev 7/18/18 


[image: image1]