NOTICE TO CONTRACTOR – RECENT REVISIONS

The Contractor is hereby notified that the following Traffic Engineering Special Provisions have been revised:

Section 1.07 – Legal Relations and Responsibilities

- Updated service entrance inspection requirements.

Section 10.00 – General Clauses for Highway Illumination and Traffic Signal Projects

- Added email information for digital PDF files

- Updated as-built plan requirements

- Added testing for video detection

1015034A – Grounding and Bonding

- Revised method of measurement and basis of payment

1107011A – Accessible Pedestrian Signal and Detector (Type A)

- Revised construction methods to include warranty and provisions of manuals

- Revised materials to include Bluetooth connection

1108110A – Traffic Signal Controller

- Added language to install and program an Advanced Transportation Controller (ATC)

1108163A – Modify Existing Controller

- Added email information for digital PDF files

1112286A – 360 Degree Camera Assembly

- Included the section for 360 Degree System Fiber Optic Cable

- Revised functional requirements to include capability for detecting wrong way vehicles

1118012A – Removal and/or Relocation of Traffic Signal Equipment

- Added line indicating salvage of State-owned traffic signal equipment shall be coordinated with District Electrical Maintenance (for permits only)

- Existing pedestals and span poles will not be salvaged anymore

- Added additional items in salvage materials table

The Contractor is hereby notified that the following Traffic Engineering Special Provisions have been newly added:

1017019A – Wireless Radio Assembly

1017109A – Service Disconnect Switch

1108208A – Install State Furnished Cellular Modem

1112205A – Radar Detector

1113179A – 360 Degree System Fiber Optic Cable

The Contractor is hereby notified that the following Traffic Engineering Guide sheets are included:

GS_Light Standard and Foundation

- Added J-Hook Mounting Detail.

- Added Aluminum Light Standard Base showing Grounding Lug Detail.

- Added Portland Cement concrete number.

- Revised grounding rod location & minor revisions

The Contractor is hereby notified that the following Traffic Engineering Standard sheets have been revised and uploaded to the CTDOT website:

TR_1001_01 – Trenching and Backfilling

TR_1002_01 – Traffic Control Foundations

TR_1010_01 – Concrete Handhole

The Contractor is hereby notified that the following Traffic Engineering items are now covered under the Standard Specifications (Form 819)

1002291 – Modification of Existing Controller Foundation

1008908 – Clean Existing Conduit

1010060 – Clean Existing Concrete Handhole