| DOCKET NO. 175 - An application of Cellco Partnership d/b/a Bell Atlantic NYNEX Mobile for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance, and operation of a cellular telecommunications facility at the Groton Police Department headquarters, Groton Long Point Road, Groton, Connecticut. | } } } } | Connecticut Siting Council November 21, 1996 |
| --- | --- | --- |

FINDINGS OF FACT

INTRODUCTION

- Cellco Partnership d/b/a Bell Atlantic NYNEX Mobile (BANM) in accordance with provisions of General Statutes §§ 16-50g through 16-50aa applied to the Connecticut Siting Council (Council) on June 13, 1996, for a Certificate of Environmental Compatibility and Public Need (Certificate) for the construction, operation, and maintenance of a telecommunications facility in the Town of Groton, Connecticut. The purpose of the facility would be to expand and improve cellular service in the Town of Groton and New London, New England County Metropolitan Area (NECMA).  (BANM 1, Section I, pp. 1 and 2)

- Public notice of the application, as required by General Statutes § 16-50l (b) was published in The New London Day on June 11 and 12, 1996. (BANM 1, p. 5, and Tab 5; BANM 2)

- Pursuant to General Statutes § 16-50m, the Council, after giving due notice thereof, held a public hearing on the application September 16, 1996, beginning at 3:30 p.m., and reconvening at 7:00 p.m., in the Lower Meeting Room, Groton Town Hall, Groton, Connecticut.  (Council Hearing Notice; Transcript, September 16, 1996, 3:30 p.m. (Transcript 1) and 7:00 p.m. (Transcript 2))

- The Council and its staff made an inspection of the proposed tower site on September 16, 1996. (Council Hearing Notice)

- Springwich Cellular Limited Partnership is an intervenor in this proceeding.  (Transcript 1)

- BACKGROUND

- On May 20, 1993, the Council ruled that BANM would not require a Certificate to temporarily attach antennas to an existing 110-foot town-owned tower and to house radio equipment in the Groton Police Department building.  This was the first phase of an agreement between BANM and the Town of Groton for the development of an upgraded telecommunications tower at the Town of Groton Municipal Services Complex (Town Complex).  (BANM 1, Tab 2, pp. 4, and 5; Council Administrative Notice  No. 6, Petition No. 350, p. 6 and Exhibit E)

- In October 1993, the Town of Groton Planning Commission and Town Council were both in favor of leasing Town property to BANM for the construction of a new telecommunications tower and new addition to the Groton Police Department building.  The Town Council noted that the proposed agreement would enhance town radio transmission, provide additional space for the police dispatch center, and generate a source of revenue for the town.  In December 1993, the Representative Town Meeting accepted a resolution to authorize the Town Manager to lease Town property to BANM for the development of the proposed telecommunications facility.  (BANM 1 Tab 2, p. 9; Petition No. 350, pp. 7 and 8)

- On March 12, 1996, the Town of Groton Planning Commission approved site plans for a new 50-foot by 78.8-foot building addition to the Groton Police Department building at the Town Complex.  (BANM 3)

- On March 28, 1996, the Council ruled that a BANM proposal to construct a new 148-foot self-supporting lattice tower and remove a 50-foot guyed tower, adjacent to an existing 110-foot self-supporting lattice tower to the Groton Police Department building, and remove antennas from the roof of the Police Department building  might have a substantial environmental effect and therefore would require a Certificate. (BANM 1, pp. 2, 21, and 22, Tab 2, pp. 5 and 9; Council Administrative Notice  No. 6, Petition No. 350)

- NEED

- The Federal Communications Commission (FCC) has determined that there is a public need for cellular service, and applicants for cellular facilities are not required to demonstrate a general public need for cellular service to state regulators.  The FCC has also pre-empted state regulation of cellular telephone service in the areas of technical standards and market structure.  (BANM 1, pp. 6-8; BANM Administrative Notice No. 1, Docket No. 126, Findings of Fact, No. 8)

- To encourage development of competitive cellular service nationwide, the FCC issued two licenses for cellular service at the wholesale level in each market area. Pursuant to FCC authorization BANM is the non-wireline cellular service provider in the Fairfield County, New Haven, Hartford, and New London NECMAs and the Windham Rural Service Area.  Springwich Cellular Limited Partnership (Springwich) is the wireline carrier for cellular service in the State of Connecticut.  (BANM 1, pp. 6-8; BANM Administrative Notice No. 1, Docket No. 126 Findings of Fact, No. 10)

- The Federal Telecommunications Act of 1996 further emphasizes and expands the FCC’s determination of a nationwide public need for high quality wireless communications services, including cellular service.  This act seeks to promote competition and reduce regulation to encourage technical innovation and foster lower prices for wireless customers.  (BANM 1, p.6)

- The purpose of the proposed tower is to replace the existing cell site at the Town Complex to improve coverage, enhance portable telephone coverage along U.S. Route 1 and Interstate 95, and to improve the site’s capacity to off-load traffic from existing adjacent BANM cell site facilities in Stonington, North Stonington, Montville, and New London.  (BANM 1, p.8, Tab 2, p. 10)

- The existing cell site consists of 18 channels operating on two, six-foot omni-directional transmit/receive whip antennas.  The proposed tower would support three sectors, each sector operating 18 channels on 12 directional transmit/receive panel-type antennas.  Sectoring the Groton site would increase off-loading capability and limit interference with adjacent cell sites including those operating on Long Island, New York.  (BANM 1, Tab 1, p. 1; Tr. 1., pp. 12-14)

- CELLULAR COVERAGE

- A cellular system service area consists of an overlapping arrangement of transmit/receive stations known as cell sites.  Cell site transmissions must conform to FCC standards regarding coverage, interference, and radiated power.  This system design allows for the configuration of cell sites so that the same frequencies can be used at the same time in different cells (frequency reuse) and to provide uninterrupted service throughout a service area (hand-off).  (BANM 1, p. 9; BANM Administrative Notice No. 1, Docket No. 126 Findings of Fact, No. 12)

- BANM uses  signal threshold levels of -75 decibels (dbm) to provide acceptable service to hand held portable telephones and -90 dbm for mobile telephones.  Springwich uses a signal threshold of -85 dbm for acceptable coverage. (BANM 1, Tab 3; Springwich 1, Q. 1; Tr. 1, pp. 14 and 15)

- At a coverage level of -90 dbm, with the existing Groton facility in operation, BANM experiences a 1.5 mile coverage gap along Interstate 95, a 1.0 mile coverage gap along U.S. Route 1, 2.5 mile coverage gap along Route 27, a 1.5 mile coverage gap along  Route 117, and a 3.0 mile coverage gap along  Route 184 in the north and east Groton area.

- Existing Coverage  from the 110-foot tower within a five mile radius.

|  | Covered Miles |  | Uncovered Miles |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Routes | ³-75 db | ³-90 db |  | £75 db | £90 db |  | Total Miles |
| 95 | 0.50 | 9.00 |  | 10.00 | 1.50 |  | 10.50 |
| 1 | 4.00 | 14.00 |  | 11.00 | 1.00 |  | 15.00 |
| 27 | 0.00 | 0.00 |  | 2.50 | 2.50 |  | 2.50 |
| 184 | 0.00 | 5.00 |  | 8.00 | 3.00 |  | 8.00 |
| 117 | 0.00 | 4.00 |  | 5.50 | 1.50 |  | 5.50 |
| 215 | 1.75 | 4.00 |  | 2.25 | 0.00 |  | 4.00 |
| Total | 6.25 | 36.00 |  | 39.25 | 9.50 |  | 45.50 |

(BANM 1, Tab 3)

- At a coverage level of -90 dbm, with the proposed Groton facility in operation, BANM would experience a 1.5 mile coverage gap along Interstate 95 and a 0.5 mile coverage gap along U.S. Route 1, 1.75 mile coverage gaps along Routes 27 and 184, and a 0.75 mile coverage gap along Route 117 in  the north and east Groton area.

- Proposed Coverage from a 148-foot tower with a five mile radius.

|  | Covered Miles |  | Uncovered Miles |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Routes | ³-75 dbm | ³-90 dbm |  | £-75 dbm | £-90 dbm |  | Total Miles |
| 95 | 1.50 | 9.00 |  | 9.00 | 1.50 |  | 10.50 |
| 1 | 5.00 | 14.50 |  | 10.00 | 0.50 |  | 15.00 |
| 27 | 0.00 | 0.75 |  | 2.50 | 1.75 |  | 2.50 |
| 184 | 0.00 | 6.25 |  | 8.00 | 1.75 |  | 8.00 |
| 117 | 0.75 | 4.75 |  | 4.75 | 0.75 |  | 5.50 |
| 215 | 2.00 | 4.00 |  | 2.00 | 0.00 |  | 4.00 |
| Total | 9.25 | 39.25 |  | 36.25 | 6.25 |  | 45.50 |

(BANM 1, Tab 3; Tr. 1, pp. 16-18)

- Based on analysis of propagation from the proposed tower and existing coverage, BANM would still need a new cell site between northeast Groton and western Stonington. (BANM 1, Tab 3; Tr. 1, pp. 18-20)

- Springwich presently shares the existing Groton Police Department tower with their antennas mounted at the 50-foot level of the tower. The increase in antenna height would provide additional cellular coverage for Springwich within the Groton area.  (BANM 1, pp. 3 and 12, Tab 1, p. 9; Springwich 1, Q. 1; Tr. 2, p. 5 and 6)

- Without a Groton site, Springwich would experience significant gaps in coverage in the Groton Long Point/Mystic area.  The existing Groton site provides some coverage but has quarter-mile gaps in coverage along U.S. Route 1 and along Interstate 95 east and north of the site; it also has limited coverage in the Mystic area.  The proposed tower would provide additional coverage, but would not fully cover these gaps in coverage.  (Springwich 1, Q. 1)

PROPOSED PRIME SITE

- The proposed site is a leased 40-foot by 60-foot parcel located approximately 250 feet east of Groton Long Point Road and immediately south of the planned Groton Police Department addition.  The leased parcel is on the northerly portion of a 37.6+ acre Town Complex located off Groton Long Point Road, Groton, Connecticut.  The Town Complex consists of the Groton Police Department, the Groton Public Works Department garage and maintenance facility, a town-operated recycling facility, and a dog pound. (BANM 1, p. 12, Tab 1, pp. 1, 3, 4, and 11; Council Administrative Notice No. 6 Petition No. 350, Site Plan Attachment)

- The topography of the Town Complex slopes down from a ground elevation of 200 feet above mean sea level (amsl) from the north portion of the property to 140 feet amsl at the south portion of the property. The site elevation is 170 feet amsl.  The proposed leased area slopes 20 percent to the south away from the Police Department parking area.  Minimal clearing would be required except for a single six-inch tree within the leased parcel which would be relocated elsewhere on the complex.  BANM proposes to construct a retaining wall and back fill the site to maintain a relative level grade around the tower base.  (BANM 1, Tab 1, p. 4; Council Administrative Notice No. 6 Petition No. 350, Site Plan Attachment, Tr. 1, p. 28)

- No wetlands or watercourses are within the leased area.  The nearest wetland is approximately 650 feet to the southeast.  BANM would install erosion and sedimentation controls, consistent with the Connecticut Guidelines for Soil Erosion and Sediment Control, prior to the start of construction, protecting areas down slope of the proposed site.  (BANM 1, p. 20, Tab 1, pp. 4 and 11, and Bulk File 2, Inland Wetlands and Watercourse Map; Tr. 1 pp. 27 and 28)

- An existing driveway and parking area at the Town Complex would serve as a vehicle access to the proposed tower site.  (BANM 1, p. 14, Tab 1, pp. 3-5)

- The Town Complex property and proposed leased area is zoned RS-20.  The Town Zoning Regulations specifically prohibit the development of commercial broadcast antennas in this zone.  Services of the Town of Groton are permitted in this zone as a matter of right, subject to applicable RS-20 restrictions, which  include towers occupying  not more than an aggregate ten percent of the building area and not used for human occupancy, erected to a reasonable and necessary height as determined by the  Zoning Commission. (BANM 1, Bulk File 1, Town Zoning Regulations and Map)

- Land use adjacent to the Town Complex is mixed development within R-12, RS-20, and RU-20 residentially zoned districts.  To the west of the Town Complex is Saint Mary’s Church and the Robert E. Fitch Senior High School.  To the north of the Town Complex is two residential dwellings, additional town-owned land, and  a 92.5-foot cylindrical water tower owned and operated by the City of Groton.  To the south of the Town Complex is residential development, and to the east is undeveloped woodland.  (BANM 1, p. 18, Tab 1, p. 5)

- There are four houses located within 1,000 feet of the proposed tower.  The closest house is approximately 375 feet northwest of the proposed tower.  Also, located within 1,000 feet of the proposed cell site is the Town’s Public Works Department and Police Department, Saint Mary’s Church and an accessory church building.  (BANM 1, Tab 1, p. 13; BANM 6, Q. 1)

- PROPOSED FACILITY

- BANM proposes to construct a 148-foot, self-supporting steel lattice tower measuring approximately 22 feet between three leg bases tapering to approximately five feet at the top.  BANM would mount twelve, 52-inch by 12-inch panel-type directional antennas on side arms with the center line of radiation at 146 feet. BANM’s radio equipment would be stored in a 20-foot by 30-foot room within the new Groton Police Department addition.  The tower would be surrounded by an eight-foot high, chain link, security fence.  The 40-foot by 60-foot compound would be .14 percent of the 37.6 acre parcel.  (BANM 1, p. 12 and 13, Tab 1, pp. 1, 4, 6, 8, 9, and 11; Tr. 2, pp. 5 and 6)

- The Town of Groton proposes to relocate antennas from the top of the Police Department building roof, and from the existing 50-foot tower to the existing 110-foot tower and proposed tower. The Town has not determined the number and type of antennas to be transferred to the proposed tower and the existing 110-foot  tower.  Following relocation of Town antennas from the 50-foot tower, this tower would be removed.  (BANM 1, pp. 3, 17, and 21; Council Administrative Notice No. 6 Petition No. 350, pp. 4, 5, 8 and 9)

- Springwich would mount panel-type directional antennas with the center line radiation at the approximate 125-foot level of the proposed tower.  Springwich would locate its radio equipment in a room of the new Groton Police Department addition.  (BANM 1, p. 12, Tab 1, p. 11; Tr. 2, pp. 5 and 6)

- The tower would be designed to Electronic Industries Association, EIA-RS-222E, specifications to withstand 90 mile per hour winds with a one-half inch solid ice accumulation.  (BANM 1, Tab 1, p. 6)

- The proposed tower would be constructed by BANM with ownership of the tower reverting to the Town of Groton upon completion of construction.  BANM, Springwich, and the Town of Groton would be co-users of the tower. (BANM 1, pp. 3, and 21; Tr. 1, pp. 45 and 61)

- The tower’s fall zone would remain within the Town Complex property.  The Police Department building including the new addition, the existing 110-foot tower, a portion of the Town’s recycling center, and a parking area behind the police department building would be within the tower’s fall zone.  (BANM 1, Tab 1, pp. 2 and 11; Council Administrative Notice No. 6 Petition No. 350, Site Plan Attachment)

- The Federal Aviation Administration (FAA) determined the proposed 148-foot tower would not be a hazard to air navigation provided the structure is obstruction marked and lighted.  The FAA would not approve an overall tower height greater than 148 feet because of the proximity to the Groton-New London Airport approximately 1.5 nautical miles southwest from the proposed tower.  BANM proposes dual lighting (white medium intensity strobes by day and red obstruction by night) in accordance with FAA Advisory Circular AC 70/7460-1H.  The existing 110-foot tower is currently lighted at the top with a red light 24 hours a day.  (BANM 1, pp. 13, 22, and 23; Tab 1, p. 8; Council Administrative Notice No. 6, Petition No. 350, Exhibit G; Tr. 1, pp. 30 and 31; Tr. 2, p. 9)

- Electric and telephone utilities would be independent of the existing service to the Police Department building.  These utilities would be placed underground from Groton Long Point Road on the south side of new building addition.  A new electric transformer would be installed near BANM’s equipment room. (BANM 1, p. 14, Tab 1, pp. 1 and 5; BANM 6, Q. 6)

- Construction of the Groton Police Department building addition  and new tower would commence immediately upon affirmative approval for this project.  (BANM 1, p. 23, Tab 1, p. 7)

- ALTERNATIVES

- An 80-foot tower owned by a local amateur radio organization, and a 50-foot and 110-foot tower owned by the Town are located within the Town Complex.  BANM and the Town discussed the option of consolidating all the antennas onto one tower, but the Town was not in favor of putting all the equipment on one structure because of the possibility of interference, complex lease arrangements, and the overall height of the tower was limited to 148 feet by the FAA.  (BANM 1, pp. 2 and 13, Tab 2, pp. 6 and 7; Council Administrative Notice No. 6 Petition No. 350; Petition No. 350, Response to Council Interrogatory No. 1)

- An existing 92.5-foot cylindrical water tank is located approximately 1,300 feet north of the proposed Town Complex at an elevation of 227.5 feet amsl, with the top of the tank at  320 feet amsl. The top of the water tank would be at the same level as the proposed tower above mean sea level.  The Town preferred that BANM upgrade the existing telecommunications site at the Groton Police Department.  There are no other existing towers or other structures of adequate height to provide adequate mobile and portable telephone coverage in the Groton area.  (BANM 1, pp. 11 and 12; Tab 1, p. 10, Tab 2, pp. 6 and 7; Council Administrative Notice No. 6 Petition No. 350; Petition No. 350, pp. 5 and 6)

- HEALTH EFFECTS

- BANM measured power densities at the Town Complex twice on September 10, 1996.  The readings are expressed as a percentage of the American National Standard Institute (ANSI) standard for uncontrolled environments and represent power density across the entire radio spectrum.

| Location | Average | Peak |
| --- | --- | --- |
| Base of Tower No. 1 | 5.0% | 24.0% |
| Base of Tower No. 2 | 4.5% | 22.0% |
| Base of Tower No. 3 | 3.5% | 11.0% |
| Inside Dispatch CTR. | 6.0% | 23.0% |

(BANM 6, Q. 8; Tr. 1, pp. 40-43)

- The ANSI standard for cellular frequencies, 870 to 880 megahertz, used by cellular telephone is 0.583 milliwatts per centimeter squared (mW/cm2) which has been adopted by the State of Connecticut as the State standard pursuant to General Statutes § 22a-162.  Using FCC guidelines in OST Bulletin No. 65, the electromagnetic radio frequency power density at the base of the proposed tower, with all antennas transmitting simultaneously on all channels at full power, would be as follows:

| Co-user | Power Density - mW/cm2 | Percent of ANSI Standard |
| --- | --- | --- |
| BANM | 0.032 | 5.5 |
| Springwich | 0.037 | 6.3 |
| Town of Groton | unknown | unknown |

The Town would be a co-user of the proposed tower; however, a total power density analysis can not be determined until a comprehensive antenna configuration can be finalized by the Town.  (BANM 1, pp. 16 and 17; Tab  1, p. 12; OST Bulletin No. 65, Evaluating Compliance with FCC Specified Guidelines for Human Exposure to Radio Frequency Radiation, FCC, Office of Science and Technology, October 1985; IEEE Standard for Safety Levels with Respect to Human Exposure to Radio Frequency Electromagnetic Fields, 3 kHz to 300 Ghz, approved by the American National Standards Institute, November 18, 1992; Tr. 1, p. 34)

ENVIRONMENTAL EFFECTS

- The proposed tower would be visible from the intersection of U.S. Route 1 and Route 215 approximately 750 feet north of the proposed tower  including a cemetery east of this intersection, but would be obscured farther east or west due to topography and trees.  The tower would be visible through a clearing of trees from short sections of Crosswinds Drive approximately 4,500 feet southeast of the proposed tower.  The tower would not be visible from Haley Farm State Park located approximately 3,750 feet south of the proposed site because of topography and trees.  The existing 110-foot tower, the 92.5-foot water tank, and the proposed tower are visible from the Groton Long Point Road, and the  Palmer Cove Bridge crossing  approximately 8,500 feet south of the Town Complex.  The proposed tower and the existing towers at the Town Complex would be visible from the church and high school both located across the street from the Town Complex. (BANM 1, Tab 1, pp. 13-21, Bulk File 1; BANM 7; Tr. 1, pp. 25-27)

- The Groton Plan of Development has identified the view from Fort Hill at the intersection of U.S. Route 1 and Route 215 as a scenic resource.  The Groton Police Department and existing towers at the Town Complex existed prior to the 1990 adoption of the Town Plan of Development.  (BANM 1, Bulk File 3; Tr. 1, p. 23-25)

- Noise emanating from the proposed facility would be temporary during construction, and thereafter when a heating, ventilation, and air conditioning system are operating.  During normal operations, no water or air pollutants would be emitted from the physical structures on the site.  (BANM 1,16, Tab 1, pp. 11 and 12)

- There are no known extant populations of federal or State endangered, threatened, or species of special concern occurring at the proposed site.  (Department of Environmental Protection letter dated July 8, 1996)

- The proposed tower would have no effect on natural, historical, or recreational resources.  (BANM 1, p. 16, Tab 1, p. 13)

COSTS

- The estimated cost to construct the proposed facility is estimated as follows:

Radio equipment		$322,800

Tower and antenna equipment		41,000

Power and common equipment		13,500

Equipment Room		20,000

Miscellaneous	 	 105,000

TOTAL		$502,300

(BANM 1, p. 23)

L:siting/docket/175/fof.doc