DOCKET NO. 184 - An application by Litchfield Acquisition Corporation d/b/a AT&T Wireless Services for a Certificate of Environmental Compatibility and Public Need for construction, maintenance, and operation of a telecommunications tower and associated equipment located at 670 Town Hill Road, or approximately 700 feet southeast from the intersection of Routes 219 and 202 on South End Fire District property, New Hartford, Connecticut.

}

}

}

}

Connecticut

Siting

Council

June 25, 1998

Findings of Fact

Introduction

Litchfield Acquisition Corporation d/b/a AT&T Wireless Services (AT&T) in accordance with provisions of General Statutes §§ 16-50g through 16-50aa applied to the Connecticut Siting Council (Council) on November 18, 1997, for the construction, operation, and maintenance of a single cellular telecommunications facility in the Town of New Hartford, Connecticut.  AT&T has proposed a 100-foot monopole at 670 Town Hill Road or a 90-foot monopole at 20 Antolini Road.  AT&T subsequently proposed to increase the height of the alternate tower from 90 feet to 113 feet to accommodate the South End Fire District.  The purpose of the proposed facility is to provide cellular service to sections of Route 219 and 202 in the Town of New Hartford, Litchfield County, Connecticut. (AT&T 1, p. 1; AT&T 15; Tr. 2, pp. 12-15, and 25-31)

The party in this proceeding is the applicant. Intervenors in this proceeding are Springwich Cellular Limited Partnership (Springwich) and Nextel of New York, Inc. d/b/a Nextel Communications (Nextel).  (February 26, 1998, 6:30 p.m. (February 26, 1998, 6:30 p.m. Transcript (Tr. 1), p.2)

Public notice of the application, as required by General Statutes § 16-50l (b), was published in The Hartford Courant on November 12, and 13, 1997, and in the Litchfield Times on November 6, and 13, 1997.  (AT&T 1, pp. 6 and 11)

As required by General Statute § 16-50l (e), AT&T provided the Town of New Hartford technical material on September 17, 1997, for construction and operation of a cellular telecommunications tower and building at the proposed prime and alternate sites.  (AT&T 1, pp. 43 and 44, Tab 16, and Tab 17)

Pursuant to General Statutes § 16-50m, the Council, after giving due notice thereof, held a public hearing on February 26, 1998, beginning at 6:30 p.m. in the South End Fire District Firehouse, New Hartford, Connecticut.  This hearing was continued on March 19, 1998, at Ten Franklin Square, Hearing Room 1, New Britain, Connecticut. (Council Hearing Notice dated December 15, 1997; and Tr. 1, p. 1; February 19, 1998, 1:30 p.m. Transcript (Tr. 2), p. 1)

The Council and its staff made inspections of the proposed prime and alternate tower sites on February 26, 1998.  During these field inspections, the applicant flew a balloon at each of the sites to simulate the heights of the proposed towers.  (AT&T 1, p. 50; Council Pre-hearing Conference Notice dated January 13, and 14, 1998)

Need

In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  Through the Federal Telecommunications Act of 1996, Congress seeks to promote competition, reduce regulation to encourage technical innovation, and foster lower prices for wireless telecommunications services.  (Telecommunications Act of 1996)

Cellular carriers are subject to federal standards and are licensed by the Federal Communications Commission (FCC) to ensure technical integrity and nationwide compatibility among all systems.  (AT&T 1, p. 19, and Tab 16, p.6; AT&T 2, Q. 1; AT&T 3, Q. 32)

The FCC has issued two licenses for the provision of cellular service in each market area to promote competition.  AT&T is the “A” band, non-wireline provider for cellular service in the Litchfield County Rural Service Area (RSA) and Springwich is the “B” band, wireline provider for cellular service in the State of Connecticut. (AT&T 1, pp. 18, 19, and 45)

Although AT&T has offered to provide space on the proposed prime or alternate tower to the Town of New Hartford police, fire, and emergency response entities, the Town’s South End Fire District is the only Town entity that seeks to use the proposed alternate tower.  Springwich has committed to co-locating its antennas on the proposed prime or alternate tower.  Nextel, a specialized mobile radio provider, has committed to co-locating its antennas on the proposed prime or alternate tower.  (AT&T 1, pp. 19 and 43; Springwich 1, Nextel 1; Tr. 1, pp. 50-53; Tr. 2, pp. 14, and 20-25)

Cellular Service Design

Cellular service consists of low power transmitter/receiver stations known as cell sites.  The cellular system design allows for a configuration of cell sites so that the same frequencies can be used at the same time in different cells (frequency reuse) and to provide uninterrupted service throughout a service area (hand-off).  (AT&T 1, pp. 25, 26, and Tab 16, p. 1)

In designing its cellular system, AT&T developed a cellular grid for the Litchfield County RSA.  The grid consists of contiguous coverage areas with the center of each area representing a theoretical primary macrocell site.  Cell enhancers, repeaters, or microcells may be needed where the primary cell sites do not provide complete coverage.  (AT&T 1, pp. 46 and 47, Tab 16, p. 1 and 3; AT&T 4, Qs. 37 and 38)

AT&T uses a signal strength threshold of -85 decibels (dBm) to design coverage for its system. Signal strength thresholds lower than -85 dBm may create coverage gaps within a cell’s coverage area that may prevent the establishment of a call or cause a call to be disconnected.  AT&T would transmit at 100 watts per transmitter with 16 transmitters per sector using a three sector configuration to provide coverage.  (AT&T 1, Tab 16, p. 5; AT&T 2, Q. 12; Tr. 1, p. 102)

The FCC has licensed AT&T to use up to 500 watts per transmitter in the Litchfield County RSA.  AT&T uses 200 watts at its Mohawk Mountain site and 150 watts at its Winsted site to fulfill the FCC’s license requirement of a 32 dBu contour level of coverage in the Litchfield County RSA. A 32 dBu contour level equates to a signal strength threshold of approximately -100 dBm.  (AT&T 4, Qs. 32 and 33; Tr. 2, pp. 52, 53, 81, and 82)

Springwich could operate at 500 watts per transmitter in the Litchfield County RSA with permission from the FCC. The FCC has licensed Nextel to operate up to 1,000 watts per transmitter.  Neither company has plans to operate at power levels greater than 100 watts per transmitter.  (Tr. 2, pp. 53 and 82)

The standard output of mobile cellular telephone units is three watts, and 0.6 watts for portable hand-held units. (Tr. 2, p. 90)

AT&T does not have seamless coverage at a signal strength threshold of -85 dBm, nor does Springwich and Nextel have seamless coverage at signal strength thresholds of -90 dBm, along primary routes of travel or within towns in the Litchfield County RSA. (AT&T 1, pp. 17 and 18; Springwich 2, Q. 1; Nextel 1, Q. 1)

The location of cell sites is based upon key factors such as traffic demand, topography, site height, site availability, building density, and foliage. (AT&T 1, pp. 17 and 18; Springwich 2, Q. 1; Nextel 1, Q. 1)

Site Search

In its search for a cell site in the New Hartford area, AT&T identified and investigated 10 potential sites, including the two sites proposed in the application. One site at 42 Carpenter Road would provide less coverage than the proposed sites. While another site off Country Lane could provide similar coverage as proposed from a height of 100 feet, AT&T failed to include this site as an alternative. The remaining six sites were rejected for reasons which included distances too remote from the areas for needed coverage, inability to hand-off to existing sites, low elevation, and property owners not interested in leasing parcels of land to AT&T. Two of the 10 sites considered, but rejected by AT&T, are existing structures; a 60-foot tower owned by the South End Fire District at the proposed alternate site and a 195-foot tower owned by Air Touch Paging located in the northwest corner of New Hartford.  The 60-foot tower is too low to provide the necessary coverage and the 195-foot tower is too remote to the area for needed coverage.  After development of primary macrocell sites in the Litchfield County RSA, AT&T may consider the Air Touch Paging tower for fill-in coverage.  (AT&T 1, pp. 45-47; AT&T 2, Qs. 11,12, and 17; Tr. 1, p. 49)

Proposed Prime Site

The proposed prime site is a 30-foot by 30-foot leased parcel within a 85.8 acre parcel of land located at 670 Town Hill Road (Route 219).  The proposed site is 220 feet east of Route 219, has an elevation of 894 feet above mean sea level (amsl), and is within a residential zone (R-80).  The proposed prime site is tree-covered with a mix of hardwoods and conifers, and has a six percent east to west slope at the leased parcel.  (AT&T 1, pp. 14, 16, and 35- 38, and Tabs 5 and 9; AT&T 13)

Ward B. Francis, former owner of the property, established a lease with AT&T on May 11, 1997.  After AT&T filed the application with the Council, Mr. Francis sold the property.  While the original lease would remain in effect, the new owner is not willing to expand the proposed 30-foot by 30-foot leased parcel to 50 feet by 50 feet to accommodate equipment buildings for Springwich and Nextel.  (AT&T 12; Tr. 2, pp. 32 and 41)

To accommodate the radio equipment for AT&T, Springwich, and Nextel on a 30-foot by 30-foot site, a two-story equipment building with a 12-foot by 26-foot first level and 12-foot by 20-foot second level is proposed to be constructed near the base of the proposed tower. (AT&T 1, pp. 14 and 20, and Tab 8; Tr. 2, pp. 38 and 58)

Vehicle access to the proposed prime site would be east from Town Hill Road (Route 219).  A new 300-foot long by 12-foot wide gravel drive would be constructed to the proposed site.  The slope in the area of the proposed access drive is approximately nine percent.  A new 15-inch diameter by 25-foot long reinforced culvert would be installed to cross a drainage swale off the shoulder of Route 219.  (AT&T 1, p. 15, and Tab 9; AT&T 13; Tr. 1, p. 113)

Utilities would be underground from Town Hill Road adjacent to the access road.  (AT&T 1, p. 15, and Tab 9; AT&T 13)

Thirty trees, six-inches in diameter (dbh), would need to be removed to construct the proposed site and access drive. While a total of 120 cubic yards of material would need to be removed, 120 cubic yards, excluding gravel for the access drive, would be needed for fill to construct the proposed facility. (AT&T 1, p. 31 and Tab 9; AT&T 2, Qs. 23 and 25)

No inland wetland areas are within the proposed prime site and access road; however, inland wetlands and watercourses have been delineated both north and south of the site.  The nearest inland wetland is approximately 20 feet east of the proposed access road, or 150 feet east from Town Hill Road.  (AT&T 1, pp. 25, 36, 40, and Tab 9)

The fall zone of the proposed 100-foot prime tower would remain on the lessor’s property. The nearest property boundary would be approximately 210 feet north from the base of the proposed tower.  The only buildings within the fall zone would be those associated with the facility.  (AT&T 1, Tab 9; AT&T 13)

There are two residential structures and Camp Trinita within a 1,000 foot radius of the proposed prime tower. The nearest structure is a residential building on the lessor’s property approximately 300 feet southwest from the proposed prime tower.  Another residence is approximately 925 feet southwest from the proposed prime tower. Camp Trinita is across Route 219 and approximately 500 feet west of the proposed prime tower.  (AT&T 1, p. 38 and Tabs 5 and 9)

The estimated cost of construction for the proposed prime tower site would be:

Cell site radio equipment	$225,500

Tower, Foundation, and Design	63,960

Power Systems and Electric	33,450

Building	42,500

Regulatory Permits	1,200

Access road and site construction 	50,300

Site management and miscellaneous	10,000

Total	$426,910

(AT&T 1, Tab 19)

Proposed Alternate Site

The proposed alternate site is a 50-foot by 50-foot leased area within an approximately 2.4-acre parcel of land owned by the Town of New Hartford’s South End Fire District.  The proposed alternate site would be located approximately 105 feet east from Antolini Road, has an elevation of 742 feet amsl, and a slope of seven percent.  The South End Fire District property is zoned residential (R-80). (AT&T 1,  pp. 33, 41, and Tabs 4A and 9A; AT&T 13)

The site parcel was initially proposed at 30 feet by 30 feet for use by AT&T, but was expanded to 50 feet by 50 feet to accommodate the equipment buildings of Springwich, Nextel, and two other carriers.  (AT&T 13)

Equipment buildings would be constructed near the base of the proposed tower to contain receiving, transmitting, switching, and monitoring equipment.  The building size for each carrier would be 12-feet by 20-feet for AT&T, 10-feet by 20-feet for Nextel, and 12-feet by 26-feet for Springwich.  Each building would be composed of concrete with pebble stone finish.  (AT&T 1, pp. 14 and 20, and Tab 8; Tr. 2, pp. 38 and 58)

The proposed alternate site is surrounded by land owned by the Town of New Hartford and is adjacent to the South End Fire District firehouse and a 60-foot self-supporting lattice tower. Land use to the east is a salt storage area for the Town of New Hartford, to the south and east is the Ann Antolini Elementary School which includes town open space, to the west is wooded and undeveloped, and to the north are Routes 202 and 219.  (AT&T 1, pp. 16, 23, 41, 42, and Tabs 4A and 5A; AT&T 2, Q. 19)

AT&T proposes to construct a 12-foot wide by 105-foot long, gravel drive from Antolini Road for vehicle access.  A ten percent slope exists along the proposed access.  (AT&T 1, pp. 15, 41, and Tabs 4A and 9A; AT&T 2, Qs. 2 and 17; AT&T 13; Tr. 1, pp. 14-15 and 63-64)

Utilities would be underground and adjacent to the access drive from Antolini Road to the proposed alternate site.  (AT&T 1, p. 15, and Tab 9A; AT&T 2, Q. 24; AT&T 13)

Some grading and clearing of about 15 trees, six-inches dbh, would be necessary to construct the proposed alternate site.  (AT&T 2, Q. 23;)

There are no inland wetland areas within the proposed alternate leased parcel and access road.  The nearest inland wetland is approximately 350 west across Antolini Road.  Topography slopes toward this wetland area from the site and access road. (AT&T 1, p. 41, and Tab 9A; AT&T 2, Q. 22)

There are two residential structures and an elementary school within a 1000-foot radius of the proposed alternate tower site. Both residences, one north and one southwest, are approximately 875 feet from the proposed alternate tower site, while the elementary school is approximately 320 feet south of the proposed alternate tower site.  (AT&T 1, Tab 5A; AT&T 13)

The fall zone of the proposed 113-foot alternate tower would cross the east property boundary by 18 feet. The southeast corner of the firehouse and proposed equipment buildings would be the only structures within the fall zone.  (AT&T 1, Tabs 5A and 9A; AT&T 13)

Antennas owned by the South End Fire District would be transferred from the existing 60-foot tower to the new monopole and the existing tower would be dismantled and removed, if the alternate site were to be approved.  (AT&T 1, Tab 9A; AT&T 2, Q. 17; Tr. 1, pp. 94-95)

The estimated cost of construction for the proposed alternate tower site would be:

Cell site radio equipment	$225,500

Tower, Foundation, and Design	63,960

Power Systems and Electric	33,450

Building	42,500

Regulatory Permits	1,200

Access road and site construction 	50,300

Site management and miscellaneous	10,000

Total	$426,910

(AT&T 1, Tab 18)

Facility Specifications

AT&T would construct a self-supporting monopole tower capable of holding two additional carriers’ platforms and local fire and emergency antennas at the proposed prime or alternate site, respectively.  The change to increase the proposed 90-foot alternate tower to 113 feet would be necessary to provide a minimum separation between radio carriers’ antennas and the South End Fire District antenna.  The monopole and foundation would be designed to accommodate a 30-foot extension for future use.  A typical 100-foot monopole measures approximately 52 inches in diameter at the base, tapering to approximately 15 inches in diameter at the top.  The tower is manufactured of galvanized steel which AT&T proposes to paint a gray-blue color.  (AT&T 1, pp. 15 and 20, and Tab 16D; AT&T 2, Qs. 6 and 30; AT&T 15; Tr. 2, pp. 12-15, and 25-31)

On the proposed prime tower, Nextel would mount three whip antennas (14 feet long by 3 inches in diameter) to the top of the proposed tower with a centerline of radiation at approximately 109 feet above ground level (agl); AT&T would mount 9 panel antennas (48 inches long by 12 inches wide) with a centerline of radiation at approximately 100 feet agl; and Springwich would mount four whip antennas (11 feet long by 3 inches in diameter) with a center of radiation at approximately 90 feet agl.  The total height of the proposed prime tower with appurtenances would be about 118 feet agl.  (AT&T 2, Q. 30; AT&T 15; Springwich 1, Q. 1; Nextel 1, Q. 1; Tr. 1. p. 29)

On the proposed alternate tower, the South End Fire District would mount a 16-foot whip antenna to the top of the tower, Nextel would mount three whip antennas (14 feet long by 3 inches in diameter) with a centerline of radiation at approximately 101 feet agl; AT&T would mount 9 panel antennas (48 inches long by 12 inches wide) with a centerline of radiation at approximately 90 feet agl; Springwich would mount four whip antennas (11 feet long by 3 inches in diameter) with a centerline of radiation at approximately 84 feet agl.  The total height of the proposed alternate tower with appurtenances would be about 129 feet agl.  (AT&T 2, Q. 30; AT&T 15; Springwich 1, Q. 1; Nextel 1, Q. 1; Tr. 2, pp. 12-15, and 27)

The proposed towers would be designed to withstand pressures equivalent to a 70 mph wind with one-half inch solid ice accumulation. (AT&T 1, p.19; AT&T 2, Q. 9; Council Administrative Notice No. 4; EIA/TIA 222-F, Structural Standards for Steel Antenna Towers and Antenna Supporting Structures)

AT&T has submitted a notice for construction of the proposed 100-foot tower at the prime site, and 90-foot and 113-foot towers at the alternate site to the Federal Aviation Administration (FAA).  AT&T has not received a response to whether the proposed prime or alternate site towers would require air navigation obstruction marking or lighting.  (AT&T 2, Q. 2; Tr. 1, pp. 13 and 14; Tr. 2, p.75)

Both the tower and equipment buildings would be surrounded by an 8-foot high security fence.  The compound area inside the fence would be surfaced with gravel.  (AT&T 1, p. 15, and Tabs 9 and 9A)

AT&T would plant white pine trees on the north side of the access road and site at either the proposed prime or alternate site.  (AT&T 1, p. 32, and Tabs 9 and 9A; AT&T 13)

During power outage events of less than 24 hours AT&T would rely on batteries for back-up power.  For power outages lasting longer than 24 hours AT&T may use a portable gasoline-powered electric generator.  (AT&T 1, p. 30; AT&T 2, Q. 4)

Environmental Considerations

There are no known or existing populations of federal or State endangered, threatened, or special concern species occurring at either the proposed prime or alternate site.  (AT&T 1, pp. 50-51, and Tabs 20-22)

AT&T undertook a professional reconnaissance survey at the proposed alternate tower site to identify and evaluate archeological resources which may exist within the proposed project limits, as recommended by the State Historic Preservation Office. The State Historic Preservation Officer concurs with the survey that no significant archeological resources are located within the proposed project area and finds no effect upon Connecticut’s cultural heritage. (AT&T 1, p. 51 and Tab 20A; AT&T 2, Q. 21; AT&T 3)

Prior to construction, AT&T would install erosion and sediment controls downslope of where soil would be exposed and an anti-tracking pad to the entrance of the site, consistent with the Connecticut Guidelines for Soil Erosion and Sediment Control, as amended.  After completion of construction, areas disturbed by construction would be seeded and mulched. (AT&T 1, pp. 26 and 28, and Tabs 9 and 9A)

While both the proposed prime and alternate sites are located within a Department of Environmental Protection (DEP) designated Class “AA” watershed, the sites are not within a Department of Public Health Class II watershed.  A “AA” classification indicates that water quality is a potential water supply and that activities on the site cannot reduce water quality below drinkable standards or exceed the pollution level which normally occurs. (AT&T 1, pp. 39 and 41; Tr. 1, pp. 47-48)

AT&T has proposed to move the prime site 30 feet north to reduce impacts to an existing intermittent stream that has formed within logging paths on the property.  Use of these logging paths to gain access to the proposed prime site was considered but are within areas delineated as inland wetlands.  (AT&T 1, Tab 9; AT&T 2, Q. 14; AT&T 13; Tr. 1, p.16, and 113-115)

Noise associated with the construction of the proposed prime or alternate facility would be temporary.  After construction, noise would be from the operation of an air-conditioning unit and from a portable emergency generator used during extended power outages.  (AT&T 1, pp. 21 and 30; AT&T 2, Q. 26)

During construction, traffic flow would be similar to that of a single family home being built.  After construction, each radio carrier would make monthly visits for maintenance.  (AT&T 1, pp. 31 and 32)

Trees are about 65 to 75 feet in height at both proposed sites. The height of a single white pine tree next to the proposed alternate tower site is about 85 feet. (AT&T 2, Q. 23; Tr. pp. 82-85; DEP letter dated February 18, 1998)

State Route 202 is designated as a State scenic road from the Canton/New Hartford town line for approximately five miles to just west of an intersection with Route 219.  (AT&T 1, p. 42 and Tab 4A;  Tr. 1, pp. 45-47)

The proposed alternate site is approximately 250 feet south from the intersection of Route 219 and U.S. Route 202.  The proposed prime site is approximately 6,250 feet north from the intersection of Route 219 and U.S. Route 202.  (AT&T 1, Tabs 5, 5A, 14, and 14A)

A home on the lessor’s property and Camp Trinita would have a direct line of sight of the proposed prime tower.  The top of the proposed prime tower would be visible from a section of Route 219 in the vicinity of Carpenter Road.  The proposed prime tower would not be seen from the intersection of Routes 202 and 219.  (AT&T 1, Tabs 14 and 15; DEP letter dated February 18, 1998)

The proposed alternate tower would not be visible driving east on Route 202 from the Bakersville section of New Hartford, a distance of approximately 3,750 feet, nor from Timberline Road approximately 1,600 feet east of the proposed alternate site. (AT&T 1, Tabs 14 and 15; AT&T 2, Q. 16; Tr. 1, pp. 25-28 and 47-51; AT&T 14; DEP letter dated February 18, 1998)

The proposed alternate tower would be visible from the intersection of Routes 202 and 219.  The proposed alternate tower would also be seen driving west on Route 202, in the vicinity of South Road from the Nepaug section of New Hartford, a distance of  approximately 4,750 feet, to the proposed alternate site. (AT&T 1, p. 42, Tabs 14 and 15; AT&T 2, Q. 16; Tr. 1, pp. 94 and 95; AT&T 14; DEP letter dated February 18, 1998)

The New Hartford Planning and Zoning Commission prefers locations of antennas or towers and wireless facilities be on existing structures, in locations where existing topography, vegetation, buildings or other structures provide the greatest amount of screening and have the least long range visual disturbance, or on town-owned land or buildings appropriate for a tower or antenna.  (AT&T 1, Tab 13, New Hartford Zoning Regulations)

The New Hartford Zoning Regulations, do not permit a new tower in R-15, R-30, R-45, B-1 and B-2 zones, unless it can be demonstrated by the applicant that there is no feasible location outside of these zones. (AT&T 1, Tab 13, New Hartford Zoning Regulations)

The Town of New Hartford, Planning and Zoning Commission held a public meeting on November 6, 1997.  In summary, no objection to a tower in New Hartford was expressed, but the alternate site at the South End Fire District is preferred, with conditions requiring building enclosures to be screened with conifer trees, and no danger from radio frequency emission in the vicinity of the proposed tower, especially with an elementary school within 1,000 feet of the South End Fire District site.  (AT&T 1, Tab 17)

The cumulative worst-case electromagnetic radio frequency power densities at the base of the proposed prime and alternate towers would be below the 1992 American National Standards Institute (ANSI) standard as adopted by the FCC and the Connecticut Department of Environmental Protection General Statutes § 22a-162.  (AT&T 1, pp. 22 and 48; Tab 10; AT&T 2, Qs. 27 and 28; AT&T 4, Q. 40; AT&T 8; OET Bulletin No. 65, Evaluating Compliance with FCC Guidelines for Human Exposure to Radio Frequency Electromagnetic Fields, FCC, Office of Engineering and Technology, August 1997; IEEE Standard for Safety Levels with Respect to Human Exposure to Radio Frequency Electromagnetic Fields, 3 kHz to 300 Ghz, approved by the American National Standards Institute, November 18, 1992; Guidelines for Evaluating the Environmental Effects of Radiofrequency Radiation, Federal Communications Commission’s Report and Order, adopted August 1, 1996)

Coverage

Existing AT&T coverage at a signal threshold of -85 dBm within a three-mile radius of the intersection of U.S. Route 202 and State Route 219 is as follows:

Existing AT&T coverage in miles

|  | -85 dBm | Uncovered Miles | Total Miles |
| --- | --- | --- | --- |
| U.S. Route 202 | 0.75 | 5.25 | 6.0 |
| State Route 219 | 0.25 | 2.75 | 3.0 |

Within a three-mile radius of the intersection of U.S. Route 202 and State Route 219, AT&T currently has coverage gaps of 5.25 and 2.75 miles along U.S. Route 202 and State Routes 219, respectively, in the Town of New Hartford.  AT&T identified the potential coverage gaps, at a signal threshold of -85 dBm, using a best-server propagation modeling technique, verified by a drive-test procedure.  (AT&T 1, pp. 16 and 48; AT&T 2, Q. 13)

Modifications of antenna configurations and/or tower heights to existing AT&T cellular sites in Winsted (to the north-northwest) and Torrington (to the west), and a proposed Barkhamsted cell site (to the north) would not provide adequate coverage or may cause interference in the New Hartford area.  (AT&T 1, p. 16; AT&T 2, Q. 12, AT&T 7)

The proposed site would hand-off cellular traffic with existing and proposed AT&T cell sites and adjacent Bell Atlantic Mobile facilities bordering Litchfield County.  (AT&T 1, p. 16; AT&T 2, Q. 12, AT&T 7)

Expected coverage for AT&T from the proposed prime site, at transmitting heights of 100 and 80 feet agl, at a signal strength threshold of -85 dBm, within a three-mile radius of the intersection of U.S. Route 202 and State Route 219 is as follows:

Proposed AT&T coverage from prime site in miles

|  | -85 dBm | Uncovered | Total |
| --- | --- | --- | --- |
|  | 100’/80’ | 100’/80’ |
|  | U.S. Route 202 | 3.75/3.75 | 2.25/2.25 | 6.0 |
| State Route 219 | 2.75/2.75 | 0.25/0.25 | 3.0 |

The proposed prime site with either a 100- or 80-foot tower would improve coverage along Route 202 by  50 percent and Route 219 by 89 percent; but neither of these routes would be fully covered at a signal strength threshold of -85 dBm. (AT&T 2, Q. 13; Tr. 1, p. 89)

Expected coverage for AT&T from the proposed alternate site at transmitting heights of 60, 80, and 90 feet agl, at a signal strength threshold of -85 dBm, within a three-mile radius of the intersection of U.S. Route 202 and State Route 219 is as follows:

Proposed AT&T coverage from alternate site in miles

|  | -85 dBm | Uncovered | Total |
| --- | --- | --- | --- |
|  | 90’/80’/60’ | 90’/80’/60’ |
|  | U.S. Route 202 | 3.0/3.0/2.5 | 3.0/3.0/3.5 | 6.0 |
| State Route 219 | 2.25/2.25/2.00 | 0.75/0.75/1.00 | 3.0 |

The proposed alternate site with either a 90- or 80-foot tower would improve coverage along Route 44 by 38 percent and Route 219 by 67 percent; but neither of these routes would be fully covered at a signal strength threshold of -85 dBm. (AT&T 2, Qs. 13 and 17)

A decrease in tower height from 90 feet to 60 feet at the proposed alternate site would decrease coverage at a signal strength threshold of -85 dBm on Route 202 by nine percent and on Route 219 by eight percent.  Use of a tower 60 feet in height may also compromise coverage due to tree growth in the area and may preclude sharing by other carriers.  (AT&T 2, Q. 13; Tr. 1, p. 90)

At a tower height of 80 feet, the proposed prime site when compared to the proposed alternate site would improve coverage, at a signal strength threshold of -85 dBm, along Route 202 by 12 percent and Route 219 by 22 percent. (AT&T 2, Q. 13)

Hand-off capability, at a signal strength threshold of -85 dBm, between either the proposed prime or alternate site with existing cell sites would not be possible at tower heights lower than 80 feet, and would require the development of additional fill-in sites.  In addition, hand-off capability along Route 219 north midway between U.S. Route 44 and 202 would be only viable with the proposed Barkhamsted alternate site. (AT&T 2, Q. 13; AT&T 11, Q. 42)

AT&T may use microcells, cell enhancers, or repeaters on 50-foot structures to cover a one and three-quarter mile gap in coverage along Route 202 east of the intersection of Route 219 from the proposed prime site. Use of microcells, cell enhancers, or repeaters could also cover a quarter-mile gap in coverage along Route 219 in the vicinity of Carpenter Road and a one and one-half mile gap in coverage along Route 202 west from the intersection Route 219 from the proposed alternate site.  Increasing the heights of the proposed towers could reduce some of these gaps, but would not eliminate all gaps without causing interference with adjacent cell sites. The cost to build such a site is about one-fifth the cost of a macrocell site.  (AT&T 2, Q. 13; AT&T 11, Q. 42; Tr. 1, pp. 76-80)

Existing Springwich coverage at signal thresholds of -75 dBm and -90 dBm within a three-mile radius of the intersection of U.S. Route 202 and State Route 219 is as follows:

Existing Springwich coverage in miles

|  | -75 dBm | -90 dBm | uncovered | total |
| --- | --- | --- | --- | --- |
| U.S. Route 202 | 0.50 | 2.00 | 4.00 | 6.0 |
| State Route 219 | 1.00 | 1.50 | 1.50 | 3.0 |

Within a three-mile radius of the intersection of U.S. Route 202 and State Route 219, Springwich currently has coverage gaps, at signal thresholds of -90 dBm, of 4.0 miles and 1.5 miles along, U.S. Route 202 and State Routes 219, respectively, in the Town of New Hartford.  Springwich identified these coverage gaps using a best-server propagation modeling technique. (Springwich 2, Q. 1)

Modifications of antenna configurations and/or tower heights to existing Springwich cellular sites in Winchester (to the north-northwest); Harwinton (to the south); and Canton (to the east) would not provide adequate coverage or may cause interference in the New Hartford area.  The proposed tower would hand-off and off-load existing traffic from these existing Springwich facilities.  (Springwich 2, Q. 1)

Expected coverage for Springwich from the proposed prime site, at a transmitting height of 90 feet agl and the proposed alternate site, at a transmitting height of 80 feet agl, at signal strength thresholds of

-75 dBm and -90 dBm, within a three-mile radius of the intersection of U.S. Route 202 and State Route 219 is as follows:

Proposed Springwich coverage from prime and alternate sites in miles

|  | -75 dBm | -90 dBm | uncovered | total |
| --- | --- | --- | --- | --- |
|  | prime/alternate | prime/alternate | prime/alternate |
|  | U.S. Route 202 | 3.50/4.50 | 4.00/5.00 | 2.00/1.00 | 6.0 |
| State Route 219 | 2.50/2.50 | 2.75/2.75 | 0.25/0.25 | 3.0 |

The change in location from the proposed prime site to the alternate site would increase Springwich’s coverage, at a signal threshold of -90 dBm, 16 percent along Route 202, but would not improve coverage along Route 219. (Springwich 2, Q. 1)

Springwich’s hand-off capability from either the prime or alternate site proposed in New Hartford, at a signal strength threshold of -90 dBm, along Route 219 north midway between U.S. Route 44 and 202 would be only viable with the proposed Barkhamsted alternate site. (Springwich 2, Q. 1; Springwich 3, Q. 3)

Nextel’s existing coverage is nonexistent within the Town of New Hartford.  Nextel, a specialized mobile radio carrier, holds a  FCC license to provide service within its license area which includes Litchfield County.  Nextel is seeking to co-locate antennas on existing structures prior to developing new sites.  (Tr. 2, pp. 52-55; Nextel request to intervene dated January 7, 1998)

Expected coverage for Nextel from the proposed prime site at a transmitting height of 107 feet agl, and from the proposed alternate site at a transmitting height of 97 feet agl, at signal strength thresholds of

-75 dBm and -90 dBm, within a three-mile radius of the intersection of U.S. Route 202 and State Route 219 is as follows:

Proposed Nextel coverage from prime and alternate sites in miles

|  | -75 dBm | -90 dBm | uncovered | total |
| --- | --- | --- | --- | --- |
|  | prime/alternate | prime/alternate | prime/alternate |
|  | U.S. Route 202 | 0.25/2.0 | 3.5/3.5 | 2.5/2.5 | 6.0 |
| State Route 219 | 1.50/0.25 | 2.0/2.5 | 1.0/0.5 | 3.0 |

Both the proposed prime site and alternate site would provide Nextel substantially similar coverage, at a signal threshold of -90 dBm, along Route 219 and Route 202, but these routes would not be fully covered.  (Nextel 1, Q. 1)

Nextel identified coverage using a best-server propagation modeling technique.  Nextel’s hand-off capability from either the prime or alternate site proposed in New Hartford, at a signal threshold of

-90 dBm, along Route 219 north midway between U.S. Route 44 and 202 would be only viable with the proposed Barkhamsted alternate site.  Besides the proposed Barkhamsted and New Hartford sites, Nextel has no other existing or proposed facilities that would be capable to hand-off traffic.  (Nextel 1, Q. 1; Nextel 2, Q. 3)

While the South End Fire District has not performed a radio propagation analysis, it believes the gain in antenna height of 53 feet above the existing 60-foot tower would provide the necessary radio coverage the South End Fire District needs.  (Tr. 2, pp. 25-31)

The South End Fire District would not use the proposed prime site because coverage to Route 202 east of the intersection of Route 219 would be insufficient to meet South End Fire District needs within its service area.  (Tr. 2, p. 22)

l:\siting\dockets\184\fof.doc