| DOCKET NO. 197 - TransÉnergie U.S. Ltd. application for a Certificate of Environmental Compatibility and Public Need for the construction, operation, and maintenance of a high voltage direct current (HVDC) submarine electric transmission and fiber optic cable system from One Waterfront Street, New Haven, Connecticut to Brookhaven, New York. | } } } } | Connecticut Siting Council March 28, 2001 |
| --- | --- | --- |

# Findings of Fact

### Introduction

- On July 7, 2000, TransÉnergie U.S. Ltd., (TransÉ) applied to the Connecticut Siting Council (Council) for a Certificate of Environmental Compatibility and Public Need (Certificate) for the construction, maintenance, and operation of a 300-megawatt (MW) high voltage direct current (HVDC) submarine electric transmission and fiber optic cable system.  (TransÉ 1, pp. 1-1; TransÉ 1, Attachment 3-A, p. 4; Tr. 1, p. 6)

- On June 9, 2000, TransÉ filed with the Council a petition for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the construction, maintenance, and operation of an electric converter substation and interconnection facility located adjacent to the East Shore Substation and the New Haven Harbor Generating Station (NHHS), at One Waterfront Street, New Haven, Connecticut (Petition 465).  (TransÉ 1, p. 2-1; TransÉ 2; TransÉ 10, Nash, p. 3; Tr. 1, p. 6)

- Public notice of the application was published in The Hartford Courant and The New Haven Register on July 3, 2000, and July 5, 2000.  (TransÉ 1, pp. 1-5, 1-6; TransÉ 1, Appendix 1-D)

- Notice of the proposed construction of a high voltage transmission line was distributed in the utility bills of United Illuminating's (UI) customers in New Haven, East Haven, and West Haven on various dates between June 5, 2000 and June 30, 2000. (TransÉ 1, p. 1-6; TransÉ 1, Appendix 1-E; TransÉ 5, Response to Pre-Hearing Question (RPHQ) #13; TransÉ 8, RPHQ #31; Tr. 6, p. 192)

- Pursuant to Connecticut General Statutes §§16-50k and 16-50m, the Council, after giving due notice thereof, held a public hearing for these proceedings on September 27, 2000, beginning at 3:00 p.m. (Tr. 1) and continued at 7:00 p.m. (Tr. 1.1) in the Kennedy Mitchell Hall of Records, Hearing Room G-2, 200 Orange Street, New Haven, Connecticut.  The hearing was continued to November 13, 2000 at 10:00 a.m. (Tr. 2); November 14, 2000 at 12:00 noon (Tr. 3); December 14, 2000 at 11:30 a.m. (Tr. 4); January 9, 2001 at 10:00 a.m. (Tr. 5); January 10, 2001 at 10:30 a.m. (Tr. 6); January 11, 2001 at 11:00 a.m. (Tr. 7); and January 29, 2001 at 1:30 p.m. (Tr. 8) at the Council's offices at Ten Franklin Square, New Britain, Connecticut.  (Council Hearing Notice dated July 25, 2000; Tr. 1, pp. 4, 5; Tr. 1.1, p. 4; Tr. 2, p. 4; Tr. 3, p. 3; Tr. 4, p. 4; Tr. 5, p. 5; Tr. 6, pp. 4, 5; Tr. 7, p. 4; Tr. 8, p. 3)

- TransÉ is a Delaware corporation and a wholly owned subsidiary of Montreal-based, HydroQuebec.  TransÉ would transfer all permits and certificates for the proposed cable system and substation to a Connecticut-based affiliate.  The proposed electric interconnection with the 345-kV system may be transferred to UI.  (TransÉ 1, p. 1-4; TransÉ 2, p. 2; TransÉ 4, RPHQ #1; TransÉ 6, RPHQ #16; TransÉ 10, Nash, p. 1; Tr. 2, p. 164)

- The Council and its staff made an inspection of the proposed converter substation site and upland cable routes on September 27, 2000.  (Council Hearing Notice dated July 25, 2000)

- Parties and intervenors to these proceedings include the applicant, Wisvest-Connecticut LLC (Wisvest), Office of Consumer Counsel (OCC), Connecticut Department of Agriculture (CTDA), Connecticut Maritime Coalition (CMC), Briarpatch Enterprises, Inc. (Briarpatch), Tallmadge Brothers, Inc. (Tallmadge), Connecticut Light and Power Company (CL&P), Fair Haven Clam and Lobster, LLC (Fair Haven), Attorney General Richard Blumenthal (AG), Save the Sound, Inc., and NRG Energy Inc.  The CTDA withdrew from the proceedings on December 14, 2000.  Briarpatch, Tallmadge, and Fair Haven withdrew from the proceedings on January 9, 2001. (Tr. 1, pp. 7 to 10; Tr. 1.1, pp. 6, 7; Tr. 2, pp. 6, 7; Tr. 4, pp. 6, 7; Tr. 5, pp. 6, 7, 194; Tr. 6, pp. 39, 42, 48; Tr. 7, pp. 2, 3; Tr. 8, pp. 5, 6; Position Statement of the Commissioner of Agriculture dated December 14, 2000; Letter from Bruce H. Gresczyk to Paul Aresta dated December 20, 2000; Letter from Michael Fraenza to Mortimer Gelston dated January 9, 2001; Letter from Richard Wirth to Mortimer Gelston dated January 9, 2001; Letter from Winthrop S. Smith, Esq. to Mortimer Gelston dated January 9, 2001)

- On August 24, 1999, TransÉ met with the Mayor of the City of New Haven and his staff, and on February 7, 2000, TransÉ met with the Mayors of West Haven and East Haven to discuss the proposed project, alternative routes and sites, and environmental issues.  On March 22, 2000, TransÉ submitted a technical report entitled "Municipal Filing for Siting of a Submarine Electric Cable and Converter Station" to the Mayors of New Haven, East Haven, and West Haven.  The Mayors of New Haven, West Haven, and East Haven acknowledged reviewing the technical report and had no recommendations.  On February 20, 2001, the New Haven Board of Aldermen unanimously passed a resolution opposing the proposed project.  On December 7, 2000, representatives of TransÉ met with officials of the City of New Haven's Department of Engineering and Public Works, Department of Parks, Recreation, and Trees, and City Plan Department to discuss the alternative upland routes from Lighthouse Point Park to the proposed converter substation site.  (TransÉ 1, pp. 1-3, 1-4; TransÉ 1; Attachment 1-C; TransÉ 10, Nash, p. 6; TransÉ 33, RPHQ #59; TransÉ 34; Resolution of the City of New Haven Board of Aldermen received February 21, 2001)

- The OCC has concerns that the proposed project would affect the interests of Connecticut electric customers and electric utility services rendered in the State.  Wisvest has concerns that the proposed upland cable system could adversely affect the operation and safety of Wisvest's facilities.  The CMC has concerns that the proposed project could negatively impact the shellfishing industries that cultivate the shellfish beds in New Haven Harbor.  The AG has concerns that the proposed project would have the effect of unreasonably polluting, impairing, or destroying the public trust in the air, water, or other natural resources of the State; specifically the shellfish resources within New Haven Harbor.  (OCC Motion for Intervenor Status, dated August 23, 2000; Wisvest 1, Docket 197, p. 2; CMC Request for Intervenor Status, dated September 20, 2000; AG Petition to Intervene as a Party, dated January 8, 2001)

- The CTDA had concerns that the proposed submarine cable project could irreparably harm the integrity of the shellfish beds within New Haven Harbor, would directly negatively impact shellfish resources, and might cause an incubator area for the development of parasites and viruses.  The CTDA recommends that all alternatives to the proposed location and installation methods for the proposed submarine cable system be explored.  (CTDA Notice of Intervention dated September 22, 2000; AG 1, Volk, p. 3; AG 1, Sunilla, pp. 1, 2; Tr. 7, pp. 113, 114, 115)

- TransÉ entered into agreements with the CTDA and the Soundkeeper, on December 14, 2000, whereby the CTDA and Soundkeeper would each receive one million dollars for the purpose of supporting research and restoration efforts for fisheries within the State of Connecticut.  The Shellfish Restoration Agreement between TransÉ and the CTDA included provisions for a minimum cable burial depth of four and one-half feet instead of six feet within the harbor area; as-built mapping; scheduling; post-construction surveys of the sea floor near the trench; and mitigation and restoration measures.  The CTDA prefers an overland alternative route for the proposed cables; however, if an alternative upland route is not feasible, the terms and conditions of the Shellfish Restoration Agreement provide that the CTDA's concerns regarding the proposed submarine cable system installation have been met.  (Position Statement of the Commissioner of Agriculture, Shellfish Restoration Agreement, and Schedule A received December 14, 2000; Position Statement and Amendment of Comments of the Long Island Sound Keeper received December 14, 2000; Tr. 7, p. 88)

- TransÉ entered into an agreement with Briarpatch, Tallmadge, and Fair Haven, shellfish leaseholders in the immediate vicinity of the proposed submarine cable system route, on January 9, 2001.  The agreement between TransÉ and the shellfish interests was not provided to the Council; however, TransÉ stated that some elements of the agreement included provisions for an installation corridor of 160 feet; an installation depth of five feet; the prohibition of anchors and spuds; the prohibition of shellfish cultivation within the 160-foot installation corridor; the establishment of time of year installation restrictions; plan review; refurbishment; independent installation monitoring; independent contaminant testing of water, sediment, and shellfish; and notification provisions for repairs and future cable installations within New Haven Harbor and 300 feet of the shellfish leaseholders' beds. (TransÉ 35; Tr. 6, pp. 77 to 80, 109, 117, 120, 138, 139, 140, 146, 184, 185; Tr. 7, p. 14; Tr. 8, pp. 19 to 23, 28 to 44, 54, 97, 115, 116, 121, 125)

- The term of the agreement between TransÉ and Briarpatch, Tallmadge, and Fair Haven would extend for the proposed life of the project.  The agreement also binds successors and assigns the terms of the agreement to future shellfish leaseholders.  (Tr. 6, p. 138; Tr. 8, pp. 39, 40)

### Public Benefit

- The Council's Review of the Connecticut Electric Utilities' 2000 Twenty-Year Forecasts of Loads and Resources identified the proposed Long Island Sound line as a project intended to increase import and export capability between Connecticut and Long Island, New York.  (Council's Review of the Connecticut Electric Utilities' 2000 Twenty-Year Forecasts of Loads and Resources, p. 15; TransÉ 1, p. 3-6)

- The following natural gas-fired electric generating facilities, approved by the Council, are operational, or expected to be by 2002: a 520-MW Bridgeport Energy LLC project in Bridgeport, a 544-MW PDC-El Paso LLC project in Milford, a 792-MW U.S. Generating Company project in Killingly, and a 250-MW PPL Wallingford project in Wallingford.  A 544-MW PDC-El Paso LLC project in Meriden, and a 512-MW Towantic Energy LLC project in Oxford are expected to be operational in 2003.  New England may have six to eight thousand megawatts of new electric generation capacity by May 2002.  (Council's Review Of the Connecticut Electric Utilities' 2000 Twenty-Year Forecasts of Loads and Resources, p. 12; TransÉ 31, Late-filed 4; TransÉ 31, Late-filed 7; Tr. 2, p. 57)

- The long-term future of the State's electric reserves is uncertain because of fuel diversity issues, fuel price volatility, and the retirement of older fossil-fueled generation units.  The use of natural gas for base load electric generation facilities, combined with other uses, might result in over-dependence and a lack of fuel diversity that may curtail the plans for nearly one-half of the new generation being considered for development in New England.  Approximately 3,900 MWs or sixty percent of the State's electric capacity is 22 years old or older.  (Council's Review Of the Connecticut Electric Utilities' 2000 Twenty-Year Forecasts of Loads and Resources, Summary, pp. 1, 2, pp. 6, 14)

- Long Island does not have sufficient electric generation capacity to meet all of its demand.  Long Island imports up to 200 MWs of power from Connecticut via existing 138-kV electric transmission lines between Norwalk, Connecticut and Northport, Long Island.  Long Island also imports power through New York City.  There are 19 electric generating facilities that have requested interconnection studies of the New York Independent System Operator (NYISO) for a total of approximately 5,650 megawatts of electric generation capacity on Long Island.  (TransÉ 1, p. 3-11; TransÉ 24, Natale, p. 5; TransÉ 30, p. 19; TransÉ 31, Late-filed 1; TransÉ 31, Late-filed 3; TransÉ 31, Late-filed 6; Tr. 2, pp. 60, 61; Tr. 4, pp. 14, 24, 28, 30, 114, 208)

- ISO-New England identified in its Annual Transmission Planning and Evaluation Report, dated April 1, 1999, potentially limiting transmission interfaces, including three thermal import constraints and one import voltage stability constraint that may prevent Connecticut from importing power from the regional grid to meet its need for electricity.  New England has eight transmission interconnections with New York; however, the transfer capacity for electricity imports from New York is limited to approximately 2,400 MWs.  (Council's Review Of the Connecticut Electric Utilities' 2000 Twenty-Year Forecasts of Loads and Resources, pp. 14, 15; TransÉ 1, Attachment 3-A, p. 23; TransÉ 29, RPHQ #II; Tr. 2, p. 50)

- Pursuant to Public Act 98-28, a public benefit for an underground or underwater electric transmission line exists if "such a facility is necessary for the reliability of the electric power supply of the state or for the development of a competitive market for electricity".  (Public Act 98-28 §50 (c)(2); TransÉ 1, p. 3-6; TransÉ 1, Attachment 3-A, p. 10; TransÉ 1, Section 11, p.5; Tr. 2, p. 118; Tr. 4, pp. 57, 58)

- The proposed project is a "merchant" market driven project whose investment and financial success will depend entirely upon revenues from agreements between TransÉ and users of the transmission capacity.  The proposed project would cost approximately one hundred and twenty-five million dollars.  (TransÉ 1, p. 1-6; TransÉ 1, Attachment 3-A, pp. 4, 7, 25, 33; TransÉ 1, Section 11, p. 5; Tr. 1.1, p. 14)

- The projected improvement of the electric system reliability, a measure of Connecticut's ability to have sufficient capacity to meet peak load during the summer of 2002, would increase from 99.78 percent to 99.90 percent, an increase of 0.12 percent, with the addition of approximately 300 MWs of import capacity attributed to the proposed cable system.  TransÉ modeled the projected improvement of transmission system reliability in Connecticut based on existing generation assets, existing and proposed transmission import capacity, and approved but not yet installed generation capacity for electric generation units in Killingly, Milford, and Wallingford.  (TransÉ 31, Late-filed 4; TransÉ 31, Late-filed 7; Tr. 5, pp. 42, 47, 48; Tr. 7, pp. 187, 188)

- The proposed cable system could enable Connecticut and New England to have increased access to electricity supplies on Long Island in the event of a system emergency.  The proposed cable could increase markets available to electric generators in New England and Long Island.  (TransÉ 1, pp. 3-2, 3-6, 3-7;TransÉ 1, Attachment 3-A, pp. 5, 7, 34; TransÉ 30, pp. 1, 2, 4, 22; TransÉ 31, Late-filed 5; Tr. 1.1, p. 14; Tr. 2, pp. 45, 47, 56, 81, 84; Tr. 4, pp. 26, 27, 79, 88, 89; Tr. 7, pp. 186, 190)

- On June 1, 2000, TransÉ received approval from the Federal Energy Regulatory Commission (FERC) to charge negotiated rates for service over the proposed cable system.  The Long Island Power Authority (LIPA) has entered into a contract with TransÉ to purchase the rights to the transmission capacity for the proposed 300-MW cable system for a term in excess of ten years.  The flow of electricity over the proposed cable system would be determined by LIPA and the Independent System Operators for New York and New England, and would depend on demand and the relative prices of electricity in New England and Long Island.  In the event of a dispute or emergency, the flow of electricity between the two ISOs would be determined by a Regional Transmission Organization (RTO), after December 2001.  In the event that LIPA chooses not to use the transmission capacity, LIPA must make the unused capacity available to other parties on a secondary basis.  (TransÉ 1, p. 3-5; TransÉ 1, Attachment 3-A, p. 30; TransÉ 1, Section 11, pp. 4, 5; TransÉ 10, Nash, pp. 4, 6; TransÉ 29, RPHQ #III; Tr. 1, pp. 62-65; Tr. 2, pp. 39, 42, 43, 74 to 80, 94, 109, 139, 151, 152, 157, 158)

- ISO-New England made emergency purchases during Operating Procedure 4 (OP4) conditions, from all possible sources, a total of 65 hours between June 1999 and May 2000.  Approximately, ninety-eight percent of the emergency power purchases flowed through ISO-New England's interfaces with New York, north of Long Island, while approximately two percent flowed across New England's interface with New Brunswick, Canada.  OP4 refers to NEPOOL's criteria and guides for actions during periods of capacity deficiency in the New England electric system.  (TransÉ 31, Late-Filed 1; Tr. 5, p. 10; Tr. 7, pp. 182, 184)

- The export of electricity to Long Island would increase the demand for electricity from New England.  The wholesale price of electricity in New England would increase if the demand for electricity increased and supply remained unchanged.  (Tr. 2, pp. 129, 130; Tr. 4, p. 98)

- The wholesale electricity price differential between New England and Long Island is partially the result of inadequate transmission facilities between these two regions.  The wholesale prices for electricity on Long Island have been higher than prices in Connecticut approximately 83 percent of the time from November 1999 to December 3, 2000.  The wholesale prices for electricity on Long Island are projected to be higher than prices in Connecticut for at least the next few years.  (TransÉ 1, Attachment 3-A, p. 26; TransÉ 30, pp. 3, 18; TransÉ 31, Late-filed 5; Tr. 1, p. 68; Tr. 2, p. 44, 51, 52, 88; Tr. 4, pp. 40, 63, 64, 67, 84 to 88; Tr. 6, p. 62)

# Proposed Project

- The proposed cable system would be an underground, bi-directional, HVDC electric transmission line consisting of two 150-kV DC cables, and a fiber optic cable.  The proposed cable system would interconnect the electric systems of both New England and New York and would allow for the transfer of approximately 300 MWs of electricity to or from Long Island.  (TransÉ 1, pp. 1-1, 1-2, 2-1, 2-3, 3-1, 8-2; TransÉ 1, Attachment 3-A, pp. 3, 4, 5; TransÉ 1, Section 11;TransÉ 8, RPHQ #20, RPHQ #21; TransÉ 10, Nash, pp. 2, 7; TransÉ 11, Exec. Summary, p. 1; Tr. 1.1, p. 10; Tr. 2, pp. 74, 78, 156)

- Each proposed HVDC electric transmission cable would have a 2,570 kcmil copper conductor core encapsulated by a conductor screen, insulation, insulation screen, swelling tape, a lead alloy metal sheath, extruded polyethylene sheath, wires of galvanized steel, and layers of bitumen bonded polypropylene yarn.  Each proposed cable would be approximately four inches (103 millimeters) in diameter and weigh approximately 22 pounds per foot (33 kilograms per meter).  The proposed cables would contain no insulating fluids.  The proposed cables' copper conductors could operate at temperatures less than 158 degrees Fahrenheit.  (TransÉ 1, pp. 2-3, 2-4, 5-1, 6-33, 6-35, 6-48, 6-55, 8-1; TransÉ 1, Figure 2-2; TransÉ 1, Section 11 pp. 6, 7; TransÉ 8, RPHQ #20, RPHQ #21; TransÉ 10, Nash, p. 3; TransÉ 29, RPHQ #IX and Attachment IX; Tr. 1, p. 54; Tr. 5, p. 57; Tr. 6, pp. 191, 192; Tr. 8, p. 144)

- The proposed cable's metal sheath would act as the path of least resistance to ground and contain essentially all of the system's electric current, in the event of damage to the cable.  Protective relay monitoring devices, in a redundant design, would sense a short circuit in the proposed cable system in less than 0.1 seconds (1/10th) and disconnect the cable system from the voltage source.  (TransÉ 1, pp. 2-4, 5-1, 5-2; TransÉ 1, Figure 2-2; TransÉ 5, RPHQ #14; TransÉ 10, Nash, p. 8; TransÉ 19, RPHQ #50)

- The proposed fiber optic cable would allow control, relaying, and communication information to be shared between substations in New Haven and Shoreham.  The proposed fiber optic cable would be bundled and installed with the two HVDC cables within the same trench.  (TransÉ 10, Nash, p. 7; TransÉ 29, RPHQ #XXI Tr. 1, pp. 53, 54)

- HVDC cables have a recorded availability rate exceeding 99 percent over 100 project years of service for the approximately 900 miles of cables installed since 1980.  In the event the proposed submarine cable system needed repair, the damaged portion of the cable system would be exhumed and cut, the damaged HVDC cable end would be hoisted to a surface ship, a splice would be made to a repair segment of the HVDC cable, the other end of the damaged HVDC cable would be hoisted to the surface, and another splice would be performed to the repair segment.  The repaired HVDC cable would then be lowered to the seabed and jetted into the sediment.  The length of the repaired cable would be equal to twice the water depth plus the length of the damaged cable plus a margin.  In the shallow waters in New Haven Harbor, approximately 20 feet in depth, the length of cable exhumed to perform a repair would be approximately 100 feet.  The repair of the proposed HVDC cables would be performed as soon as possible, and if necessary, during the spawning period for fish and shellfish.  (TransÉ 1, pp. 5-3, 5-4; TransÉ 29, RPHQ #XIII; Tr. 2, pp. 201, 203, 204; Tr. 6, pp. 186, 187; Tr. 7, pp. 12, 13; Tr. 8, pp. 146, 147)

- Construction of the proposed converter substation would begin in the spring of 2001.  Construction of the proposed submarine cable system would occur between October 1, 2001 and February 1, 2002, due to in-water construction restrictions imposed by the Connecticut Department of Environmental Protection (DEP), and the agreement between the applicant and the shellfish leaseholders in New Haven Harbor whose beds would be crossed by the proposed cable system.  The projected in-service date for the proposed project is May 2002.  (TransÉ 1, pp. 2-9, 2-10, 3-9, 6-44, 6-92; TransÉ 1, Attachment 3-A, p. 4; TransÉ 1, Section 9;TransÉ 2, p. 8; TransÉ 4, RPHQ #1; TransÉ 4, RPHQ #13; TransÉ 10, Nash, pp. 8, 9; TransÉ 35; Tr. 1.1, pp. 14, 15; Tr. 2, p. 77; Tr. 3, p. 7)

- The projected technical service life of the proposed HVDC cable system is 40 years.  (TransÉ 8, RPHQ #29; TransÉ 29, RPHQ #XVIII)

- TransÉ considered but rejected an alternating current (AC) submarine cable system as an alternative to the proposed DC submarine cable system because an AC cable system would be more costly, would likely be fluid-filled with insulating oil, and would not afford the power flow control capability of a comparable DC cable system.  (TransÉ 1, pp. 3-13; 3-14; TransÉ 1, Section 11, pp. 6, 7; TransÉ 4, RPHQ #10; TransÉ 4, RPHQ #12; TransÉ 24, Natale, Exhibit A, pp. 12, 13)

- A Spill Prevention Control and Countermeasure Plan (SPCC) would be developed and implemented during construction to prevent potential impacts to sediments and water quality that could result from spills of fuel, oils, or other substances.  (TransÉ 1, pp. 6-33, 6-34, 6-35)

### Proposed Site

- The proposed cable system would begin/terminate at the proposed converter substation, the subject of Petition 465, on an approximately 4-acre parcel located at One Waterfront Street, New Haven, Connecticut.  The proposed converter substation site and upland cable routes are within an Industry H District, characterized as intensely developed areas that contain established heavy industries.  The proposed converter substation site is located north of Wisvest's NHHS and a municipal wastewater treatment facility, south of petroleum terminal and storage facilities, east of New Haven Harbor and UI's East Shore Substation, and west of East Shore Parkway and Westchester Motor Lines, Inc.  The approximately 4-acre parcel is currently owned by UI.  (TransÉ 1, pp. 1-1, 1-2, 3-6, 6-2, 6-95 to 6-97; TransÉ 1, Figure 6-10; TransÉ 2, pp. 3, 4, 5, 9, Figure Exhibit B; TransÉ 2, Appendix A, pp. 1, 2; TransÉ 4, RPHQ #3; TransÉ 4A, Zoning Ordinance City of New Haven, pp. 41-2, 42-1; TransÉ 10, Nash, p. 2; TransÉ 11, Map 1)

- TransÉ selected the New Haven site because it is near the coast, is appropriately zoned, contains existing energy infrastructure, has the ability to interconnect to the existing 345-kV electric transmission system, and is a minimal distance from the preferred New York access point.  Interconnection with the 345-kV electric transmission system was a major criterion for TransÉ in the selection of the proposed Connecticut landfall location.  (TransÉ 1, pp. 4-2, 4-3; TransÉ 2, pp. 9, 10; TransÉ 4, RPHQ #10; TransÉ 10, Nash, p. 5; TransÉ 24, Natale, Exhibit A, pp. 2, 3; Tr. 1, pp. 56, 57, 66, 67; Tr. 1.1, pp. 11, 12; Tr. 2, p. 58)

- TransÉ's proposed substation site and upland Cable Route A, and existing land uses, as shown in the following aerial photograph dated 12/21/96.

(TransÉ 11, Map 1)

- TransÉ considered the proposed site in New Haven, and a site at Millstone Station in Waterford for the landfall location of the proposed cable system in Connecticut.  The Millstone Station site was not selected as the landfall location in Connecticut because the two cross-sound cable system routes from Millstone Station to Shoreham would have been almost twice as long and cost an estimated 40 million dollars more than the proposed submarine cable system route.  In addition, undesirable geophysical conditions, consisting of dynamic seabed conditions, sand waves, bedrock outcroppings, and boulders, exist along portions of the two cross-sound cable system routes from Millstone Station which could cause damage to the cable system because of exposure, abrasion, or excessive burial.  (TransÉ 1, p. 3-12; TransÉ 4, RPHQ #10; TransÉ 24, Natale, Exhibit A, pp. 5, 6; TransÉ 26A; TransÉ 32; Tr. 1, pp. 56, 57; Tr. 2, pp. 59, 60; Tr. 6, pp. 157 to 164, 171, 172)

- TransÉ selected the decommissioned Shoreham Nuclear Power Plant in Brookhaven as the location for the New York landfall because the site does not contain significant environmental resources, is located adjacent to the coast, contains electric infrastructure for access to the existing 138-kV bulk transmission system, has land available for the construction of a converter substation, and is well buffered from non-industrial land uses.  (TransÉ 1, Attachment 3-A, p. 3; TransÉ 1, pp. 1-2, 4-1, 4-2; TransÉ 2, p. 3)

- The Conservation and Development Policies Plan for Connecticut, 1998-2003 (C&D Plan) identifies the area in and around the proposed converter substation site and upland cable Routes A, B, and B Prime as "Conservation Areas" and “Neighborhood Conservation Areas”.  Neighborhood Conservation Areas generally reflect stable, developed neighborhoods and communities and are often contiguous to Regional Centers.  Conservation Areas lands identifies areas that may provide for the state's future need for food, fiber, water, and other resources.  (C&D Plan, pp. 117, 129)

- New Haven Harbor Station is a 466-MW oil and gas-fired electric generating facility, owned and operated by Wisvest.  (Wisvest 1, Docket 197, p. 1; Wisvest 2, p. 2)

- A Phase II/III site investigation of Wisvest's NHHS property, which includes areas adjacent to the easement of the proposed upland cable route, known as Route A, indicates areas of historic contamination.  The construction and operation of the proposed substation would not exacerbate the existing contaminant conditions on the proposed site. (TransÉ 1, pp. 6-7, 6-63; TransÉ 2, Appendix A, pp. 9, 10; TransÉ 4, RPHQ #11; Tr. 7, pp. 228, 229)

- The proposed substation site and upland cable Route A would be located on lawn area or cleared access road; no mature vegetation would be removed.  The existing topography of the proposed substation site and upland cable Route A is generally flat, and located on filled and previously disturbed soils.  The depth to bedrock in the vicinity of upland cable Route A was in excess of 14 feet.  (TransÉ 1, pp. 6-4, 6-6, 6-8, 6-63, 6-64, 6-72, 7-1; TransÉ 2, p. 9; TransÉ 2, Exhibit B; TransÉ 2, Appendix A, pp. 2, 4; TransÉ 4, RPHQ #4)

### Proposed Upland Cable

- The proposed upland cable would be installed approximately three feet below ground within a trench approximately six feet wide and four feet deep.  In addition, a 20-foot by 10-foot splicing pit would be excavated, approximately 30 feet upland of the mean high water line, at the transition point between the upland and submarine cables.  The trench and splicing pit will be backfilled with native soils; however, excess material would either be used elsewhere on site or disposed of off site as required and permitted by the Connecticut DEP.  (TransÉ 1, pp. 2-5, 2-6, 6-8, 6-14, 6-67, 6-68, 7-1; TransÉ 1, Figures 2-3, 2-4; TransÉ 4, RPHQ #11; TransÉ 10, Reinhart, p. 3)

- Upland cable Route A would begin at the proposed converter substation site and would be approximately 2,700 feet in length.  Route A would extend southeasterly for a distance of approximately 500 feet; then southerly along the east side of Wisvest's oil tank farm berm for a distance of approximately 750 feet; then westerly along the south side of Wisvest's oil tank farm berm and treatment lagoons for a distance of approximately 750 feet; then northwesterly for a distance of approximately 250 feet; and then westerly for a distance of approximately 500 feet to the proposed landfall point located approximately 400 feet southwest of the NHHS.  Route A would be installed along an existing access road, within a 20-foot wide easement currently owned by UI.  (TransÉ 1, pp. 1-2, 2-2, 2-5, 6-2, 6-80; TransÉ 1, Figures 1-2 and 2-3; TransÉ 1, Appendix A, Sheet AP-A; TransÉ 10, Reinhart, pp. 3, 4; TransÉ 18, RPHQ #2b, #2c; Wisvest 1, Docket 197, pp. 1, 2; Wisvest 2, p. 2; Tr. 2, pp. 32, 33; Tr. 7, p. 43)

- Route A would traverse or be within close proximity to an underground 16-inch diameter, 100 pounds per square inch (psi) natural gas pipeline, an 8-inch diameter fire protection water line, Wisvest's oil tank farm berm, Wisvest's wastewater treatment lagoon, a 12-inch diameter oil transfer pipe, a 10.5-foot diameter saltwater circulating pipe, and 30-inch, 72-inch, and 96-inch diameter storm water culverts.  The existing water line for fire protection located east of the oil tank farm berm could be relocated to avoid any potential disruption during the installation of the proposed cable system.  (TransÉ 8, RPHQ #35; TransÉ 10, Reinhart, p. 3; TransÉ 18, RPHQ #2a, #2b; Wisvest 1, pp. 2, 3; Wisvest 2, pp. 3 to 7; Wisvest 3, RPHQ #1; Wisvest 4; Wisvest 5; Tr. 2, p. 34; Tr. 7, pp. 42 to 46)

- Wisvest proposed an alternative upland cable route within a 30-foot wide easement, identified as Route B, which would be approximately 1,000 feet in length.  Route B would begin at the proposed substation site and extend westerly, parallel to the UI/Wisvest property line, for a distance of approximately 400 feet; then southerly, parallel to an existing access road, for a distance of approximately 380 feet; then southwesterly for a distance of approximately 100 feet; then southerly for a distance of approximately 60 feet; then southwesterly for a distance of approximately 50 feet into Long Island Sound.  Landfall for Route B would be located approximately 140 feet south of the water intake structure for NHHS.  Route B would traverse or be within close proximity to a 16-inch diameter water line, a 30-inch diameter storm water culvert, a 10.5-foot diameter saltwater circulating pipe, an electrical duct, and an electric transmission structure, (Tower No. 1C).  The proposed submarine cable system would traverse a permitted dredging area maintained by Wisvest for the Route B landfall location.  (TransÉ 10, Reinhart, p. 4; TransÉ 18, RPHQ #1b, #1e; Wisvest 2, pp. 3 to 7; Wisvest 3, RPHQ #1, RPHQ #4, RPHQ #5; Wisvest 4, pp. 2, 3; Wisvest 5; Tr. 2, p. 33)

- TransÉ has negotiated with Wisvest for an alternative route, identified as "Route B Prime", which would be approximately 1,900 feet in length.  Route B Prime would begin at the proposed substation site and extend westerly, parallel to the UI/Wisvest property line, for a distance of approximately 400 feet; then southerly, parallel to an existing access road, for a distance of approximately 380 feet; then southwesterly for a distance of approximately 100 feet, then southerly for a distance of approximately 1,000 feet; then westerly for a distance of approximately 20 feet into Long Island Sound.  Landfall for Route B Prime would be located at the same location as Route A.  Route B Prime would traverse or be within close proximity to 16-inch diameter water lines, a 30-inch diameter storm water culvert, 10.5-foot diameter intake and discharge saltwater circulating pipes, an electrical duct, a six-inch water supply for fire suppression, the fuel oil pipeline connecting the unloading dock to the oil storage tanks, six perimeter flood lights, and electric transmission structures.  TransÉ and Wisvest prefer Route B Prime over Routes A or B because it would avoid the existing natural gas supply line and various facilities owned by Wisvest.  (TransÉ 19, RPHQ #43, Attachment 43-1; TransÉ 19, RPHQ #44; TransÉ 20, Attachment 43-1; TransÉ 24, Reinhart; Wisvest 3, RPHQ #1, RPHQ #4; Wisvest 4, pp. 2, 3; Wisvest 5; Tr. 1. p. 20; Tr. 2, pp. 32 to 35; Tr. 7, pp. 38, 40)

- TransÉ evaluated six alternative landfall locations south and east of the proposed substation site including two locations at Lighthouse Point Park in New Haven; West Silver Sands Beach and Momauguin Beach in East Haven; and Short Beach and Trap Rock Dock in Branford.  TransÉ also evaluated a total of eight overland routes from the six alternative landfall locations to the proposed substation site.  The alternative landfall routes range in length from 2.91 miles to 8.65 miles, and were evaluated and rejected by TransÉ because of disturbance to shellfish beds; undesirable offshore constraints or geologic conditions; insufficient access and working space within the right-of-way; potential for disruption to residential neighborhoods, public recreational areas, public services and utilities; potential for disturbance to ecological resource areas, species of special concern, and significant natural communities; potential for exposure to known and suspected contaminated soil and groundwater; and interconnection distances.  The alternative upland cable routes from the alternative landfall locations would also take more time to construct and would be more costly to TransÉ than the proposed submarine cable route within New Haven Harbor.  (TransÉ 10, Natale, pp. 4, 5; TransÉ 24, Natale, Exhibit A, pp. 8 to 11; TransÉ 29c; TransÉ 33, RPHQ #60; RPHQ #61, RPHQ #64; Tr. 1, pp. 57, 58, 59; Tr. 4, pp. 127, 131, 136, 139, 140, 153, 155, 159, 165, 168, 180, 181, 184, 185, 186, 190; Tr. 5, pp. 141, 142; TransÉ 6, p. 149, 150, 177; Tr. 7, pp. 198 to 206, 209, 218, 222, 226, 227; Tr. 8, pp. 139 to 141)

- Alternative upland cable system routes from five alternative landfall locations in New Haven, East Haven, and Short Beach in Branford.  The Trap Rock Dock alternative landfall location, not shown below, is located in Branford approximately 7.2 miles southeast of the proposed substation site.

(TransÉ 29-c1, Figure 1)

- TransÉ did not perform soil or groundwater testing for pollutants along the proposed alternative upland routes outside of the Wisvest/UI property.  TransÉ did not undertake a survey of the proposed alternative upland cable routes, nor were utilities accurately identified in the field as to location and depth.  TransÉ did not negotiate with public or private property owners for the acquisition of an easement for the proposed cable system along the proposed alternative upland cable routes.  TransÉ did not perform a wildlife impact analysis for the proposed alternative upland cable routes, nor was information obtained from the Connecticut DEP regarding the specific state-listed wildlife species.  TransÉ did not perform an analysis on the effects of the proposed cables on electric and magnetic fields along the proposed alternative upland cable routes.  (TransÉ 33, RPHQ # 62; Tr. 4, pp. 123, 124, 128, 132, 145, 146, 156, 178, 183, 184; Tr. 5, p. 216)

- An alternative landfall location and upland cable route to the proposed substation site, identified as Lighthouse Point #1 (LP #1), appeared to TransÉ to be the most feasible alternative upland cable route of the eight alternative upland cable routes considered.  The LP #1 route would begin at Lighthouse Point Park near an existing public boat launching facility, then extend to Lighthouse Road a distance of approximately 0.2 miles; then northeast on Lighthouse Road for a distance of approximately 0.6 miles; then north on Townsend Avenue for a distance of approximately 0.8 miles; then northwest on Hale Park Road for a distance of approximately 0.2 miles; then north on Woodward Avenue for a distance of approximately 0.7 miles; and then north on East Shore Parkway for a distance of approximately 0.45 miles for a total length of approximately 2.91 miles.  TransÉ would use directional drilling from the Lighthouse Park parking area out into New Haven Harbor to avoid impacts on near-shore resources, the boat launch, and shellfish bed 144.  The LP #1 route would traverse approximately 700 linear feet of shellfish beds.  The LP #1 route would cost approximately 8.5 million dollars and would take approximately 16 months to install, including permitting.  The LP #1 route would require an underground splicing box with access at grade approximately every three thousand feet.  (TransÉ 29c, pp. 14, 15; TransÉ 29-c1, Figure 1; TransÉ 31, Late-filed #8; TransÉ 33, RPHQ #60; TransÉ 33, RPHQ #67; Tr. 4, pp. 170 to 177, 192; Tr. 5, pp. 96 to 98, 141, 143, 144; Tr. 7, pp. 201, 202, 209, 210, 212, 214, 218, 219)

- There are no mapped inland wetlands or watercourses within the proposed converter substation site or within 25 feet of the proposed upland cable Routes A, B, and B Prime.  Route A would be located approximately 40 to 60 feet north of an existing tidally influenced drainage swale.  The drainage swale extends in an easterly direction for a distance of approximately 450 feet from the discharge point on the east shore of New Haven Harbor, located approximately 140 feet south of the proposed electric transmission cable landfall.  (TransÉ 1, pp. 6-11, 6-13, 6-64, 6-77; TransÉ 1, Figure 6-5; TransÉ 1, Section 11, Appendix A, Sheet AP-A; Tr. 5, pp. 52, 53)

- To minimize the potential for erosion during construction of the proposed converter substation and upland cable route, hay bales and silt fences would be placed as appropriate around disturbed areas and stockpiled soils.  (TransÉ 1, pp. 6-9, 6-10, 6-68, 7-1; TransÉ 10, Reinhart, p. 3, 4)

- The Connecticut DEP Coastal Resources Map identifies the following coastal wetland resources within the proposed submarine cable system corridor, including the landfall: (1) Developed Shorefront, (2) Intertidal Flats, and (3) a Coastal Flood Hazard Area.  Portions of the proposed upland cable Routes A, B, and B Prime would be within the 100-year floodplain, at or below a base flood elevation of 11 feet, based on the Federal Emergency Management Agency Flood Insurance Rate Map; however, no areas of the proposed upland cable Routes A, B, and B Prime are mapped as zones subject to flood velocity or wave action.  (TransÉ 1, pp. 6-66, 6-67, 6-68; TransÉ 1, Figures 6-6, 6-8; TransÉ 4, Figure I-15; Tr. 5, p. 53)

### Proposed Submarine Cable

- The proposed submarine cable route would be approximately 24 miles in length, and would extend from New Haven, Connecticut to Brookhaven, New York.  The proposed submarine cable system would be installed within a 100-foot wide corridor, approximately six feet beneath the sediment, within Long Island Sound.  A burial depth of six feet was recommended by the Army Corps of Engineers to protect the HVDC cable system from inadvertent anchor drops and commercial fishing operations.  The proposed submarine cable system would be installed within a 160-foot wide installation corridor, approximately five feet below the sediment, when within New Haven Harbor or within 300 feet of shellfish beds. The proposed cable trench would be trapezoidal in shape and would range from two to four feet in width depending on the depth of the trench and physical characteristics of the sediment.  The 100-foot and 160-foot installation corridors could accommodate the installation of two future HVDC cable systems installed by TransÉ.  (TransÉ 1, pp. 1-1, 1-2, 2-1, 2-3, 2-7, 6-3, 6-15, 6-62, 6-91, 6-92, 6-93, 7-2, 8-2; Figures 2-5, 2-6; TransÉ 5, RPHQ #9; TransÉ 10, Nash, p. 7; TransÉ 19, RPHQ #56; TransÉ 24, Natale, Exhibit A, p. 14; TransÉ 27a, pp. 3, 4; TransÉ 27g, pp. 3, 6; TransÉ 35, pp. 1, 2; Tr. 1, p. 55; Tr. 1.1, p. 10, 11; Tr. 2, pp. 256 to 259; Tr. 6, pp. 77, 94 to 98, 118; Tr. 8, pp. 19, 20, 28 to 36, 41 to 43 )

- As shown, the proposed submarine cable route would extend westerly from the New Haven landfall for a distance of approximately 0.2 miles; then southerly parallel to the eastern side of the Federal Navigation Channel for New Haven Harbor for a distance of approximate 3.8 miles; then southeasterly between two breakwaters for a distance of approximately 2.3 miles; then southwesterly across the northwestern corner of an Uncharted Anchorage Area and parallel to an existing submarine telecommunications cable corridor for a distance of approximately 3.8 miles; and then southeasterly for a distance of approximately 13.2 miles to the Shoreham site in Brookhaven, New York.  The location of the proposed HVDC cable system would be marked as a cable area on navigational charts.  The proposed submarine cable route would not be installed within 100 feet of the Federal Navigational Channel.  (TransÉ 1, pp. 2-2, 2-3, 4-5, 4-6, 6-3, 6-91, 6-93; TransÉ 1, Figures 2-1A, 2-1B, 2-1C; TransÉ 5, RPHQ #7; TransÉ 24, Natale, Exhibit A, Figure 2; Tr. 1.1, p. 13; Tr. 5, pp. 221, 226)

- The Federal Navigation Channel, maintained by the Army Corps of Engineers, is the main entrance to New Haven Harbor.  The Army Corps of Engineers has indicated that it would prefer that the proposed HVDC cable system not be located within or beneath the Federal Navigation Channel in New Haven Harbor.  The proposed submarine cable route would traverse approximately 10,000 feet of the northwest corner of the Uncharted Anchorage Area, and two existing telecommunications cables located in Long Island Sound.  The design for crossing the existing submarine telecommunications cables has not been finalized; however; the proposed cable system should not impose interference on the existing telecommunications cables.  (TransÉ 1, pp. 6-83, 6-84, 6-91; TransÉ 1, Figures 2-1c and 4-1; TransÉ 5, RPHQ #3; TransÉ 5, RPHQ #7; TransÉ 19, RPHQ #53; Tr. 5, pp. 225, 226)

- The proposed submarine cable system would traverse approximately 14,800 linear feet (2.8 miles) of shellfish beds located within New Haven Harbor and south of the breakwaters.  (TransÉ 8, Attachment 19A; TransÉ 17; TransÉ 24, Whitney; Tr. 5, pp. 143, 145, 170, 171)

- The National Oceanic and Atmospheric Administration (NOAA) has indicated that for cables located with Digital Global Positioning Systems, the cable area would be identified with two dashed lines 50 meters apart on each side of the proposed cable system centerline for a cable area approximately 330 feet wide.  NOAA does not develop, publish, or enforce rules for mariners that specify operations within chartered cable areas.  NOAA would not impose operating restrictions in the vicinity of the proposed cable area; however, TransÉ's agreement with the shellfish interests in New Haven Harbor precludes the cultivation of shellfish within the 160-foot installation corridor.  TransÉ would hold harmless affected shellfish bed leaseholders from any liabilities associated with their normal operations.  (TransÉ 29, RPHQ #VII and Attachment VII-1; TransÉ 29, RPHQ #XX; TransÉ 35; Tr. 6, pp. 138 to 140)

### Proposed Submarine Cable Installation

- The proposed cable-laying vessel, the Sea Spider, would lay the proposed submarine cable system on the sediment surface in a single pass across Long Island Sound.  The accuracy of laying the proposed cable along the proposed route within New Haven Harbor would be within approximately ten feet.  The proposed submarine cable system would be buried using jet-plow equipment that uses pressurized water to create an approximately three to four-foot wide area of fluidized sediments into which the proposed cables would settle.  The jet-plow equipment, referred to as the SmartJet, would be used in waters greater than 30 feet in depth.  The SmartJet is fitted with two blades equipped with high-pressure nozzles and pumps.  The SmartJet would monitor the depth of the cable system within the trench through the use of pressure sensors.  Approximately 7,900 feet of the proposed submarine cable system would be installed with a diver-operated jetting device, a Shallow Water Trenching Tool (SWTT), in waters less than 30 feet in depth.  (TransÉ 1, pp. 2-7, 2-8, 2-9, 6-28, 6-30, 6-46, 6-54, 7-1, 7-2; TransÉ 8, RPHQ #23; TransÉ 8, RPHQ #24; TransÉ 10, Nash, p. 7; TransÉ 19, RPHQ #56; TransÉ 24, Nash; TransÉ 27, RPHQ #3, RPHQ #6, RPHQ #10, RPHQ # 11; TransÉ 27a, pp. 3, 4; TransÉ 27g; Tr. 1, p. 55; Tr. 2, pp. 169, 170, 174, 222; Tr. 5, pp. 84, 150, 151; Tr. 7, p. 133; Tr. 8, pp. 89, 90, 143)

- The burial process for the installation of the proposed cable system from Shoreham, New York to the breakwaters outside of New Haven Harbor should take approximately three, 24-hour days, with favorable conditions.  However, the entire installation process would likely take between two and six weeks to complete.  (TransÉ 1, pp. 2-10, 6-92; TransÉ 10, Nash, p. 7; TransÉ 27g, p. 4; Tr. 8, pp. 22, 58, 95 )

- Approximately two-thirds of the hydrated sediment produced by the Smartjet or the SWTT would remain in the trench.  The primary area of sediment deposition would be between approximately 67 feet and 135 feet wide on each side of the proposed trench.  The total area of shellfish beds affected by the primary sediment deposition zone would be between approximately 46 acres and approximately 92 acres.  The depth of sediment suspended, transported, and deposited over the primary sediment deposition zone, assuming uniform distribution and a cable burial depth of 4.5 feet, would range from approximately three millimeters to approximately five millimeters.  The extent of settlement beyond the trench would depend on the size of the sediment particles, the concentration of suspended sediment in the water column, the near bottom velocity of currents, and the direction of the water currents.  The area of sediment deposition and amount of sediment suspended, transported and deposited would increase with an increase in the trench depth.  Very fine-grained sediment would remain in suspension and be transported and deposited beyond the primary sediment deposition zone.  (TransÉ 27a, TransÉ 29, RPHQ #V; Tr. 2, pp. 174, 223, 224, 228, 247; Tr. 5, pp. 85, 103, 122, 124, 125, 128, 129, 130, 151, 152, 165, 182, 183, 202; Tr. 6, pp. 106, 107, 110, 137, 214, 216; Tr. 7, pp. 151, 152, 154; Tr. 8, pp. 69 to 72, 81, 82)

- TransÉ could employ a directional boring method for the installation of the proposed submarine cable system; however, the maximum length that directional drilling could be employed for the installation of the proposed cable system would be approximately 1,600 feet due to the cable's physical characteristics including, tensile strength, flexibility, and weight.  Maintenance of the proposed cable system, installed using directional drilling, would be difficult and may require abandonment in place and re-installation.  (TransÉ 5, RPHQ #4; Tr. 1, pp. 69, 74, 75; Tr. 6, pp. 86, 189, 190; Tr. 7, p. 25)

- The proposed submarine cables would dissipate heat to the surrounding environment resulting in a maximum projected temperature rise of less than 0.5 degrees Fahrenheit at the surface of the seabed, with cable depths at or greater than four and one-half feet.  The projected increase in sediment and water temperature directly above the proposed cable system is less than the year-to-year variation of water temperature in the southern New England coastal region.  (TransÉ 1, pp. 6-33, 6-49, 6-55; TransÉ 19, RPHQ #52; TransÉ 29, RPHQ #X; TransÉ 29, RPHQ #XIV; TransÉ 29, RPHQ #XV; TransÉ 29b; Tr. 1, pp. 79, 80; Tr. 2, p. 210; Tr. 6, p. 106)

- TransÉ could undertake pre-construction and post construction surveys to determine the impacts of the proposed trench construction and the success of any restoration efforts.  Pre-construction and post construction surveys may include diver inspection, video recording, or remote sensory imaging of the sea floor.  (Tr. 2, pp. 216, 217)

### Electric Interconnection

- ISO-New England has assessed the proposed project and concluded that the proposed project would not result in a significant adverse impact to the reliability and operating characteristics of the New England Power Pool (NEPOOL) bulk power system.  However, TransÉ must install a new 345-kV circuit breaker and reconfigure the existing 345-kV bus at Northeast Utilities' Scovill Rock Substation, and install a switchable reactor at Norwalk Harbor.  In addition, a new protective relay device would be added to UI's 345-kV transmission line to monitor system conditions.  The interconnection costs to maintain the minimum reliability standard of the electric system would be the responsibility of the applicant; however, the costs associated with additional upgrades undertaken to improve the reliability of the electric system may be imposed on the systemwide transmission rate.  (TransÉ 1, p. 3-8; TransÉ 1, Attachment 3A, pp. 6, 34; TransÉ 19, RPHQ #38; Tr. 2, pp. 137, 138; Tr. 5, pp. 217, 218)

- The proposed cable system would interconnect with the existing 345-kV AC electric transmission system at UI's 387 line, located approximately 300 feet north of the proposed converter substation site.  (TransÉ, pp. 1-1; 2-1; TransÉ 1, Attachment 3-A, p. 3; TransÉ 2, pp. 3, 6, Exhibit B; TransÉ 11, Map 1; Tr. 1.1, pp. 10, 11)

### Electric and Magnetic Fields

- The proposed cable system would not produce AC electric or magnetic fields typically produced by 60Hz AC electric transmission lines.  There would be no increase in DC electric field levels at the surface of the soil or sediment produced by the proposed HVDC cable system because of shielding by the overlying sediment.  (TransÉ 1, pp. 8-1, 8-3; TransÉ 11, EMF Assessment, pp. 2, 3)

- The ambient DC magnetic field levels, in the vicinity of the proposed easement for Route A, are approximately 530 milligause (mG).  The maximum projected magnetic field levels measured approximately 39 inches (one meter) above the ground in the vicinity of the proposed upland cable Routes A, B, and B Prime would be approximately 690 mG, an increase of approximately 30 percent.  The maximum projected increase in magnetic field levels produced by the proposed cable system at 330 MWs at the surface of the seabed, and at the surface of the water at 10 feet and 135 feet above the sediment would be approximately 160 mG, 23 mG, and 0.3 mG, respectively.  (TransÉ 1, pp. 6-48, 8-1 to 8-3; TransÉ 4, RPHQ #6, Figure 5; TransÉ 8, RPHQ #37; TransÉ 9, RPHQ #40; TransÉ 11, Exec. Summary, p. 1; TransÉ 11, EMF Assessment, pp. 2, 7, 9, Figure 5, Figure 9; Tr. 5, p. 214)

- The projected maximum levels of the DC magnetic field produced by the proposed HVDC cable system would be too weak to pose any risk to public health, marine species in Long Island Sound, or cause significant interference to compass based navigation.  (DEP Comments dated September 5, 2000; TransÉ 10, Nash, p. 8; TransÉ 11, Exec. Summary, p. 2; Tr. 2, pp. 214, 215)

### Traffic, Visibility, Noise

- Existing roadway use patterns and capacities could accommodate construction crews and vehicles.  Construction and operation of the proposed cable system would not impact transportation in the area. Operation of the cable system would be automated with no on-site employees.  (TransÉ 1, pp. 6-81, 6-82; TransÉ 2, Appendix A, p. 7)

- City of New Haven officials have expressed concerns to TransÉ about the proposed alternative upland cable routes from the alternative landfall locations, and would prefer that the proposed cable system not be installed in the city's roads because of the potential for disruption to traffic, utilities, the recreational use of the parkland, and right-of-way encroachments.  (Tr. 4, pp. 179, 180, 193; Tr. 6, pp. 84, 85, 153, 177)

- The proposed project would not adversely effect on the planning program of the Connecticut Department of Transportation (DOT).  (Connecticut DOT Comments dated July 17, 2000)

- The proposed HVDC cable system would not generate noise.  (TransÉ 1, pp. 6-101)

- The proposed HVDC cable system would have no effect on visual and aesthetic resources because of its installation below ground or beneath the waters of Long Island Sound.  (TransÉ 1, pp. 6-100, 6-101)

# Environmental

### Water Quality and Habitat

- The groundwater under the proposed substation site and upland cable Route A is classified by the Connecticut DEP as "GB", which denotes groundwaters degraded due to a variety of pollution sources that are not suitable for direct human consumption without treatment, but may be used as industrial process and cooling waters.  The Connecticut DEP has indicated that there are no public drinking water withdrawals of groundwater in the vicinity of the proposed upland cable Route A.  The depth to groundwater within and near the proposed upland cable Route A is anticipated to range from 6.5 to 9 feet below grade.  (TransÉ 1, pp. 6-12, 6-13; TransÉ 2, Appendix A, p. 9)

- New Haven Harbor currently has a Connecticut DEP surface water classification of "SD" and an attainment classification of "SB".  SD/SB classified waters may be suitable for bathing or other recreational purposes; certain fish, shellfish, and wildlife habitat; and industrial uses, including navigation; however, SD/SB conditions severely inhibit one or more designated uses for extended periods of time.  The central portion of Long Island Sound currently has a Connecticut DEP surface water classification of "SA"; the highest water quality classification suitable for marine fish, shellfish, and wildlife habitat, shellfish harvesting for direct human consumption, recreation, and all other legitimate uses including navigation.  (TransÉ 1, pp. 6-26, 6-27)

- Several sediment samples were obtained from New Haven Harbor and Long Island Sound and analyzed for metals, total petroleum hydrocarbons, pesticides, polychlorinated biphenyls (PCBs), total organic carbon, and polynuclear aromatic hydrocarbons.  The sediment samples were compared to Connecticut DEP guidelines, and NOAA guidelines for effects range-low (ER-L) and effects range-median (ER-M) concentrations.  The NOAA ER-M concentrations are used to evaluate the potential for short-term or acute effects to marine organism, and represent concentrations in which adverse effects are frequently observed.  The concentration of mercury and total PCBs in a sediment sample obtained in New Haven Harbor, northeast of Sandy Point Park, exceeded the NOAA ER-M value.  The NOAA ER-L and ER-M values do not take into account synergistic effects of other pollutants and may not reflect the potential for adverse effects.  The concentration of arsenic in three sediment samples obtained in New Haven Harbor, east of Sandy Point Park, exceeded Connecticut DEP guidelines.  (TransÉ 1, pp. 6-22 to 6-25; TransÉ 1, Table 6-4, Table 6-5, and Attachment 6C; TransÉ 5, RPHQ #15, RPHQ #16; TransÉ 8, RPHQ 30, Figure 6-3; Tr. 2, pp. 232, 233; Tr. 7, pp. 162 to 166)

- The circulation of water in New Haven Harbor and Long Island Sound is dominated primarily by tides; however, freshwater stream flows from the Mill and Quinnipiac Rivers also affect circulation patterns.  The flow direction and near bottom velocities of water currents within New Haven Harbor are north/south and range from 0.06 ft/sec to 1.0 ft/sec.  Central Long Island Sound displays less sensitivity to streamflows and is characterized by east/west currents with maximum near bottom velocities of 1.0 ft/sec.  Near bottom currents within Long Island Sound are classified as low energy, favoring settling and long-term deposition of sediments.  (TransÉ 1, pp. 6-16, 6-17, 6-31; TransÉ 5, RPHQ #8; TransÉ 10, Bohlen, p. 2; TransÉ 27A, pp. 1, 2; Tr. 5, pp. 73, 126)

- Long Island Sound is an environment used by Kemps ridley, Loggerhead, Green, and Leatherback marine turtles and are listed as State or Federal Endangered or Threatened Species, according to the Connecticut DEP and the NOAA National Marine Fisheries Service.  These turtles, with the exception of the Green turtle, are found in nearshore waters of Long Island Sound from May 15 to November 15, after which they migrate out of Long Island Sound.  The Green turtle is considered a resident species of Long Island Sound.  The Northern diamondback terrapin is a state-regulated species that may be present in New Haven Harbor.  (TransÉ 1, pp. 6-74 to 6-79; TransÉ 1, Attachment 6-B, Letter from Michael Ludwig to Susan McCarthy Herz dated June 8, 1999; Letters from Dawn McKay to Susan McCarthy Herz dated February 27, 1997 and May 21, 1999; TransÉ 8, RPHQ #33)

- The proposed upland cable Routes A, B, and B Prime are located within an existing developed industrial property with limited potential for wildlife habitat. The proposed upland cable Routes A, B, and B Prime would not traverse any known nesting or breeding habitat for avian species.  According to the Connecticut DEP, no known extant populations of Federal or State Endangered, Threatened, or Special Concern Species occur at the proposed site.  (TransÉ 1, p. 6-72; TransÉ 2, Appendix A, p. 5; DEP Comments dated September 5, 2000)

- No federally listed or proposed, threatened and endangered species under the jurisdiction of the U.S. Fish and Wildlife Service are known to occur in the immediate vicinity of the proposed project area.  Federally listed threatened Piping plovers and endangered Roseate terns are present at Sandy Point and Falkner Island, respectively; however, the proposed work should have no effect on these species.  (TransÉ 1, pp. 6-71, 6-74 to 6-78; TransÉ 1, Attachment 6-B, Letter from William J. Neidermeyer to Susan McCarthy Herz dated May 20, 1999; TransÉ 2, Appendix A, p. 5)

- Long Island Sound is an "essential fish habitat" (EFH), defined as being necessary for fish spawning, breeding, feeding or growth to maturity, for a variety of fish species.  New Haven Harbor functions as a nursery area by providing spawning grounds for resident and migratory species, as well as feeding areas. The eggs and larvae of EFH species would not be present during the proposed time frame for installation of the proposed cable system.  Juvenile and adult EFH species are mobile and could avoid areas temporarily affected by increased turbidity.  (TransÉ 1, pp. 6-41 to 6-47; TransÉ 1, Table 6-7, Table 6-8)

- Sediment contamination, suspension, dredging, deposition, and burial adversely affect shellfish, and the eggs and larvae of some fish species.  The Connecticut DEP has established standard time of year restrictions that prohibit in-water construction activities between February 1 and May 15 to protect winter flounder; between April 1 to June 30 to protect fish species that go up rivers to spawn; and between June 1 and September 30, to protect spawning shellfish.  (TransÉ 1, pp. 6-43, 6-44, 6-47, 6-61; TransÉ 1, Table 6-8; DEP Comments dated September 5, 2000; Tr. 8, p. 19)

- The Connecticut DEP recommends that TransÉ provide detailed information to the DEP Office of Long Island Sound Programs regarding the schedule and location for the proposed submarine cable installation, and notification provisions for potentially affected lobster fishermen.  In addition, the exact location of the submarine cable system route should be identified using both Loran-C and GPS coordinates.  The DEP concurs with TransÉ that the projected increase in temperature of the sediment and overlying waters, and any potential effects of magnetic fields would not affect fisheries resources.  (DEP Comments dated September 5, 2000)

- The proposed cable trench would have no effect on lobster migration within Long Island Sound.  (TransÉ 1, p. 6-62; Tr. 5, pp. 219, 220; Tr. 7, pp. 162, 169, 170, 178)

### Shellfish

- There are approximately 4,900 acres of leased or franchised shellfish beds in New Haven Harbor that serve primarily as "seed beds" for oysters and clams.  Commercially harvested shellfish inhabiting New Haven Harbor and Long Island Sound include the Eastern Oyster, Crassostrea virginica, and the hard-shell clam, Mercenaria mercenaria.  The spawning season for the Eastern Oyster and the hard-shell clam is from late June through September.  Fertilized oyster eggs in the water column develop into swimming larvae which grow to a size of approximately one quarter of a millimeter over a two to three week period, and then settle on the bottom and attach to a clean hard substrate.  Once the oysters set on the clean hard substrate, they grow through the winter.  In the spring, the seed oysters are harvested and transplanted to beds outside of New Haven Harbor for biological purification and growth for a period of three to five years until they are ready for market.  (TransÉ 1, pp. 6-56, 6-59; TransÉ 23; TransÉ 24, Whitney; AG 1, Volk, p. 2; Tr. 5, pp. 112, 131, 133; Tr. 6, pp. 88, 89, 119, 123; 124, 209; Tr. 7, pp. 68, 69, 70, 87, 106; Tr. 8, pp. 24, 25, 98, 102)

- Shellfish beds in New Haven Harbor south of the confluence of the Mill and Quinnipiac Rivers to approximately Fort Hale Park are currently classified as "Prohibited" by the Connecticut Department of Agriculture, Bureau of Aquaculture (DABA) and as such are closed for the harvesting of mature shellfish at all times.  Shellfish beds located south of Fort Hale Park to a line from Merwin Point, Milford to East Haven Buoy R "10A" are classified as "Restricted-Relay" areas by the DABA.  Seed oysters harvested from Prohibited areas and shellfish harvested from Restricted-Relay areas must be transferred to "Approved" or "Conditionally Approved" classified areas for natural biological purification.  (TransÉ 1, pp. 6-56 to 6-59; TransÉ 5, RPHQ #18; Tr. 7, pp. 71, 72)

- New Haven Harbor is, and has historically been, a primary oyster habitat resource in Connecticut.  The shellfish beds within New Haven Harbor are seed beds that provide a unique habitat and optimum spawning environment for oysters and other shellfish.  The shellfish beds within New Haven Harbor are among the most productive and intensively farmed beds in the country.  Oysters harvested from Connecticut waters are considered among the highest quality oysters in the world.   (CTDA Notice of Intervention dated September 22, 2000, p. 2; AG 1, Volk, p. 3; Tr. 5, p. 112; Tr. 6, pp. 119, 123, 124, 125; Tr. 8, pp. 100, 108)

- Juvenile and adult stages of the Eastern Oyster can be found inhabiting the bottom regions of  Long Island Sound where hard clean substrates, turbidity, and salinity allow.  High suspended silt and sediment loads, resulting periodically from storms or man-made disturbances would adversely affect filter feeding and growth of the Eastern Oyster.  Oysters filter seawater in order to obtain food and oxygen.  Filter-feeding activity of oysters is directly proportional to temperature, and inversely proportional to sediment load.  Clams and oysters have the ability to discharge unacceptable material collected through filtration during short-term exposure periods; however, clams and oysters would assimilate contaminated suspended sediment over extended periods of time.  The primary cause of death of oysters in Connecticut waters is suffocation and starvation caused by silt.  Oysters do not tolerate complete burial and would cease filtering seawater and die.  Five millimeters of sediment would bury small oysters.  (TransÉ 1, p. 6-56; TransÉ 23; AG 1, Volk, pp. 2, 3; AG 1, Sunilla, p. 1; Tr. 5, pp. 109, 110, 111; Tr. 7, pp. 108, 109, 110; Tr. 8, pp. 64, 75, 76, 104, 134, 155)

- Heavy metals and toxic substances are associated with sediment particles that become available for assimilation by the oyster and can be biologically amplified when contaminated estuarine and marine sediments are suspended and ingested.  The quantity of contaminated suspended sediment, the concentration of the contaminant, the filtration activity of the oyster, and the exposure period determines the extent of toxicity.  The responses of hard-shell clams to suspended sediment, temperature changes, and exposure to heavy metals and toxic substances are similar to oysters.  (TransÉ 23; AG 1, Volk, p. 2; Tr. 5, pp. 101, 102, 117; Tr. 7, pp. 116, 117, 118; Tr. 8, pp. 62, 63, 64, 131)

- The development of shellfish diseases and parasites, such as MSX, Haplosporidium nelsoni and Dermo, Perkinsus mainus, is caused by infected oyster stock or shells.  The projected temperature increase of the sediment directly above the proposed submarine cable system should not cause the development of diseases and parasites, nor would it have an adverse effect on shellfish spawning.  (TransÉ 19, RPHQ #52; TransÉ 23; TransÉ 29, RPHQ #XI; TransÉ 29, RPHQ #XIV; TransÉ 29, RPHQ #XVI; Tr. 8, pp. 109, 110, 114)

- TransÉ applied to the Connecticut DEP on September 6, 2000, for the right to cross Long Island Sound, including the shellfish beds of New Haven Harbor, through a Structures, Dredging, and Fill permit and a 401 Water Quality Certificate.  (TransÉ 8, RPHQ #25; TransÉ 10, Nash, p. 6; TransÉ 12)

- Clams may return to the proposed cable trench within three years, and seven years or more for oysters, depending on the extent of sediment consolidation.  Oysters require that the sediment be more consolidated than do clams because oysters do not have the ability to move within the sediment.  Restoration efforts to fill and consolidate the material within the proposed cable system trench may facilitate the return of clams and oyster. If restoration of the shellfish beds is determined by the DABA to be necessary, TransÉ would arrange for the one-time purchase and placement of restoration materials, including sand, basaltic chips, and/or shell material known as culch.  (TransÉ 35; AG 1, Volk, p. 3; AG 1, Ludwig, pp. 2, 3; Tr. 2, p. 225; Tr. 5, pp. 88, 89, 90, 138, 139, 170, 171, 186; Tr. 6, pp. 132, 133, 146)

- The proposed cable trench would directly impact approximately 1.4 acres of leased shellfish beds within New Haven Harbor.  The DABA and the National Marine Fisheries Service have concerns that the shellfish beds, directly affected by the proposed cable trench, can not be fully restored and would become an unproductive zone for shellfish production.  Construction of the proposed cable trench would change the habitat and ecology of the seabed.  The National Marine Fisheries Service is unaware of any submarine trench restoration techniques or methodologies that are completely effective. (TransÉ 17; TransÉ 24, Whitney; AG 1, Volk, p. 3; AG 1, Ludwig, pp. 1, 2; Tr. 7, pp. 84, 85, 86, 99, 126 to 128)

### Cultural and Public Resources

- Remote sensing data of seabed features along the proposed cable system route has been provided to the Connecticut Historical Commission (CHC) for an evaluation.  The CHC has stated that the proposed project would have no effect on historic, architectural, or archaeological resources listed on or eligible for the National Register of Historic Places.  (TransÉ 1, pp. 6-99, 6-100; CHC Comments dated September 7, 2000; TransÉ 10, Gowell, p. 4)

- The nearest public active recreational areas to the proposed converter substation, and upland cable Routes A, B, and B Prime are the East Shore Park and Nathan Hale Park located to the south along the east shore of New Haven Harbor approximately 1,000 feet and 3,700 feet, respectively.  Sandy Point Park is located on the west shore of New Haven Harbor approximately 8,000 feet and 4,000 feet west of the proposed converter substation site and submarine cable route, respectively.  The proposed project should not have any impacts on nearby parks or other recreational areas.  (TransÉ 1, p. 6-97; TransÉ 1, Figure 6-C; TransÉ 1, Attachment 6-C; DEP Comments dated September 5, 2000; TransÉ 10, Gowell, p. 4)

- St. Andrews School and Bernadettes School, the closest schools to the proposed substation site and upland cable Routes A, B, and B Prime, are located approximately 2,800 feet northeast of the proposed site.  (TransÉ 1, Figure 6-C; TransÉ 1, Attachment 6-C)