| DOCKET NO. 200 - Crown Atlantic Company LLC and Cellco Partnership d/b/a Verizon Wireless application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a cellular telecommunications facility at 121 West Street or 123 West Street, Simsbury, Connecticut. | } } } } | Connecticut Siting Council November 7, 2001 |
| --- | --- | --- |

# Findings of Fact

Introduction

- Crown Atlantic Company LLC (Crown) and Cellco Partnership (Cellco) d/b/a Verizon Wireless (Verizon) in accordance with provisions of General Statutes §§ 16-50g through 16-50aa applied to the Connecticut Siting Council (Council) on December 1, 2000, for the construction, operation, and maintenance of a cellular telecommunications facility in Simsbury, Connecticut, to provide cellular coverage within the Hartford New England County Metropolitan Area.  The proposed prime site is located at 123 West Street and the alternate site is located at 121 West Street, Simsbury, Connecticut. (Crown/Cellco 1, pp. 1-3)

- The parties in this proceeding are the applicant and the Town of Simsbury.  Intervenors are Springwich Cellular Limited Partnership (SCLP), Nextel Communications (Nextel), and AT&T Wireless Services, Inc. (AT&T).  (Tr. 1, 3:00 p.m., p. 5; Tr. 2., 7:00 p.m., p. 5)

- Pursuant to General Statutes § 16-50m, the Council, after giving due notice thereof, held a public hearing on April 5, 2001, beginning at 3:00 p.m. and continuing at 7:00 p.m. in the auditorium of Eno Memorial Hall, 754 Hopmeadow Street, Simsbury, Connecticut. (Tr. 1, 3:00 p.m., p. 3; Tr. 2,        7:00 p.m., p. 3)

- The Council and its staff made inspections of the proposed prime and alternate sites on April 5, 2001.  During the field inspection, the applicant flew a balloon at each of the proposed sites to simulate the heights of the towers proposed at these locations.  At a public meeting held on August 8, 2001, the Council motioned to reopen Docket 200 for the limited purpose of assessing site visibility.  On Friday, August 17, 2001 from 10:00 a.m. to 11:00 a.m., the Council conducted a public site investigation at which time Vanasse Hangen Brustlin, Inc. flew balloons at 121 and 123 West Street at 160 feet above ground level, and at the Powder Forest Industrial Park site at 190 feet above ground level. (Crown/Cellco 1, p. 14; Pre-hearing Conference Hearing Procedure dated 12/22/00; Reopening notice dated August 15, 2001)

# Cellular Service Design

- The cellular system design provides for frequency reuse and handoff, is capable of orderly expansion, and is compatible with other cellular systems.  (Crown/Cellco 1, p. 8)

- The cellular system Cellco would employ at its proposed Simsbury site would be completely digital.  Cellco coverage designs are now based on hand-held portable units.  Over eighty-five percent of the Cellco system has been converted from analog to digital.  (Tr. 1, pp. 12-13, 15)

- Cellco modeled existing and proposed coverage at thresholds of -90 dbm and -75 dbm. (Crown/Cellco 1, Section 1)

# Need

- In 1981, the Federal Communications Commission (FCC) recognized a public need for technical improvement, wide-area coverage, high-quality service, and competition in the provision of mobile telephone service.  (Crown/Cellco 1, p. 6)

- In issuing cellular licenses, the Federal government has preempted the determination of public need for cellular service by the states, and has established design standards to ensure technical integrity and nationwide compatibility among all systems.  (Crown/Cellco 1, p. 6-7)

- The FCC has issued two licenses for the provision of cellular service at the wholesale level in each market area.  Cellco is the non-wireline provider for cellular service in the Simsbury area.  (Crown/Cellco 1, pp. 6-7)

- The FCC license to construct and operate a cellular system in the Hartford NECMA was transferred to Cellco Partnership with FCC approval on May 25, 1995.  (Crown/Cellco 1, Section 9)

- In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  Through the Federal Telecommunications Act of 1996, Congress seeks to promote competition, encourage technical innovations, and foster lower prices for telecommunications services.  (Crown/Cellco 1, p. 6)

# Site Search

- Cellco identified and investigated six potential sites, including the prime and alternate, within or near a one-mile radius in Simsbury.  Sites that were rejected include a parcel of property in Memorial Park in Simsbury.  This site was rejected for providing inadequate coverage to Cellco's existing coverage gaps along Route 10, Route 167 and Route 309 in Simsbury, and because the site is proximate to existing residential and recreational areas.  A site at the Hopmeadow Country Club was rejected because the landowners were not interested in pursuing a lease agreement with Crown.  A parcel on Library Lane in Simsbury was rejected due to limited ground space, because it is located in a residential area, and the site would not provide adequate coverage to the gaps in Simsbury.  Crown was in negotiations with Ensign Bickford Realty Corporation (EBRC) over a site in Powder Forest Industrial Park in Simsbury.  EBRC denied Crown’s response/bid to a Request for Proposals and accepted one by New England Site Management (NESM).  Crown tried to acquire the Powder Forest site through negotiations with NESM but the two companies were unable to reach an agreement.  (Crown/Cellco 1, Section 2, pp. 1-3; Tr. 1, 3:00, p. 27)

- On December 20, 1999, the Simsbury Zoning Commission denied an application by Wayne Kemp of Roadrunner Installation Services, a private tower company, to construct a tower at the prime site.  The Town stated that the applicant failed to demonstrate a need for a multi-carrier tower at this location, there was no consideration given to alternative sites, the tower was inconsistent with the character of the area, and there was inadequate visual mitigation. (Crown/Cellco 1, p. 18; Town of Simsbury 4, Q. 2)

- Cellco identified two existing communications towers located within approximately one mile of the site search area: a 100-foot tower owned by SNET located behind the SNET building on Hopmeadow Road, Simsbury, and a 100-foot tower owned by the Town of Simsbury located at the Fire Station, Hopmeadow Road, Simsbury.  These sites were rejected because they do not provide adequate coverage to existing holes in Simsbury, are too far from the existing coverage gaps, do not offer adequate height necessary to service Cellco’s problem areas or are not structurally capable of supporting additional antennas.  Cellco would need an antenna height of 180 feet at either of these sites to provide comparable coverage.  (Crown/Cellco 1, Section 2, p. 1; Crown/Cellco 5, Q. 6)

# Site Plans and Equipment Buildings

- The proposed prime site would include a 75-foot by 75-foot leased parcel on which a 12-foot by 30-foot equipment building would be constructed to house Verizon’s telecommunications equipment.  The proposed alternate site would consist of a 60-foot by 60-foot leased parcel on which a 12-foot by 30-foot equipment building would be constructed to house Verizon’s telecommunications equipment. A 250-gallon diesel fuel tank would be installed to fuel an emergency generator.  The tank would be double-walled and contain leak detection alarms.  The emergency generator would be installed on a 5-foot by 10-foot concrete pad.  (Crown/Cellco 1, p. 2, Section 3, p. 5, Section 4, p. 5; Crown/Cellco 5, Q. 21; Tr., p. 21)

- Each proposed tower and equipment compound would be enclosed by an 8-foot high-security fence and gate.  A crushed stone surface would be established within the tower compound.  There would be sufficient room for four concrete pads within the equipment compound.  (Crown/Cellco 1, p. 3; Section 3, p. 5; Section 4, p. 5)

# Proposed Prime Site

- The proposed prime site would be located on a 10-acre parcel east of Bushy Hill Road (Route 167) and south of West Street (Route 309) owned by Arbur Holdings, LLC.  The parcel is used as a landscaping business including office space and material and vehicle storage.  Adjacent land uses include undeveloped industrial land within Powder Forest Industrial Park to the south and east, commercial land uses along West Street to the north, and residential properties in Restricted Industrial and Residence zones along Bushy Hill Road to the west.  The property is generally level and has an elevation of 210 feet above mean sea level (AMSL).  The trees on the site consist mostly of white pine seedlings and red maple with a canopy height of approximately 50 feet.  (Crown/Cellco 1, Section 3, p. 2 & 6; Crown/Cellco 5, Supp. Respon., Q. 24; DEP Comments dated February 1, 2001, p.1)

- The proposed prime site is within a General Industrial zone.  According to the Town of Simsbury Plan of Development and Conservation, the prime site is within an area designated “Designed Industrial”.  The Town’s Zoning Regulations permit towers in General Industrial zone by special permit subject to performance standards.  The Town’s Zoning Regulations specify a minimum setback of 50-feet in the front yard, 20-feet in the side yard, and 40-feet in the rear yard. (Crown/Cellco 1, p. 2; Crown/Cellco 5, Q. 2; Crown/Cellco 1a, map; Crown/Cellco 1b, p. 40-43; Town of Simsbury 4, Q. 3)

- There are 33 residences within a 1000-foot radius of the prime site, the nearest of which is 400 feet to the west of the proposed tower.  (Crown/Cellco 1, p. 14, section 3, p. 11)

- Cellco would construct a 160-foot monopole at the proposed prime site, approximately six feet in width at the base and three feet in width at the top.  The tower would be designed to withstand pressures equivalent to a 90 mph wind with one-half inch solid ice accumulation in accordance with Electronic Industries Association Standard EIA/TIA 222-E, Structural Standards for Steel Antenna Towers and Support Structures.  (Crown/Cellco 1, Section 3, p. 8)

- Verizon would attach 12 cellular panel antennas to the monopole on a triangular platform at approximately 160 feet above ground level (AGL).  A global positioning system (GPS) antenna would be attached at approximately 70 feet AGL.  (Crown/Cellco 1, Section 3, p. 8)

- Platforms for other future antennas would be attached at 130 feet AGL, 140 feet AGL and 150 feet AGL. (Crown/Cellco 1, Section 3, p. 9)

- The fall zone of the proposed prime tower would remain on the Arbur Holdings, LLC property.  (Crown/Cellco 1, Section 3, p. 4)

- Crown has reached agreements with Springwich, Nextel and AT&T to share the proposed prime tower.  Platforms for these carriers would be attached at ten-foot intervals descending from Cellco’s top position of 160 feet.  (Tr. 1, 3:00 p.m., pp. 23, 75)

- Access into the prime site would be from West Street along an existing driveway 675 feet in length and within a 25-foot wide access easement.  (Crown/Cellco 1, p. 2; Crown/Cellco 1, Section 3, p. 4)

- The approximate costs of construction to Crown and Cellco for the proposed prime site are estimated as follows:

| Cell site radio equipment | $ 650,000 |
| --- | --- |
| Tower and antennas | 100,000 |
| Power Systems | 45,000 |
| Building Costs | 65,000 |
| Miscellaneous Costs | 120,000 |
| (including site preparation and installation) | _________ |
| Total Costs | $ 980,000 |

(Crown/Cellco 1, p. 20)

# Proposed Alternate Site

- The proposed alternate site is within a 3-acre parcel of land at 121 West Street in Simsbury, Connecticut owned by Pauline K. Salter.  Adjacent land uses include heavily wooded vacant industrial land in the Powder Forest Industrial Park on the east; Arbur Holdings, LLC, a landscaping contractor’s yard on the south; a gasoline station on the west; and commercial and residential land uses along Bushy Hill Road on the north.  The proposed site contains mostly white pine, black and grey birch and red maple saplings.  The proposed site has an elevation of 210 feet AMSL.  (Crown/Cellco 1, p. 2; section 4, p.6 DEP Comments dated February 1, 2001, p.1-2; Crown/Cellco Supp. Respon., Q. 24)

- The proposed alternate site is within a General Business zone.  According to the Town of Simsbury Plan of Development and Conservation, the alternate site is within an area designated “Designed Industrial”. The Town’s Zoning Regulations does not permit towers in a General Business zone. (Crown/Cellco 1, p. 2; Crown/Cellco 5, Q. 2; Crown/Cellco 1a, map; Crown/Cellco 1b, p. 40-43)

- There are 43 homes within a 1000-foot radius of the proposed alternate site, the nearest of which is approximately 350 feet to the north.  (Crown/Cellco 1, p. 14; Section 4, p. 11)

- Crown would construct a 160-foot monopole at the proposed alternate site, approximately six feet in width at the base, tapering to three feet in width at the top, designed to withstand pressures equivalent to a 90 mph wind with one-half inch solid ice accumulation, in accordance with Electronic Industries Association Standard EIA/TIA 222-E, Structural Standards for Steel Antenna Towers and Antenna Support Structures.  (Crown/Cellco 1, Section 4, p. 8)

- Verizon would attach 12 cellular panel antennas on the monopole on a triangular platform at approximately 160 feet AGL.  A GPS antenna would be attached at approximately 70 feet AGL.  Platforms for future antennas would be attached at 130 feet AGL, 140 feet AGL, and 150 feet AGL.  (Crown/Cellco 1, Section 4, pp. 8-9)

- The fall zone of the proposed alternate tower would include the Arbur Holdings, LLC property to the south and the EBRC property to the east.  (Crown/Cellco 1, Section 4, p. 4)

- Crown has reached agreements with Springwich, Nextel, and AT&T to share the proposed alternate tower.  Platforms for these carriers would be attached at ten-foot intervals descending from Cellco’s top position of 160 feet.  (Tr. 1, 3:00 p.m., pp. 23, 75)

- Access into the alternate site would be from West Street along an existing driveway for approximately 450 feet within a 25-foot wide access easement.  (Crown/Cellco 1, p. 2; Section 4, p. 4)

- The approximate costs of construction to Crown and Cellco for the proposed alternate site are estimated as follows:

| Cell site radio equipment | $ 650,000 |
| --- | --- |
| Tower and antennas | 100,000 |
| Power Systems | 45,000 |
| Building Costs | 65,000 |
| Miscellaneous Costs | 120,000 |
| (including site preparation and installation) | _________ |
| Total Costs | $ 980,000 |

(Crown/Cellco 1, p. 21)

# Powder Forest Site

- The Powder Forest site directly abuts the Arbur Holdings property and is approximately 510 feet away from the prime site located within the Powder Forest Industrial Park owned by EBRC.  The industrial park is currently largely undeveloped with most trees approximately 70 to 80 feet in height, but will be developed at some point in the future.  The site has an elevation of about 270 to 280 feet, about 60 to 70 feet higher than the proposed site.  (Crown/Cellco 1, p. 2; section 4, p.6; Tr. 1, 3:00 p.m., pp. 33, 55-56 & 74; Tr. 2, 7:00 p.m., pp.  63 & 64)

- An incomplete draft application for a telecommunications tower at the Powder Forest site is before the Town of Simsbury.  The tower would be a 180-foot monopole, which the town expects would have less visibility to the town than a tower located at either of the proposed sites.  Access to the site would be from the existing dirt road off of Grist Mill Road, within the Powder Forest Industrial Park.  (Tr. 2, 7:00 p.m., pp. 61, 79, 99)

- Cellco, Nextel, and AT&T agreed that placement of antennas on a tower located in the Powder Forest Industrial Park would satisfy their coverage needs and provide comparable coverage to the prime or alternate site.  Assuming that the ground elevation for this site is 60 to 70 feet higher than either the proposed prime or alternate locations, Cellco estimates that they would need an antenna height of about 100 feet AGL.  (Tr. 1, 3:00 p.m., pp. 33-34; Tr. 2, 7:00 p.m., pp. 42 & 48)

# Environmental Considerations

- The proposed prime/alternate site contains no known existing populations of Federal or State Endangered, Threatened or Special Concern Species.  (Crown/Cellco 1, p. 19; Section 5, DEP letter dated March 14, 2000)

- No wetlands or watercourses would be impacted during the construction of either of the sites proposed in the application.  (Crown/Cellco 1, p. 18; Section 3, p. 6; Section 4, p. 6)

- The State Historic Preservation Office (SHPO) has determined that construction of the proposed prime and alternate sites would have no effect on historic, architectural, or archaeological resources listed on or eligible for the National Register of Historic Places. (Crown/Cellco 1, p. 15; Section 5, SHPO letters dated March 8, 2000, June 7, 2000; Cellco 5, Q. 22)

- The number of trees six inches in diameter or greater at breast height which would be removed during the construction of the access roads and tower compounds at the proposed sites are as follows:  proposed prime site, 3; and alternate site, 4.  (Crown/Cellco 5, Q. 18; Tr. 1, p. 58)

- Crown would install silt fence and/or hay bales along the down-gradient side of all construction at an approved site in accordance with the Connecticut Guidelines for Soil Erosion and Sediment Control.  It is uncertain as to whether blasting would be required during the construction of any of the proposed sites.  (Crown/Cellco 5, Q. 18 & Q. 20)

- Crown uses an airspace program to determine if a proposed tower would be a hazard to air navigation.  The Federal Aviation Administration (FAA) requires notification of a proposed tower only if such a tower would be a hazard to navigation or operational procedures.  Towers 200 feet or greater in height generally require marking or lighting by the FAA.  Neither of the proposed towers in this application would require marking or lighting. (Crown/Cellco 1, p. 19)

- The electromagnetic radiofrequency power densities, calculated using the FCC Office of Engineering and Technology Bulletin 65, August 1997, using conservative worst-case approximation of radiofrequency power density levels at the base of each tower, with all Cellco antennas transmitting simultaneously on all channels at full power would be 0.0266 mW/cm2  (4.6 percent of the American National Standards Institute (ANSI) Standard) for the proposed prime and alternate antennas mounted 160 feet AGL.  (Cellco 1, Section 3, p. 11; Section 4, p.11)

# Visibility

- The visibility of the proposed prime tower from various locations in the area would be as follows:

# Visibility of Proposed 160-foot Prime Tower

| Location | Visibility | Approx. Distance (ft.) and direction |
| --- | --- | --- |
| Firetown Road | Yes | 2600 N |
| Maple Court | No | 1000 NE |
| Route 10/202 | No | 2600 SE |
| Pine Hill Drive | No | 2400 SE |
| Bushy Hill Road (Route 167) | No | 1400 SW |
| Simsbury High School* | No | 1150 NW |

(Cellco 1, section 3, pp. 11-18)

*Based on the balloon fly of August 17, 2001, the proposed prime tower would not be visible

from Simsbury High School due to screening from deciduous vegetation.

- The visibility of the proposed alternate tower from various locations in the area would be as follows:

# Visibility of Proposed 160-foot Alternate Tower

| Location | Visibility | Approx. Distance (ft.) and direction |
| --- | --- | --- |
| Firetown Road | Yes | 2400 N |
| Firetown Road, Old Mill Lane inter. | Yes | 1800 NE |
| Route 10/202 | No | 2200 SE |
| Pine Hill Drive | No | 2200 SE |
| Bushy Hill Road (Route 167) | No | 1600 SW |
| Simsbury High School* | No | 1400 NW |

(Cellco 6, Rev. graphic site-line drawings, pp. 12-18)

*Based on the balloon fly of August 17, 2001, the proposed prime tower would not be visible

from Simsbury High School due to screening from deciduous vegetation.

# Coverage Needs

# Cellco

- Existing Connecticut Cellco facilities in Tariffville (to the northeast), Windsor (to the west), East Granby (to the north), and Talcott Mountain (to the south) have gaps in cellular coverage in the Simsbury area.  Gaps are defined as areas receiving less than –90 dbm coverage.  The primary purpose of this application is to provide coverage to these gaps and provide additional traffic handling capacity to the Simsbury area.  (Crown/Cellco 1, p. 9; Tr. 1, p. 28, p. 34; Crown/Cellco 1, Section 1; Crown/Cellco 5, Q. 3)

# Existing Cellco coverage within a three mile radius of the proposed prime/alternate site is as follows:

# Existing Coverage

# (see Appendix A)

| Route | Existing Gaps (miles) < -90 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 1 | 6.5 |
| 167 | 2 | 3.3 |
| 309 | 1.8 | 4.0 |
| Total | 4.8 miles | 13.8 miles |

(Crown/Cellco 1, Section 1, maps)

- Existing coverage combined with Cellco antennas on the proposed prime site tower at 160 feet AGL would leave the following gaps within a three mile radius of the proposed prime/alternate site as follows:

# Proposed Prime Site Tower

# (see Appendix B)

| Route | Gaps (miles) < -90 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 0 | 6.5 |
| 167 | 1.5 | 3.3 |
| 309 | 0.5 | 4.0 |
| Total | 2.0 miles | 13.8 miles |

(Crown/Cellco 1, Section 1, maps; Cellco 5, Q. 10, map)

- Existing coverage combined with Cellco antennas on the proposed alternate site tower at 160 feet AGL would leave the following coverage gaps within a three mile radius of the proposed prime/alternate site as follows:

# Proposed Alternate Site Tower

# (see Appendix C)

| Route | Gaps (miles) < -90 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 0 | 6.5 |
| 167 | 1.5 | 3.3 |
| 309 | 0.5 | 4.0 |
| Total | 2.0 miles | 13.8 miles |

(Crown/Cellco 1, Section 1; Crown/Cellco 5, Q. 10, maps)

- Existing antennas combined with Cellco antennas on the Powder Forest Industrial Park site at 150 feet AGL would leave the following coverage gaps within a three mile radius of the proposed prime/alternate site as follows:

# Powder Forest Site

# (see Appendix D)

| Route | Gaps (miles) < -90 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 0 | 6.5 |
| 167 | 0.4 | 3.3 |
| 309 | 0.8 | 4.0 |
| Total | 1.4 miles | 13.8 miles |

(Crown/Cellco 1, Section 1; Crown/Cellco 5, Q. 10, maps)

# Springwich Cellular Limited Partnership

- Existing Springwich cellular coverage within a three mile radius of the proposed prime/alternate site indicates the following coverage gaps.  Gaps are defined as areas receiving less than –75 dbm coverage.

# Existing Coverage

| Route | Existing Gaps (miles) < -75 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 2.4 | 6.5 |
| 167 | 1.0 | 3.3 |
| 309 | 2.5 | 4.0 |
| Total | 5.9 miles | 13.8 miles |

(Springwich 1, Q. 18, maps)

- Placing Springwich antennas on the proposed prime site tower at a point 150 feet AGL would leave the following coverage gaps within a three mile radius of the proposed prime site:

# Proposed Prime Site Tower

# (see Appendix E)

| Route | Gaps (miles) < -75 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 0 | 6.5 |
| 167 | 0 | 3.3 |
| 309 | 0.8 | 4.0 |
| Total | 0.8 miles | 13.8 miles |

(Springwich 1, Q. 2, maps)

- Placing Springwich antennas on the proposed alternate site tower at a point 150 feet AGL would leave the following coverage gaps within a three mile radius of the proposed prime site.

# Proposed Alternate Site Tower

| Route | Gaps (miles) < -75 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 0 | 6.5 |
| 167 | 0 | 3.3 |
| 309 | 0.8 | 4.0 |
| Total | 0.8 miles | 13.8 miles |

(Springwich 1, Q. 2, Q. 3, maps)

- Springwich claims that the proposed site would serve as a dominant signal server within the Simsbury area.  Springwich may need more coverage to the west along Route 167, 309, but the development of additional facilities will be based on the additional demands of customers.  (Tr. 2, 7:00 p.m., p. 32)

# Nextel

- Existing Nextel specialized mobile radio coverage within a three-mile radius of the proposed prime/alternate site indicates the following coverage gaps.  Gaps are defined as areas receiving less than –90 dbm coverage.

# Existing Coverage

| Route | Existing Gaps (miles) < -90 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 1.3 | 6.5 |
| 167 | 2.2 | 3.3 |
| 309 | 0.8 | 4.0 |
| Total | 4.3 miles | 13.8 miles |

(Nextel 1, Q. 2, map)

- Placing Nextel antennas on the proposed prime site tower at 140 feet AGL would leave the following gaps within a three mile radius of the proposed prime/alternate site as follows:

# Proposed Prime Site Tower

# (see Appendix F)

| Route | Gaps (miles) < -90 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 0 | 6.5 |
| 167 | 1 | 3.3 |
| 309 | 0.9 | 4.0 |
| Total | 1.9 miles | 13.8 miles |

(Nextel 1, Q. 2, Q. 3, maps)

- Placing Nextel antennas on the proposed alternate site tower at 140 feet AGL would leave the following coverage gaps within a three mile radius of the proposed prime/alternate site as follows:

# Proposed Alternate Site Tower

| Route | Gaps (miles) < -90 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 0 | 6.5 |
| 167 | 1 | 3.3 |
| 309 | 0.9 | 4.0 |
| Total | 1.9 miles | 13.8 miles |

(Nextel 1, Q. 2, Q. 3, maps)

- Nextel claims that they will need additional coverage within the Town of Simsbury, however they are currently not seeking an additional site.  (Tr. 2, 7:00 p.m., p. 42)

# AT&T

- AT&T seeks to share the proposed prime/alternate facility to provide PCS service, but currently does not have coverage in the Simsbury area.  AT&T antennas placed on the proposed prime/alternate site tower at 130 feet would leave the following coverage gaps within a three mile radius of the proposed prime/alternate site:

# Proposed Prime Site Tower

# (see Appendix G)

| Route | Gaps (miles) < -85 dbm | Total Road Miles |
| --- | --- | --- |
| 10 | 5 | 6.5 |
| 167 | 2 | 3.3 |
| 309 | 2.6 | 4.0 |
| Total | 9.6 miles | 13.8 miles |

(AT&T 1, Q. 2, Q. 3, maps)

AT&T will need an additional site to provide sufficient coverage to the Simsbury area.  (Tr. 2, 7:00 p.m., p. 32)

Appendix A

(Cellco existing coverage)

Appendix B

(Cellco prime tower coverage at 160 feet AGL)

Appendix C

(Cellco alternate tower coverage at 160 feet AGL)

Appendix D

(Powder Forest tower coverage at 150 feet AGL)

Appendix E

(Springwich coverage from prime tower at 150 feet AGL)

(There is no significant difference between coverage from the prime and alternate site)

Appendix F

(Nextel coverage from prime tower at 140 feet AGL)

(There is no significant difference between coverage from the prime and alternate site)

Appendix G

(AT&T coverage from prime tower at 130 feet AGL)

(There is no significant difference between coverage from the prime and alternate site)