| DOCKET NO. 266 – The Connecticut Light and Power Company application for a Certificate of Environmental Compatibility and Public Need for the construction of a new substation and connection to the existing 115-kV 1870 line at Route 49 a/k/a Pendleton Hill Road and Voluntown Road, North Stonington, Connecticut. | } } } } | Connecticut Siting Council February 3, 2004 |
| --- | --- | --- |

Decision and Order

Pursuant to the foregoing Findings of Fact and Opinion, the Connecticut Siting Council (Council) finds that the effects associated with the construction, operation, and maintenance of a new substation and its connection to an existing 115-kV transmission line located adjacent to Route 49 a/k/a Pendleton Hill Road and Voluntown Road in the Town of North Stonington, Connecticut, including effects on the natural environment; ecological integrity and balance; forests and parks; scenic, historic, and recreational values; air and water purity; fish and wildlife; and public health and safety are not disproportionate either alone or cumulatively with other effects compared to need, are not in conflict with the policies of the State concerning such effects, and are not sufficient reason to deny the application.  Therefore, the Council directs that a Certificate of Environmental Compatibility and Public Need, as provided by General Statutes § 16-50k, be issued to the Connecticut Light and Power Company (CL&P) for the construction, operation, and maintenance of a new substation and its connection to an existing 115-kV transmission line located adjacent to Route 49 a/k/a Pendleton Hill Road and Voluntown Road in the Town of North Stonington, Connecticut.

The facility shall be constructed, operated, and maintained substantially as specified in the Council’s record in this matter, and is subject to the following conditions:

- The Certificate Holder shall amend its grading plan to move the edge of the filled area away from the wetland boundary to the greatest the extent possible. Such amendment shall be included in the Development and Management Plan.

- The Certificate Holder shall consider establishing a berm or berms on the property where feasible to help minimize the visual impact of the substation. This condition shall be addressed in the Development and Management Plan.

- The Certificate Holder shall comply with all future electric and magnetic field standards promulgated by State or federal regulatory agencies.  Upon the establishment of any new standards, the facilities granted in this Decision and Order shall be brought into compliance with such standards as soon as practical.

- The Development and Management Plan (D&M Plan) shall include the following elements:

- A final site plan showing the placement of all substation equipment, structures, and buildings within the substation perimeter, and the location of all temporary and permanent tap structures;

- Provisions for storm water management and oil containment;

- The Certificate Holder shall provide to the Council notification of the following events not less than one week in advance of their occurrence:

a)	Commencement of construction for the substation and transmission line connection;

b)	Installation of the storm water management and oil containment devices.

- The Certificate Holder shall notify the Council if and when substation operations terminate.

- The Certificate Holder shall provide the following to the Council:

a)	A six month report on the electric and magnetic field measurements at the locations of the pre-construction survey and at the transmission tap line.

b)	A first year operating report, to be submitted to the Council within three months after the conclusion of the first year of operation, to include:

1.	As-built drawings of all buildings, structures, and conduit;

2.	The final total cost of the project;

3.	Information relevant to the overall condition, safety, reliability, and operation of the substation.

- Unless otherwise approved by the Council, this Decision and Order shall be void if all construction authorized herein is not completed within five years of the effective date of the Decision and Order, or within five years after all appeals to this Decision and Order have been resolved.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are:

| APPLICANT The Connecticut Light and Power Company | ITS REPRESENTATIVE Aaron Goucher, Manager Substation Engineering and Design Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 w: (860) 665-6742 Stephen Gibelli, Esq. Northeast Utilities Service Company Legal Department 107 Selden Street Berlin, CT 06037 w: (860) 665-5513 |
| --- | --- |