| DOCKET NO. 274 - AT&T Wireless PCS, LLC d/b/a AT&T Wireless application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a wireless telecommunications facility at Hyde Road, Farmington, Connecticut. | } } } } | Connecticut Siting Council April 26, 2004 |
| --- | --- | --- |

Findings of Fact

Introduction

- Pursuant to Chapter 277a, Sections 16-50g et seq. of the Connecticut General Statutes (CGS), as amended, and Section 16-50j-1 et. seq. of the Regulations of Connecticut State Agencies (RCSA), AT&T Wireless PCS, LLC d/b/a AT&T Wireless (AT&T Wireless) applied to the Connecticut Siting Council (Council) on October 17, 2003 for the construction, operation, and maintenance of a wireless telecommunications facility (Facility) to be located in the Town of Farmington, Connecticut. (AT&T Wireless 1, p. 1)

- The Facility would be a component of AT&T Wireless’ personal wireless communications services network in the State of Connecticut and Hartford County. The Facility would provide service in the Town of Farmington along Route 6, Route 10, local roads, and adjacent areas in Farmington. (AT&T Wireless 1, p. 1)

- There is one proposed site, identified as CT-409 that is located at the end of Executive Drive, on a property with an address of Hyde Road/Executive Drive.  (AT&T Wireless 1, pp. 9; Tab 3, p. 2 )

- AT&T Wireless PCS, LLC d/b/a AT&T Wireless, is a Delaware limited liability company with an office at 12 Omega Drive, Stamford, Connecticut. The company’s member corporation, AT&T Wireless PCS, Inc. is licensed by the Federal Communications Commission (FCC) to construct and operate a personal wireless services system within the meaning of CGS Section 16-50i(a)(6). (AT&T Wireless 1, pp. 2-3)

- The party in this proceeding is the applicant. The intervenor is Cellco Partnership d/b/a Verizon Wireless (Verizon).  (Transcript, February 26, 2004, 3:00 p.m. [Tr. 1], p. 5)

- Pursuant to CGS § 16-50l(b), notice of AT&T Wireless’ intent to submit this application was published on October 15, 2003 and October 16, 2003 in the Hartford Courant. (AT&T Wireless 1, p. 4; AT&T Wireless 2, Response 1)

- In accordance with CGS § 16-50l(b), AT&T Wireless sent notices of its intent to file an application with the Council to each person appearing of record as owner of property abutting the property on which its proposed site is located. (AT&T Wireless 1, p. 4; Tab 5, p.4)

- For the proposed site, certificates of service were received from all abutting property owners, except one.  A certified mail return receipt was not received from Pumpkin Associates, LLC.  However, AT&T Wireless has been in contact with Pumpkin Associates, LLC and its representatives and has informed them of the application.  (AT&T Wireless 2, Response 3)

- Pursuant to CGS § 16-50l(b), AT&T sent copies of its application on October 17, 2003 to the following municipal, regional, state, and federal agencies and officials: Connecticut Attorney General, Department of Environmental Protection, Department of Public Health, Council on Environmental Quality, Department of Public Utility Control, Office of Policy and Management, Department of Economic and Community Development, Department of Transportation, Capitol Region Council of Governments, Kevin Sullivan – State Senator from the 5th Senatorial District, Demetrios Giannaros – State Representative from the 21th Assembly District, Federal Aviation Administration, Federal Communications Commission, Kathleen Eagen — Farmington Town Manager, Arline B. Whitaker — Farmington Town Council Chairman, James H. Pogson — Farmington Planning and Zoning and Inland Wetlands Commission Chairman, Harry Kraiza — Farmington Zoning Board of Appeals Chairman, John T. Hickney — Farmington Conservation Commission Chairman, Robert W. Jackson — Plainville Town Manager, Christopher J. Wazorko — Plainville Town Council Chairman, William Davison — Plainville Planning and Zoning Commission Chairman, Kenneth Prigodich — Plainville Zoning Board of Appeals Chairman, Robert Anderson — Plainville Conservation Commission Chairman, and Michael Goulet — Plainville Inland Wetlands Commission Chairman.  (AT&T 1, p. 4; Tab 8)

- Pursuant to CGS § 16-50l, the Council solicited comments on AT&T Wireless’ application from the following state departments and agencies: Department of Environmental Protection, Department of Public Health, Council on Environmental Quality, Department of Public Utility Control, Office of Policy and Management, Department of Economic and Community Development, and the Department of Transportation. The Council’s letter requesting comments was sent on December 2, 2003. (CSC Hearing Package dated December 2, 2003)

- The Connecticut Department of Transportation (ConnDOT) responded to the Council’s solicitation, but did not have any comments.  (ConnDOT facsimile received February 6, 2004)

- The Connecticut Department of Environmental Protection (DEP) responded to the Council’s solicitation and provided comments on February 20, 2004.  (DEP letter dated February 20, 2004)

- The following State agencies did not offer comments on the application: Department of Public Health, Council on Environmental Quality, Department of Public Utility Control, Office of Policy and Management, and Department of Economic and Community Development. (Record)

- Pursuant to CGS § 16-50m, the Council, after giving due notice thereof, held a public hearing on February 26, 2004, beginning at 3:00 p.m. and continuing at 7:00 p.m. in Farmington, Connecticut. (Tr. 1, p. 3 ff.)

- During the field review of the proposed site held on February 26, 2004, the applicant flew a balloon to simulate the height of the proposed tower at the candidate site.  The balloon flew between the hours of 12:00 p.m. and 5:30 p.m.  Weather conditions were bright and sunny with wind.  Due to the wind, the balloon did not reach the full height of the proposed tower during the field review.  AT&T Wireless estimates that the balloon reached a height of 120 feet to 130 feet at that time.  (Tr. 1, pp. 13-14)

Public Need for Service

- In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  Through the Federal Telecommunications Act of 1996, Congress seeks to promote competition, encourage technical innovations, and foster lower prices for telecommunications services.  (Council Admin. Notice, no. 7, Telecom Act 1996)

- The Telecommunications Act of 1996, a Federal law passed by the United States Congress, prohibits any state or local agency from regulating telecommunications towers on the basis of the environmental effects of radio frequency emissions to the extent that such towers and equipment comply with FCC’s regulations concerning such emissions. This Act also blocks the Council from prohibiting or acting with the effect of prohibiting the provision of personal wireless service. (Telecommunications Act of 1996)

- The Telecommunications Act of 1996 prohibits local and state bodies from discriminating among providers of functionally equivalent services. (Telecommunications Act of 1996)

- In issuing cellular licenses, the Federal government has preempted the determination of public need for cellular service by the states, and has established design standards to ensure technical integrity and nationwide compatibility among all systems.  (Council Admin. Notice, no. 7, Telecom Act of 1996)

- AT&T Wireless holds several PCS licenses in Connecticut, including Hartford County. AT&T Wireless’ license for the Hartford Basic Trading Area, which includes Hartford County, was formally issued in June, 1997. The Facility proposed in this proceeding would be an integral component of AT&T Wireless’ network within its FCC licensed service area. (AT&T Wireless 1, p. 5)

- In an effort to ensure the benefits of wireless technologies to all Americans, Congress enacted the Wireless Communications and Public Safety Act of 1999 (the 911 Act). The purpose of this legislation was to promote public safety through the deployment of a seamless, nationwide emergency communications infrastructure that includes wireless communications services. (AT&T Wireless 1, p. 6)

- As an outgrowth of the 911 Act, the FCC mandated wireless carriers to provide enhanced 911 services (E911). The proposed Facility would become an integral component of AT&T Wireless’ E911 services in Farmington. (AT&T Wireless 1, p. 7)

- At the time of application, AT&T Wireless’ existing sites that are located adjacent to its proposed site were experiencing a daily average of 3.61% dropped calls. This percentage includes calls dropped from stationary users within the coverage area of existing sites. AT&T Wireless’ service objective is to experience a maximum of 2% dropped calls. (AT&T Wireless 2, Response 4)

- Verizon is licensed by the FCC to provide wireless telecommunications service in the Hartford New England County Metropolitan Area which consists of Hartford, Middlesex and Tolland Counties.  (Verizon’s Petition to Intervene, p. 1)

- Verizon experiences more than 200 dropped calls and over 160 ineffective call attempts in the Farmington area during a typical busy hour such as between 5pm and 6pm.  (Verizon 1, Response 4)

Service Design

- At the proposed site, AT&T Wireless would install a three-sector antenna configuration with twelve channels.  Initially, AT&T Wireless would install one panel antenna per sector for a total of three antennas via flush mount or T-arm. To accommodate future expansion, AT&T Wireless would install an additional three antennas for a total of six, on a T-arm or platform mount.  (AT&T Wireless 2, Responses 20 and 21; Tr. 1, p. 26)

- Micro cells and/or repeaters are not viable technological alternatives for providing coverage for the area AT&T Wireless seeks to cover. Micro cells and repeaters are low power and used mainly for small “hole-filling” applications. To fill AT&T Wireless’ coverage gap, numerous micro cells would be needed. Repeaters also require line-of-sight to on-air “donor” facilities and provide no added capacity in a network.  (AT&T Wireless 2, Response 9)

AT&T Wireless Service Design

- A gap in coverage exists in AT&T Wireless’ network in Farmington, specifically along Route 6 and Route 10 and adjacent areas in this portion of Hartford County. (AT&T Wireless 1, p. 5)

- The minimum signal strength AT&T Wireless considers acceptable for adequate service is –85 dBm. (AT&T Wireless 2, Response 6)

- At the time of application, AT&T Wireless did not have adequate signal strength in the vicinity of this proposed site.  (AT&T Wireless 2, Response 5)

- The minimum height at which AT&T Wireless could achieve its coverage objectives on the proposed tower would be 150 feet.  (AT&T Wireless 3, Response 24)

- To the south, the proposed site would hand off traffic to site CT-253, which is located at 10 Sparks Street, Plainville.  To the west, the proposed facility would hand off traffic to site CT-287, which is located at 1214 Farmington Avenue, Bristol.  To the east, the proposed facility would hand off traffic to site CT-419, which is located at 732 Slater Road, New Britain.  To the northwest, the proposed site would hand off traffic to site CT-842, which is a planned flagpole at the Town of Farmington’s Southwest Fire Station at 2 Westwoods Drive.  To the northeast, the proposed site would hand off traffic to site CT-255, which is located at 130 Birdseye Road, Farmington.  (AT&T Wireless 2, Response 8)

- AT&T Wireless’ antennas at the proposed site would provide coverage along Route 6 and Route 10 for distances of approximately 1.6 miles and 2.1 miles, respectively. (AT&T Wireless 2, Response 10)

- AT&T Wireless’ antennas at this site would cover an area of approximately 4.15 square miles.  (AT&T Wireless 2, Response 12)

- AT&T Wireless’ facility would be equipped with a battery backup system capable of lasting up to eight hours. In the case of a prolonged power outage, AT&T Wireless would bring a portable diesel generator to the site to provide power.  (AT&T Wireless 3, Response 29)

- AT&T Wireless would provide space on its proposed tower for Town communication antennas subject to a lease, but at no rental cost to the Town. (AT&T Wireless 2, Response 17)

Verizon Service Design

- Verizon’s objectives in locating antennas on AT&T Wireless’ proposed tower would be to fill coverage gaps along Route 6, Route 10, and in the southern portion of Farmington.  This site would also off-load Verizon’s existing Farmington and New Britain sites, thus providing capacity relief.  (Verizon 1, Response 3)

- Verizon seeks to install 12 panel antennas attached to a triangular antenna platform at the 140 foot level.  Six of the antennas would be for Personal Communications Service (PCS) and six would be for cellular service.  (Verizon 1, Response 1)

- Verizon’s signal strength in the vicinity of the proposed site exceeds -85 dBm for cellular service.  (Verizon 1, Response 2; Response 8)

- The minimum height Verizon requires to meet its coverage objectives is 90 feet.  However, Verizon seeks to install its antennas at the highest available height, which Verizon anticipates to be 140 feet.  (Verizon 1, Response 5)

- To the north, Verizon’s antennas at the proposed site would hand off traffic to a site located on Rattlesnake Mountain, known as “Farmington.”  To the southeast, Verizon’s antennas at the proposed site would hand off traffic to a site located at 1 Hartford Square, known as “New Britain 2.”  To the west, Verizon’s antennas at the proposed site would hand off traffic to a site located at 40 Songbird Lane, known as “Farmington West.”  (Verizon 1, Response 6)

- Verizon’s antennas on the proposed tower would cover 2 miles on Route 6; 2.8 miles on Route 10; 2 miles on Route 177; and 0.8 miles on Route 72. (Verizon 1, Response 11)

- Verizon’s antennas on the proposed tower would cover an area of approximately 9 square miles. (Verizon 1, Response 12)

Municipal Consultation

- On April 30, 2003, AT&T Wireless submitted a letter and a technical report to the Farmington Town Manager and to the Plainville Town Manager notifying them of AT&T Wireless’ intent to apply for a certificate for the site identified as CT-409. (AT&T Wireless 1, p. 16; Tab 7)

- After soliciting the Town of Farmington (Town) for comments, the Town recommended that AT&T Wireless consult with the management of Robertson Airport in the Town of Plainville to ensure that the proposed tower will not interfere with flight patterns in or out of the airport.  Further, if the proposed facility requires lighting per the Federal Aviation Administration (FAA), the Town requests that the lowest illumination meeting federal standards be employed in consideration of the residences in the area.  (AT&T Wireless 1, Tab 7, p. 5)

- The Town of Plainville has not provided any comments or recommendations regarding the proposed facility.  (AT&T 1, p. 17)

Site Search

- To fill its coverage gap in Farmington, AT&T Wireless established one site search area with a half-mile radius. The search area for CT-409 was centered at latitude 41º 42’ 23.04” north and longitude 72º 50’ 20.4” west. (AT&T Wireless 1, Tab 4, p. 3)

- Within the search area for the proposed site, twelve properties were investigated as possible locations for a facility site.  The twelve sites and their status are listed below.

- Property along Executive Drive – location of the proposed site.

- 21 Hyde Road – This property is owned by The Distribution Center at Farmington, a commercial condominium association.  The property owners declined to enter into an arrangement with AT&T Wireless.

- Industrial Park – Corporate Drive – These properties would not provide coverage comparable to that of the proposed site.  Also, these properties are in closer proximity to Robertson Airport than site A.

- Television towers, Rattlesnake Mountain – The existing guyed towers are located too far to the east and at too high a ground elevation to provide adequate coverage to the target area without duplicating coverage from and creating signal interference with existing sites.

- 74 & 80 Scott Swamp Road (Route 6) – This parcel is developed as an office park.  Existing buildings on this property would not provide adequate coverage to the target area.  There is also inadequate ground space available for development as a tower site.

- Commerical properties at the junction of Route 6 and Route 10 – The existing buildings in this area would not provide adequate coverage to the target area.  Properties in this area also have limited ground space.

- Summit Apartments – The existing buildings in this complex would not provide adequate coverage to the target area.  This and nearby properties are residential in nature.  There is also inadequate ground space available.

- Property adjacent to Summit Apartments – The owner of this land adjacent to the apartments was not willing to make space available for a tower site.

- 65 Scott Swamp Road – This property is owned by Stanley Works.  Since this property was for sale, the property owner was not willing to enter into a lease for a tower site.

- 88 Scott Swamp Road – Existing buildings on this property would not provide adequate coverage to the target area.  There is also inadequate ground space available for development as a tower site.

- 100 Hyde Road – This property is closer to Robertson Airport than the proposed site.

- 111 Hyde Road – There is inadequate ground space available for development as a tower site.

(AT&T Wireless 1, Tab 4)

Project Description

- The proposed facility would consist of a 100-foot by 100-foot leased parcel located in the southwest corner of an approximately 71.8 acre parcel owned by Hyde Road Development, LLC on Executive Drive in Farmington.  (AT&T 1, Tab 5, p. 2)

- The Hyde Road Development, LLC property is zoned Earth Excavation (EE), which allows for telecommunication facilities with a Special Permit. (AT&T 1, pp. 13-14; Farmington Zoning Regulations)

- At this site, AT&T Wireless would construct a 150-foot tall monopole tower. The total height of the tower with attached antennas would not exceed 153 feet. The tower compound would consist of an 80-foot by 80-foot fenced area to accommodate the ground equipment of AT&T Wireless and any other carriers that may wish to share the facility. (AT&T Wireless 1,  p. 2; Tab 5, p. 2)

- AT&T Wireless’ equipment would be placed in a 12’ x 24’ area of the compound on a concrete pad.  Verizon would place its equipment within a proposed 12’ x 30’ equipment building within the fenced compound.  (AT&T Wireless 1, Tab 5, Compound Plan; Tr. 1, pp. 22 and 49)

- The proposed tower could be shifted 30 feet to the east within the compound to increase the distance from the property line of Pumpkin Associates, LLC.  (Tr. 1, p. 20)

- The tower would be constructed in accordance with Electronic Industries Association Standard EIA/TIA-222-E “Structural Standards for Steel Antennas Towers and Antenna Support Structures.” The foundation design would be based on soil conditions at the site. (AT&T Wireless 1, Tab 5)

- The proposed tower would be designed to accommodate a total of six carriers. (AT&T Wireless 1, p. 8)

- The tower would be located at latitude 41º 41’ 39.97” north and longitude 72º 51’ 16.27” west. The ground elevation at the base of the tower would be 171 feet AMSL. (AT&T Wireless 1, Tab 5, Site Access Map)

- Access to the site would extend from the end of Executive Drive over a paved right-of-way approximately 440’ and continue along a new 12’ wide gravel drive approximately 442’ to the proposed compound.  (AT&T Wireless 1, Tab 5, p. 2)

- The property owner of Hyde Road Development, LLC was not amenable to having all of the access road on his property due to future development plans.  (Tr. 1, p. 19)

- The paved right-of-way is private property, but the Town of Farmington has the right to turn the right-of-way into a town road.  (Tr. 1, p. 18)

- Utilities for the facility would extend underground from Executive Drive and generally follow the access drive to the facility compound.  (AT&T Wireless 1, Tab 5, p. 2)

- The facility compound would be enclosed by an eight-foot tall security fence with barbed wire. (AT&T Wireless 1, Tab 5, p. 2; Tr. 1, pp. 22-23)

- The closest residential structure to this site is approximately 1,150 feet away to the southeast and is owned by John J. and Kathryn Egri.  There are no residences within 1,000 feet of the proposed facility.  (AT&T Wireless 1, p. 11; AT&T Wireless 2, responses 14 and 18; Tr. 1, p. 22)

- The tower fall zone radius does not lie completely within the Hyde Road Development, LLC property.  It extends onto the property of Connecticut Sand & Stone Corporation by approximately 54 feet.  The fall zone also extends onto the Pumpkin Associates, LLC property by approximately 65 feet.  The tower could be designed with a yield point if requested.  (AT&T Wireless 1, Tab 5, Site Access Map; AT&T 2, response 22)

- The estimated cost of the proposed site for AT&T Wireless is as follows:

Electronic equipment costs		$  70,000

Tower and antenna costs		$150,000

Site development and utility costs	$311,500

Total estimated cost			$531,500  (AT&T Wireless 1, p. 18)

Environmental Considerations

- The proposed site is level and cleared, with red maple forest immediately adjacent to the west, but otherwise open to the north and east, and for a lesser distance to the south.   (DEP letter dated February 20, 2004)

- Cottonwood, elm and pin cherry comprise portions of the forest to the west, with bittersweet vines abundant on many of the trees.  (DEP letter dated February 20, 2004)

- DEP noted that the access drive runs along the axis of a narrow, forested, north-south ridge.  DEP suggested that the ridge could be avoided by moving the access drive 30 feet to the east or west if development plans for neighboring parcels allow.  The DEP also noted that viewers in the industrial park along Executive Drive and Corporate Avenue would be the most directly affected.  However, DEP also notes that the two towers on Rattlesnake Mountain are the dominant visual intrusion in the area.  (DEP letter dated February 20, 2004)

- The closest wetland area is approximately 10 to 12 feet from the proposed compound. (Tr. 1, pp. 26-27)

- There would be no wetlands disturbed during the development of the facility. (AT&T Wireless 1, p. 16)

- The proposed site is not located within a 100 year or 500 year flood zone.  (Tr. 1, p. 39)

- The proposed facility site will have no effect on historic, architectural, or archaeological resources listed on or eligible for the National Register of Historic Places.  Also, the proposed site will have no effect on the properties of traditional culture importance to Connecticut’s Native American communities. (AT&T Wireless 1, Tab 6, p. 2)

- The FAA completed an aeronautical study regarding the proposed facility and concluded that the structure would not be a hazard to air navigation, and that marking and lighting of the tower would not be necessary.  (AT&T Wireless 1, Tab 5)

- No known Federal or State Endangered, Threatened or Special Concern Species occur in the vicinity of the proposed site. (AT&T Wireless 1, Tab 6, p. 1)

- According to a methodology prescribed by the FCC Office of Engineering and Technology Bulletin No. 65E, Edition 97-01 (August 1997), the maximum power density at the base of the proposed tower, including AT&T Wireless and Verizon antennas, would be  13.21% of the standard for Maximum Permissible Exposure as adopted by the FCC. (AT&T Wireless 1, p. 12; AT&T Wireless 2, Response 21; Verizon Wireless 1, Response 10; Tr. 1, p. 47)

- AT&T does not anticipate the need for blasting at the proposed site. (AT&T Wireless 2, Response 13)

- Forty-four trees with a diameter at breast height (dbh) of greater than 6 inches would be removed to develop the access road. (AT&T Wireless 2, Response 17)

- The development of the compound would not require the removal of any trees greater than 6 inches dbh.  (AT&T Wireless 2, Response 11)

Visibility

- The view of the proposed tower from the hiking trails on Rattlesnake Mountain and Pinnacle Rock would be largely obscured by existing trees along the trails, with possible visibility between the trees at some points.  (AT&T Wireless 1, Tab 5, p. 7)

- The proposed tower would be visible along a 750’ section of Pequabuck Lane, from the intersection of Pequabuck Lane and Pasture Way, to the end of the cul-de-sac.  Five homes along this portion of Pequabuck Lane and one home at 1 Pasture Way can expect seasonal visibility.  Also, one home at 11 Pequabuck Lane can expect year-round visibility of the proposed tower.  (AT&T Wireless 2, Response 19)

- The proposed tower would also be visible along a three-quarter mile section of Forest Hills Drive, beginning in the vicinity of 11 Forest Hills Drive to the vicinity of 52 Forest Hills Drive.  Five homes between 27-28 Forest Hills Drive and 42-46 Forest Hills Drive can expect seasonal visibility.  Nine homes between 11-14 Forest Hills Drive, 33-38 Forest Hills Drive, and 50-52 Forest Hills Drive can expect seasonal views of the proposed tower.  Homes at 50 and 52 Forest Hills Drive would have a year-round view looking down on the tower from a higher elevation.  (AT&T Wireless 2, Response 19)

- The proposed tower would also be visible along a 300’ section of Farmington Avenue, from the vicinity of 470 Farmington Avenue to the vicinity of 494 Farmington Avenue.  Four homes, located at 470, 486, 490, and 494 Farmington Avenue can expect seasonal visibility of the proposed tower.  (AT&T Wireless 2, Response 19)

- The proposed tower would also be visible along a 1000’ section of Fawn Drive, from the vicinity of 18 Fawn Drive to the vicinity of 63 Fawn Drive.  Eighteen homes along Fawn Drive would have year-round visibility from this area.   (AT&T Wireless 2, Response 19)

- The proposed tower would also be visible along a 500’ section of Ben Court, from approximately 21 Ben Court to the intersection of Ben Court and Fawn Drive.  Six homes would have year-round visibility from this area.  (AT&T Wireless 2, Response 19)

- The proposed tower would also be visible along a 200’ section of Reliance Road, between 37 and 39 Reliance Road.  Two homes would have seasonal visibility from this area.  (AT&T Wireless 2, Response 19)

- Three homes between 1 and 4 Woodside Lane would have seasonal visibility.  (AT&T Wireless 2, Response 19)

- Nine homes between 22 and 36 Hardwood Road would have seasonal visibility.  (AT&T Wireless 2, Response 19)

- Three homes between 29 and 36 Ashford Road can expect seasonal visibility.  One home located at 33 Ashford Road can expect year round visibility.  (AT&T Wireless 2, Response 19)

- Visibility of the tower from Hyde Road would be sporadic.  Existing trees would provide some seasonal screening, but the tower could be viewed from other portions of Hyde Road.  (Tr. 1, pp. 14-15)

- Seasonal visibility of the proposed tower is expected from Old Canal Crossing.  (Tr. 1, p. 15)

- Some views of the proposed tower are expected between the trees from Farmstead Lane, Northwest Drive, and Farmington Valley Drive.  (Tr. 1, pp. 15-16)

Map 1

Site Location

(AT&T Wireless 1, Attachment 5)

Map 2

Residential Visibility Map

(AT&T Wireless 2, Response 19, Exhibit C)

Map 3

AT&T Wireless Existing Coverage

(AT&T Wireless 1, Attachment 3)

Map 4

AT&T Wireless Coverage from CT-409

(AT&T Wireless 1, attachment 3)

Map 5

AT&T Wireless Coverage at 140 Feet

(AT&T Wireless 3, Response 25)

Map 6

AT&T Wireless Coverage at 130 Feet

(AT&T Wireless 3, Response 25)

Map 7

AT&T Wireless Composite Coverage

(AT&T Wireless 1, Attachment 3)

Map 8

Verizon Existing Coverage

(Verizon 1, Response 7)

Map 9

Verizon Coverage with Site

(Verizon 1, Response 7)

Map 10

Verizon Coverage at 140 Feet

(Verizon 1, Response 7)

Map 11

Verizon Coverage at 130 Feet

(Verizon 1, Response 7)

Map 12

Verizon Coverage at 120 Feet

(Verizon 1, Response 7)