Petition No. 716

Northeast Utilities Service Company

Norwalk, Connecticut

Staff Report

July 20, 2005

NUSCo, acting as agent for CL&P, seeks a determination that no certificate is needed to install an emergency generator at its 115-kV substation located adjacent to the Norwalk Harbor Generating Station, which is owned by NRG>

Council member Brian O’Neill and staff member David Martin visited the site on May 17, 2005 to conduct a field review of the proposal. There were several representatives for CL&P and NRG present for the field review. Dorothy Wilson of the City of Norwalk’s Planning and Zoning Department was also present.

CL&P’s installation would consist of a 100-kW, liquid propane driven, three-phase generator and a 1,000 gallon liquid propane tank. This equipment would be located within a 46-foot by 16-foot area in the southwest corner of the existing substation. The generator would supply power to operate the substation’s critical loads in the case of black out conditions.

Given its size and scale relative to the existing and proposed equipment at the substation, the addition of the generator and tank should represent a very minor alteration to the substation and should have no significant adverse environmental impact.

The city’s planner expressed a concern about existing vegetation that will be cut away during the project to replace the current leaking cable that runs from the Norwalk Generating Station across to Long Island. She hoped that CL&P would replace as much of the vegetation as possible, preferably with evergreen trees to maintain the vegetative buffer that screens the substation from the view of residences across the bay. CL&P representatives said they would accommodate the city’s request.