Petition No. 723

New Cingular Wireless PCS, LLC (Cingular)

New Milford, Connecticut

Staff Report

July 20, 2005

On July 15, 2005, Connecticut Siting Council (Council) member Edward S. Wilensky and Christina Lepage of Council staff met with Christopher Fisher and Tim Burks for the New Cingular Wireless PCS (Cingular) at the proposed site near 5 Old Town Park Road, New Milford to review this petition.  Cingular proposes to attach a mast to the existing transmission structure (#10185).  Cingular is petitioning the Council for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need (Certificate) is required for this facility.

The existing tower is 160 feet in height and supports 115-kV high voltage overhead transmission lines (line number 1618) owned by Connecticut Light and Power Company.  This structure is located within a commercial and light industrial area.

Cingular proposes to install a mast extension and attach six panel antennas that would extend 15 feet and have a radiation centerline of 175 feet above ground level (agl), and a total height of 177 ½ feet agl.  Cingular would install equipment within an 11-foot six-inch by 20 foot equipment shelter on a concrete pad, which would be located approximately 75 feet south of the existing tower.  A GPS antenna would be attached to the cable bridge that would be located between the tower and the equipment shelter.

The existing access over the CL&P easement from Old Town Park Road to the facility would be utilized.  Erosion and sediment control measures would be installed in accordance with the “Connecticut Guidelines for Soil Erosion and Sediment Control.”

The proposed extension would have a minimal, if any, visual impact to the surrounding area.  The proposed equipment shelter would be screened by existing mature vegetation.

The proposed cumulative radio frequency electromagnetic radiation is approximately five percent of the ANSI/IEEE standard.