Petition No. 718

The Connecticut Light & Power Company

Devon Substation

Milford, Connecticut

July 20, 2005

On May 10, 2005, the Connecticut Light and Power Company (CL&P) submitted a petition to the Connecticut Siting Council (Council) for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need would be required for an addition to the existing Devon Substation in Milford, Connecticut.  On May 24, 2005, Gerald Heffernan of the Council and Robert Mercier of Council Staff met CL&P representative James Wabrek and NRG representative Robert Pierce, Jr. for a field review of the proposed project.

CL&P proposes to add a 60-kW, 480-Volt, three phase emergency generator and related equipment within the substation compound.  The generator would be driven by an engine fueled with liquid propane.  A 1,000 gallon liquid propane tank would be installed adjacent to the generator.

The generator is needed to supply emergency AC power for substation service under blackout conditions which may be extensive enough to interrupt both normal and backup supplies.  The generator would maintain the operations of the substation and avoid damage from an extensive loss of power.  The generator would be installed along the northeast side of the existing substation fence.

The nearest residence is approximately 450 feet away.  Noise from the generator would not exceed limits established under state regulations.

CL&P expects to complete the project by November 30, 2005.