	DOCKET NO. 329 – Optasite Towers LLC and Omnipoint Communications, Inc. application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a telecommunications facility at Paddock Avenue in Meriden, Connecticut.

	}

}

}


	Connecticut

Siting

Council

August 29, 2007


Findings of Fact

Introduction

1. Pursuant to Chapter 277a, Sections 16-50g et seq. of the Connecticut General Statutes (CGS), as amended, and Section 16-50j-1 et. seq. of the Regulations of Connecticut State Agencies (RCSA), Optasite Towers LLC (Optasite) and Omnipoint Communications, Inc., a subsidiary of T-Mobile USA, Inc., (T-Mobile) applied to the Connecticut Siting Council (Council) on February 13, 2007 for the construction, operation, and maintenance of a telecommunications facility to be located at 651 Paddock Avenue in the City of Meriden, Connecticut. (Optasite 1, p. 1)

2. Optasite is a Delaware corporation with offices at One Research Drive, Suite 200C, Westborough, Massachusetts. It would construct and maintain the proposed facility. (Optasite 1, p. 3)

3. T-Mobile is a Delaware corporation with a Connecticut office at 100 Filley Street, Bloomfield, Connecticut. The company and its affiliated entities are licensed by the Federal Communications Commission (FCC) to construct and operate a personal wireless services system in Connecticut. T-Mobile does not conduct any other business in the State of Connecticut other than the provision of wireless services under FCC rules and regulations. (Optasite 1, p. 3)

4. The parties in this proceeding are the applicants and the City of Meriden. (Transcript, May 3, 2007, 3:10 p.m. [Tr. 1], pp. 1-2)
5. The proposed facility would provide wireless service in the City of Meriden along Route 15 (Wilbur Cross Parkway) and the surrounding area. (Optasite 1, p. 1)

6. Pursuant to CGS § 16-50m, the Council, after giving due notice thereof, held a public hearing on May 3, 2007, beginning at 3:10 p.m. and continuing at 7:00 p.m. in Room 206, the City Council’s Chambers, in the Meriden City Hall in Meriden, Connecticut. (Tr. 1, p. 3 ff.)
7. The public hearing was continued to May 31, 2007 and was re-convened at 10:00 a.m. in Hearing Room Two of the Council’s offices at Ten Franklin Square, New Britain, Connecticut. (Transcript, May 31, 2007, 10:02 a.m. [Tr. 3], p. 3 ff.)
8. The Council and its staff conducted an inspection of the proposed site(s) on May 3, 2007, beginning at 2:00 p.m. (Tr. 1, p. 27 ff.) 
9. During this inspection, two sites were reviewed. The first site reviewed (referred to as the “wooded site”) was the site described in the application. It was located in the wooded portion of the church property approximately 110 feet east of the right-of-way of the Wilbur Cross Parkway and approximately 370 feet west of Paddock Avenue. (Tr. 1, p. 30 ff.; Optasite 1, Exhibit A, Drawing SC-1)
10. The second site reviewed (referred to as the “parking lot site”) was the site originally considered by Optasite. It is shown on site plans included in Exhibit K of the application. It was located adjacent to the church’s parking lot in a cleared area of the church property approximately 180 feet east of the Wilbur Cross right-of-way and 290 feet west of Paddock Avenue. (Tr. 1, p. 30 ff.; Optasite 1, Exhibit K, Drawing SC-1)
11. On the day of the field inspection, the applicants flew a balloon at the “wooded site” from 7:45 a.m. to 5:00 p.m. to simulate the height of the proposed tower. Conditions for flying the balloon were favorable until approximately 12:45 p.m., when the winds increased to over ten miles an hour, which made it difficult to keep the balloon aloft. (Tr. 1, p. 51)

12. Pursuant to CGS § 16-50l(b), notice of the applicants’ intent to submit this application was published in The Hartford Courant on February 6 and 8, 2007 and in the Meriden Record-Journal on February 7 and 9, 2007. (The Hartford Courant Affidavit of Publication dated February 13, 2007 and Record-Journal Affidavit of Publication dated March 14, 2007) 
13. In accordance with CGS § 16-50l(b), Optasite sent notices of its intent to file an application with the Council to each person appearing of record as owner of property abutting the property on which the site is located. (Optasite 1, p. 4, Exhibit E)

14. Optasite received return receipts from 21 of the 22 abutting property owners to whom notices of its application were sent. Optasite sent a second notice to the abutter from whom a return receipt was not received on March 23, 2007. (Optasite 2, A1)

15. Optasite made a third attempt to notify the one abutter from whom it had not received the return receipt but had not received the receipt at the time of the public hearing. (Tr. 1, pp. 83-84)

16. Pursuant to CGS § 16-50l (b), Optasite provided notice to all federal, state and local officials and agencies listed therein.  (Optasite 1, p. 4, Exhibit C)
State Agency Comment

17. Pursuant to CGS § 16-50l, the Council solicited comments on Optasite’s application from the following state departments and agencies: Department of Environmental Protection, Department of Public Health, Council on Environmental Quality, Department of Public Utility Control, Office of Policy and Management, Department of Economic and 




Community Development, and the Department of Transportation. The Council’s letters requesting comments were sent on March 21, 2007 and on June 1, 2007. (CSC Hearing Package dated March 21, 2007 and Letter to State Agency heads dated June 1, 2007)
18. The Connecticut Department of Public Health (DOPH) responded to the Council’s solicitation with no comments. (DOPH Memorandum dated March 29, 2007)

19. The Connecticut Department of Transportation (ConnDOT) responded to the Council’s solicitation with no comments. (ConnDOT Letter dated May 2, 2007)
20. The Council did not receive comments from any other state agency from which comments were solicited. (Record)
Municipal Consultation
21. Optasite submitted a letter and a technical report describing its proposed facility to City of Meriden officials on September 28, 2006. (Optasite 1, p. 17)
22. The technical report submitted to the city described the site located within the wooded portion of the church property. (Tr. 1, p. 28)

23. Optasite met with representatives of the City of Meriden on December 1, 2006 to discuss the technical report and its proposed facility. Thomas Skoglund, Assistant City Planner, was among the city officials present at this meeting. (Optasite 1, p. 17)
24. At a Special Meeting held on February 15, 2007, the Meriden Planning Commission unanimously voted to recommend that the Council deny the application for a facility at 651 Paddock Avenue. (Record - Letter from Meriden Planning Commission dated February 22, 2007)

25. The City of Meriden recommended several city-owned properties as alternatives to the proposed facility at 651 Paddock Avenue. The suggested sites included the Thomas Hooker School on Overlook Drive, Nessing Field, and the grounds of the hospital located at 883 Paddock Avenue. (Letter from Deborah Moore, City of Meriden, dated July 2, 2007)
26. The Hooker School site was rejected because of issues related to the future development of the school and wetlands and, according to T-Mobile’s RF engineer, a facility at the Hooker School would provide too much redundant coverage that would overlap with an existing rooftop facility on East Main Street. (Tr. 3, p. 42 ff.)

27. T-Mobile could achieve its coverage objectives from Nessing Field but would require a tower 160 to 165 feet tall. In addition, a deed restriction may eliminate the possibility of using Nessing Field as a wireless telecommunications site. (Tr. 3, p. 47 ff.)
28. T-Mobile could also achieve its coverage objectives from the hospital grounds at 883 Paddock Avenue but would require a tower at least 155 feet tall. The City of Meriden would not consider the hospital a potential site if a tower of this height would be required. (Tr. 3, p. 77; Tr. 3, p. 156) 
Public Need for Service
29. The United States Congress, through adoption of the Telecommunications Act of 1996, recognized the important public need for high quality telecommunication services throughout the United States. The purpose of this Act, which was a comprehensive overhaul of the Communications Act of 1934, was to “provide for a competitive, deregulatory national policy framework designed to accelerate rapidly private sector deployment of advanced telecommunications and information technologies to all Americans.” (Optasite 1, p. 5)

30. The Telecommunications Act of 1996 prohibits local and state bodies from discriminating among providers of functionally equivalent services. (Council Administrative Notice, Telecommunications Act of 1996)
31. The Telecommunications Act of 1996 prohibits any state or local agency from regulating telecommunications towers on the basis of the environmental effects of radio frequency emissions to the extent that such towers and equipment comply with the Federal Communications Commission’s (FCC) regulations concerning such emissions. This Act also blocks the Council from prohibiting or acting with the effect of prohibiting the provision of personal wireless service. (Council Administrative Notice, Telecommunications Act of 1996)
32. In an effort to ensure the benefits of wireless technologies to all Americans, Congress enacted the Wireless Communications and Public Safety Act of 1999 (the 911 Act). The purpose of this legislation was to promote public safety through the deployment of a seamless, nationwide emergency communications infrastructure that includes wireless communications services. As an outgrowth of this act, the FCC mandated wireless service providers to provide enhanced 911 services (E911) that would enable public safety dispatchers to identify a wireless caller’s geographical location within several hundred feet. (Optasite 1, pp. 6-7)
33. The proposed facility would be an integral component of T-Mobile’s E911 network. (Optasite 1, p. 7)

34. Sprint/Nextel has determined that the proposed site would fill a coverage need, but it has not indicated that this location is in its immediate build plan. (Optasite 2, A6)

35. Sprint/Nextel was provided with the coordinates of the wooded site closer to the Wilbur Cross Parkway and was told that the tower would only accommodate flush-mounted antennas when its possible interest was solicited by Optasite. (Tr. 1, pp. 93-94)

Site Selection
36. Optasite began its site search for a facility in this area of Meriden in October, 2005, in response to T-Mobile’s need for improved coverage in this area. (Optasite 2,  A2 & A3)

37. In its site search, Optasite found that there were no existing towers or other tall structures that would be suitable for T-Mobile’s operations within two miles of its proposed site. (Optasite 1, p. 8)

38. Optasite identified five towers within approximately four miles of its search area. They are located at 1605 Durham Road in Wallingford, 90 N. Plains Industrial Road in Wallingford, West Peak Drive in Meriden, and Highland Avenue (Route 10) in Cheshire. There are two towers on West Peak Drive. (Optasite 1, p. 8; Exhibit G)
39. ConnDOT has a maintenance yard across the Wilbur Cross Parkway from Optasite’s proposed site. But due to lack of space, ConnDOT refused to lease to Optasite. (Optasite 1, Exhibit H)
40. Optasite considered several other sites in addition to the First Assembly of God Church property on which it is proposing its facility. Other properties considered are described below with a determination of their suitability.
	Location Considered
	Suitability

	116 Miller Road, owned by Ruth Weston
	Rejected because it is located at the top of a hill with high visibility to surrounding properties; little natural screening

	91 Barr Street, owned by City of Meriden
	This site is close to another existing site; tower would have to be 170’ to 180’ tall to achieve T-Mobile coverage objectives

	70 Overlook Road – Thomas Hooker School, owned by City of Meriden
	Issues related to future school development restrict site potential; coverage from this location would be redundant with existing T-Mobile site on East Main Street (Tr. 3, p. 42 ff.)


	70 Overlook Road – Kogut Memorial Field; owned by City of Meriden
	Rejected because of potential impact on wetlands 

	883 Paddock Avenue, owned by City of Meriden
	Site would be feasible with a 155-foot tower; city not willing to allow use of this site with tower of this height (Tr. 3, p. 77; Tr. 3, p. 156)

	Other city-owned properties
	Rejected by city

	Sterling Village Condominiums
	Unable to reach lease agreement



(Optasite 1, Exhibit H)
41. Repeaters, microcell transmitters, distributed antenna systems and other types of transmitting technologies are not a practicable or feasible means to provide service within the sizeable coverage gap T-Mobile is seeking to cover from the proposed location. (Optasite 1, p. 7)

42. If, as suggested by the city, T-Mobile were to utilize several smaller towers instead of the proposed 120-foot tower, approximately 5 towers above tree canopy height would most likely be required. Because of the location of the area T-Mobile is seeking to cover, these towers would have to be located in residential areas. (Tr. 1, p. 82 ff.)

43. A multiple tower option would also require a greater total footprint area. (Transcript, May 3, 2007, 7:05 p.m. [Tr. 2], p. 50 )
Site Description

Application Site- “Wooded Site”
44. The facility proposed in Optasite’s application is located in the western portion of a 3.89-acre parcel owned by the First Assembly of God Church of Meriden at 651 Paddock Avenue in Meriden. The western boundary of the church property abuts the right-of-way of the Wilbur Cross Parkway. (Optasite 1, Exhibit A, Drawing AB-1)

45. The church property is located in an S-R (Suburban Residential) zoning district. Meriden’s zoning regulations do not specifically address telecommunications facilities. (Optasite 1, p. 15)
46. At this location, Optasite would construct a 120-foot monopole tower within a 44-foot by 50-foot enclosed compound. The compound would be located within a 50-foot by 90-foot lease parcel and would be enclosed by an eight-foot chain link fence. (Optasite 1, p. 9; Tr. 1, p. 20)
47. The proposed tower would be painted to reduce its potential visibility. All proposed and future antennas on the tower would be flush-mounted. (Optasite 4, Paragraph 5g; Tr. 1, pp. 55, 64)
48. The tower would be located at 41º 30’ 45” latitude and 72º 46’ 45” longitude. Its elevation at ground level would be 315 feet above mean sea level. (Optasite 1, Exhibit A, Drawing SC-2)
49. The tower would be designed in accordance with the specifications of the Electronic Industries Association Standard ANSI/EIA/TIA-222-G, “Structural Standards for Steel Antenna Towers and Antenna Support Structures,” and would comply with the State Building Code. (Optasite 2, A8)
50. T-Mobile would flush mount three antennas at a centerline height of 117 feet on the proposed tower. (Optasite 2, A29)
51. The tower would be designed to accommodate all the wireless carriers active in Connecticut as well as City of Meriden emergency services. (Optasite 1, p. 9)
52. Site development would require approximately 2 cubic yards of cut and 10 cubic yards of fill. (Optasite 2, A12)
53. Approximately 3,900 square feet of land would be cleared for the compound, access road, and grading area. (Optasite 5, Pre-filed testimony of Douglas Roberts)

54. Eleven trees with a diameter of six inches or greater at breast height would be removed to construct a facility at this site. (Optasite 1, Exhibit A)

55. The nearest wetlands to the “wooded site” are approximately 18 feet to the west of the proposed compound. (Optasite 1, Exhibit A, Drawing SC-2)

56. Vehicular access to the site would extend from Paddock Avenue over an existing paved driveway, through an existing church parking lot, and over a new gravel access drive of approximately 40 feet that would extend from the church parking lot. (Optasite 1, Drawing SC-2 on Exhibit A)
57. Utility connections would extend underground from Paddock Avenue to the proposed site. (Optasite 1, p. 10)
58. No blasting would be required to develop this site. (Optasite 2, A13)
59. The proposed tower’s setback radius would encroach approximately 11 feet onto the Wilbur Cross Parkway’s right-of-way, 27 feet onto the property of Donald and Charlotte Jahnke to the southeast, and 26 feet onto the property of Mario and Judy D’Acunto to the southwest. (Optasite 2, A16)
60. Optasite could have the proposed tower designed with a yield point to reduce the effective setback radius. (Tr. 1, p. 66)
61. The nearest residence is approximately 146 feet to the south and is owned by Mario and Judy D’Acunto. (Optasite 2, A9)
62. There are approximately 83 residences located within 1,000 feet of the proposed tower. (Optasite 2, A10)
63. Development within ¼ mile of the proposed facility is primarily residential. (Optasite 1, p. 15)
64. The estimated cost of construction for this facility, not including carriers’ antennas and support equipment, is:

Road construction

$ 11,000

Site construction 

   40,000

Tower, Offload and Erection
   60,000

Electrical/Telco/Grounding
   15,000

Tower foundation

   24,000

Fencing



   11,000
Total costs

             $161,000

(Optasite 1, p. 18)

Alternate Site – “Parking Lot Site”
65. The site location originally considered by Optasite was located adjacent to the church’s parking lot. (Tr. 1, p. 29 ff.)

66. As a result of discussions with neighbors and church members, reviewing comments received from the city’s Planning and Zoning Commission, and responding to the Council’s interrogatories, Optasite reconsidered the “parking lot site” as an alternative to the “wooded site” described in the application. (Tr. 1, pp. 30-31)

67. The “parking lot site” is approximately 155 feet farther away from the Wilbur Cross Parkway than the “wooded site.” (Tr. 1, p. 75)
68. This site is approximately 173 feet from the nearest wetland. (Tr. 3, p. 176)

69. The ground elevation of the “parking lot site” is ten feet higher than that of the “wooded site.” (Tr. 1, p. 67)
70. Optasite’s original plans called for a 50-foot by 90-foot lease area/compound at this location. (Optasite 1, Exhibit K, Figure 2)
71. Optasite would erect a 120-foot tower at the “parking lot site.” (Tr. 1, p. 34) 
72. Antennas at the “parking lot site” would be flush-mounted. (Tr. 3, p. 15)

“Site C”

73. In response to Council questions, Optasite proposed a third possible location on the church property that could be used as the facility site. This location would be approximately 120 feet north of the nearest property boundary to the south and 180 feet from the Wilbur Cross right-of-way. An existing stone wall on the church property would be the westernmost edge of the compound. The tower would be located in the northeast corner of the compound.  (Tr. 2, p. 57 ff.)
74. At this location, Optasite would erect a tower 120 feet high. (Optasite 10, Exhibit C, Drawing L-3)

75. Antennas on this tower would be flush-mounted. (Tr. 3, p. 15)

76. The ground elevation of the tower at this site would be approximately 325 feet above mean sea level. (Optasite 10, Exhibit C, Drawing L-1)

77. At this location, Optasite might not have to remove any trees. (Tr. 2, p. 59)

78. To avoid disturbing the roots of any nearby trees, Optasite could require carriers using the facility to put their equipment shelters or cabinets on piers. (Tr. 2, pp. 59-60)
79. Site C would be approximately 57 feet from the nearest point of wetlands. (Tr. 3, p. 13)

80. A facility at this location would be easier to construct than a facility at the wooded site because of its farther distance from the wetlands. At this location, the water table is lower and constructing the tower’s foundation would not require extensive dewatering efforts. (Tr. 2, pp. 60-61)

81. The equipment compound at this location would be 45 feet by 50 feet. (Tr. 2, p. 62; Tr. 3, p. 13)

82. The tower at the Site C location would be located approximately halfway between the church’s abutting properties to the north and south. (Tr. 3, p. 17)

83. For this alternative Optasite would use wooden stockade fencing and landscaping around the site perimeter to mitigate the visual impact of the facility’s compound. (Tr. 2, p. 63)

84. At this location, the tower’s setback radius would lie completely within the church property. (Tr. 2, p. 64)

85. Optasite could bring underground utilities to its facility along the north side of the church to eliminate the possibility of damaging a large tree whose root system might be disturbed if utilities were installed along the church’s driveway. (Tr. 2, pp. 67-68)

86. Optasite would be amenable to providing vegetative screening along the boundaries of the church property to further minimize the visual impact of its proposed facility. (Tr. 3, p. 185)
Environmental Considerations
87. The proposed project would have no effect on historic, architectural, or archaeological resources listed on or eligible for the National Register of Historic Places. (Optasite 1, Exhibit L – Letter from State Historic Preservation Officer)

88. No known extant populations of Federal or State Endangered, Threatened or Special Concern Species occur at the proposed site. (Optasite 1, Exhibit L – Letter from Connecticut Department of Environmental Protection)

89. Optasite would install sedimentation and erosion control measures and employ best management practices during the construction of the facility to protect the wetlands. (Optasite 2, A22)

90. The Federal Aviation Administration determined that the proposed facility would not be a hazard to air navigation and would not require marking or lighting. (Optasite 2, Exhibit 3)

91. The maximum power density from the radio frequency (RF) emissions of T-Mobile’s proposed antennas would be 5.67% of the standard for Maximum Permissible Exposure, as adopted by the FCC, at the base of the proposed tower at any of the proposed sites. This calculation was based on a methodology prescribed by the FCC Office of Engineering and Technology Bulletin No. 65E, Edition 97-01 (August 1997) that assumes all antennas would be pointed at the base of the tower and all channels would be operating simultaneously. (Optasite 1, Exhibit M)
Visibility
92. The visual analysis included in the application was based on a tower located at the “parking lot site.” (Tr. 1, p. 32)

93. The visual impact of a tower at any one of the three sites considered would be essentially the same. (Tr. 3, p. 58)

94. The visibility of a proposed tower at the “parking lot site” from different vantage points in the surrounding vicinity is summarized in the following table.
	Location
	Visible

Site
	Approx. Portion of (120’) Tower Visible (ft.)


	Approx. Distance and Direction to Tower

Site

	  1 – 563 Paddock Avenue
	Yes
	60’
	690 feet; SW

	  2 – 138 Elmwood Drive
	Yes
	20’
	1200 feet; NE

	  3 – Elmwood Drive at Tulip Drive
	Yes
	20’
	1700 feet; NE

	  4 – 30 Clover Street
	Yes
	50’
	1250 feet; E

	  5 – 8 Tulip Drive
	Yes
	10’
	1050 feet; NE

	  6 – Rice Road at Prann Court
	Yes
	10’
	1160 feet; SE

	  7 – 125 Prann Court
	Yes
	50’
	850 feet; SE

	  8 – 86 Prann Court
	Yes
	50’
	900 feet; SE

	  9 – 33 Whitney Drive
	Yes
	20’
	1500 feet; SE

	10 – 57 Whitney Drive
	Yes
	20’
	1600 feet; SE

	11 – 185 Miller Avenue
	Yes
	10’
	1200 feet; E

	12 – 35 Sandy Lane
	Yes
	5’
	690 feet; NW

	13 – 45 Overlook Road
	Yes
	40’
	2050 feet ; SW

	14 – Schwink Drive at Milici Circle
	Yes
	10’
	4000 feet; S

	15 – 355 Research Parkway
	Yes
	10’
	4000 feet; SW

	16 – Thorpe Avenue
	Yes
	20’
	6000 feet, W


(Optasite 1, Exhibit J)

95. The proposed tower would be visible year-round from approximately 137 acres within a two-mile radius of the site. (Optasite 1, Exhibit J)

96. The tower would be seasonally visible from an approximately 96 additional acres within a two-mile radius of the site. (Optasite 1, Exhibit J – Viewshed Map)

97. Approximately 42 residences would have partial year round views of the proposed tower. (Optasite 1, Exhibit J)

98. Approximately 48 additional residences would have seasonal views of the proposed tower. (Optasite 1, Exhibit J)

99. The tower would be visible for approximately 2,800 feet on the Wilbur Cross Parkway. (Optasite 1, Exhibit J – Viewshed Map)

100. Portions of the Mattabesett Trail that traverses the Beseck Mountain ridgeline approximately 1.6 miles to the east of the site would have views of the tower. (Optasite 1, Exhibit J)
101. A 155-foot tower at 883 Paddock Avenue would have more of a visual impact on the surrounding area than a 120-foot tower at the 651 Paddock Avenue site. (Tr. 1, pp. 66-67)
102. A tower at Nessing Field, because of its higher required height, would have a wider visual footprint than the 120-foot tower at the proposed site. (Tr. 3, p. 183)

Existing and Proposed Wireless Coverage

103. The drive tests T-Mobile performed to determine coverage from this property were based on the “parking lot site” location. (Tr. 1, p. 69)

104. T-Mobile’s licensed operating frequencies are:
Transmit: 1935.00 to 1945.00 MHz (A Band) and 1980.20 to 1984.80 MHz (C Band)                  

Receive: 
1855.00 to 1865.00 MHz (A Band) and 1900.20 to 1904.80 MHz (C Band)


(Optasite 3, A2)

105. The minimum design signal strength for the T-Mobile system is -84 dBm, which is the lower limit for T-Mobile to provide in-vehicle coverage.  (Optasite 3, A3)
106. T-Mobile’s requirement for providing in-building coverage is -10 dBm to -76 dBm. (Optasite 5, Pre-filed testimony of Scott Heffernan; Tr. 1, p. 77)

107. Signal strength below -84 dBm would adversely affect T-Mobile’s ability to provide reliable E911 services mandated by the federal government. (Optasite 5, Pre-filed testimony of Scott Heffernan)

108. T-Mobile’s existing signal strength in the area that would be covered by the proposed facility ranges from -87 to -100 dBm. (Optasite 3, A4)
109. From the proposed facility, T-Mobile’s antennas would hand off signals to the facilities identified below: 

· 869 East Main Street in Meriden - antennas mounted on billboard at 64 feet above ground level (AGL), 
· 546 Broad Street in Meriden – antennas mounted on rooftop at 54 feet AGL, 
· 992 Northrop Road in Wallingford - antennas mounted on monopole at 140 feet AGL, 

· 90 North Plains Industrial Road in Wallingford (antennas mounted on monopole at 148 feet AGL). 
(Optasite 3, A9)
110. The length of T-Mobile’s coverage gap on the Wilbur Cross Parkway is 1.49 miles. (Optasite 3, A6)

111. T-Mobile’s RF signal would cover 2.11 miles on the Wilbur Cross Parkway from the proposed site(s). (Optasite 3, A7)
112. T-Mobile’s RF signal would cover 3.57 square miles from the proposed site(s). (Optasite 3, A5)
113. The minimum height at which T-Mobile could achieve its coverage objectives from this location is 117 feet AGL. (Optasite 3, A10)

114. The minimum height requirement of 117 feet is based on T-Mobile’s drive test and propagation data which were generated at the “parking lot site.” (Tr. 1, p. 69)

115. Because of the closer proximity of the wooded site to the Wilbur Cross Parkway, T-Mobile would be able to achieve its coverage objectives with its antennas at 117 feet AGL despite the ten-foot difference in ground elevation. (Tr. 1, p. 69 ff.)

116. T-Mobile could achieve its coverage objective from any one of the three alternative sites proposed. (Tr. 3, pp. 26-27)

Figure 1: Location Map

[image: image1.jpg]



    (Optasite 1, Exhibit 1)

Figure 3: Existing T-Mobile Coverage

[image: image2.jpg]Coverage Thresholds

<54 4B - In Vohicl Coverago

; Map Scale: 1:40,000





           (Optasite 1, Exhibit F)

Figure 4: T-Mobile Coverage from Proposed Site with antennas at 117 feet

[image: image3.jpg]Coverage Thresholds

Existing Coverage Propagation
Modsing

wad [l o asm
| W

Wiap Scale = 1: 40,000

=




          (Optasite 3, Exhibit 1)

Figure 5: T-Mobile Composite Coverage with Antennas at 117 Feet
[image: image4.jpg]Coverage Thresholds.

| [ J—uasm-lnvm le Coverage

Map Scale: 1:40,000





   (Optasite 1, Exhibit F)

Figure 6: Visibility Map

[image: image5.jpg]



[image: image6.jpg]Legend

© Tttt b Pttt o 061
RS R

[
prearbor iy

T
Rt o o
AR AT

| B s
St o Vet et [z
ipiosimivy = s

[ a— o cer s

[ r—

=]
| s





               (Optasite 1, Exhibit J)






