| DOCKET NO. 352 - The Connecticut Light and Power Company application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance, and operation of a proposed substation located at 264 Rood Avenue and 25 Shelley Avenue, Windsor, Connecticut. | } } } } | Connecticut Siting Council April 24, 2008 |
| --- | --- | --- |

Decision and Order

Pursuant to the foregoing Findings of Fact and Opinion, the Connecticut Siting Council (Council) finds that the effects associated with the construction, operation, and maintenance of a new substation located at 264 Rood Avenue and 25 Shelley Avenue, Windsor, including effects on the natural environment; ecological integrity and balance; forests and parks; scenic, historic, and recreational values; air and water purity; fish and wildlife; and public health and safety are not disproportionate either alone or cumulatively with other effects compared to need, are not in conflict with the policies of the State concerning such effects, and are not sufficient reason to deny the application.  Therefore, the Council directs that a Certificate of Environmental Compatibility and Public Need, as provided by General Statutes § 16-50k, be issued to The Connecticut Light and Power Company (CL&P) for the construction, operation, and maintenance of a new substation.

The facility shall be constructed, operated, and maintained substantially as specified in the Council’s record in this matter, and is subject to the following conditions:

- The Development and Management Plan shall include the following elements:

- A final site plan showing the placement of all substation equipment, structures, and buildings within the substation perimeter, potential access, and the location of all temporary and permanent tap structures;

- Erosion and sediment controls consistent with the 2002 Connecticut Guidelines for Soil Erosion and Sediment Controls; and

- Provisions for storm water management and oil containment.

- Wetland enhancement and  restoration plan.

- Vegetative and earthwork screening plan.

- The Certificate Holder shall comply, to the extent possible, with applicable guidelines set forth in the Council’s Best Management Practices for Electric and Magnetic Fields for the Construction of Electric Transmission Lines in Connecticut.  The Certificate Holder shall comply with all future electric and magnetic field standards promulgated by State or federal regulatory agencies.  Upon the establishment of any new standards, the facilities granted in this Decision and Order shall be brought into compliance with such standards as soon as practical.

- The Certificate Holder shall provide the Council with written notice two weeks prior to the commencement of site construction activities.  In addition, the Certificate Holder shall provide the Council with written notice of the completion of site construction and the commencement of substation operation.

- The Certificate Holder shall notify the Council if and when substation operations terminate.

- Unless otherwise approved by the Council, this Decision and Order shall be void if all construction authorized herein is not completed within five years of the effective date of the Decision and Order, or within five years after all appeals to this Decision and Order have been resolved.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are:

| Applicant The Connecticut Light and Power Company | Its Representative John R. Morissette Manager, Transmission Siting and Permitting Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 Duncan MacKay Assistant General Counsel Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 Marcella Ferrara, Project Manager Transmission Projects Northeast Utilities Service Company 107 Selden Street Berlin, CT 06037 Anthony M. Fitzgerald, Esq. Robert S. Golden Jr., Esq. Marianne Barbino Dubuque, Esq. Carmody & Torrance LLP 50 Leavenworth Street P.O. Box 1110 Waterbury, CT 06721-1110 |
| --- | --- |