| DOCKET NO. 360 - Cellco Partnership d/b/a Verizon Wireless application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a telecommunications facility located at 188 Route 7 South, Falls Village (Canaan), Connecticut. | } } } | Connecticut Siting Council March 12, 2009 |
| --- | --- | --- |

Findings of Fact

Introduction

- On March 28, 2008, Cellco Partnership d/b/a Verizon Wireless (Verizon), in accordance with provisions of Connecticut General Statutes (CGS) § 16-50g through 16-50aa, applied to the Connecticut Siting Council (Council) for the construction, operation, and maintenance of a wireless telecommunications facility at 188 Route 7 South in the Falls Village section of Canaan, Connecticut.  The proposed site would be located on property that would be the future home of the Falls Village Fire Department (FVFD).  (Verizon 1, p. 1)

- Verizon is a Delaware Partnership with an administrative office in Connecticut.  The Federal Communications Commission (FCC) has licensed Verizon to operate a wireless telecommunications system in the State of Connecticut.  Operation of the wireless telecommunications systems and related activities are Verizon’s sole business in the State of Connecticut.  (Verizon 1, p. 4)

- Verizon is licensed by the FCC to provide 1900 MHz personal communications service (PCS) to Litchfield County, Connecticut.  On May 30, 2008, Verizon acquired Alltel Communication’s 850 MHz cellular license for Litchfield County, Connecticut.  Verizon has also acquired a license to provide service in the 700 MHz frequency band, which will be used to provide 4th Generation (4G) wireless service.  (Verizon 1, p. 7, Tab 6; Verizon 6, Verizon 7, p. 1)

- The party in this proceeding is the applicant.  The intervenor is Dina Jaeger.  (Transcript 1 – 3:00 p.m. [Tr. 1], p. 6)

- The purpose of the proposed facility is to provide service along Route 7 and portions of Route 112 and Route 126, as well as local roads in the southwest portion of the Town of Canaan.  (Verizon 1, pp. 1, 2)

- Pursuant to CGS § 16-50l (b), public notice of the application was published in the Register Citizen, which serves Litchfield County, on March 24 and 25, 2008.  (Verizon 1, p. 5)

- Pursuant to CGS § 16-50l(b), notice of the application was provided to all abutting property owners by certified mail.  All adjacent landowners signed return receipts upon receipt of the notice.  (Verizon 1, p. 5, Tab 5; Verizon 6, R. 1)

- Pursuant to CGS § 16-50l (b), Verizon provided notice to all federal, state and local officials and agencies listed therein.  (Verizon 1, p. 5, Tab 3)

- On June 11, 2008, Verizon installed a sign in the front of the property of the proposed site, adjacent to Route 7, which notified the public of the proposed project and the July 1, 2008 public hearing.  (Tr. 1, p. 51)

- Pursuant to CGS § 16-50m, the Council, after giving due notice thereof, held a public hearing on July 1, 2008, beginning at 3:00 p.m. and continuing at 7:00 p.m. at the Lee H. Kellogg School, 47 Main Street, Falls Village, Connecticut.  (Tr. 1, p. 3; Transcript 2 – 7:10 p.m. [Tr. 2], p. 3)

- The Council and its staff conducted an inspection of the proposed site on July 1, 2008, beginning at 2:00 p.m. with members of the public in attendance.  Verizon flew a red balloon at the site to simulate the height at the top of the proposed tree branches, which would be 157 feet above ground level.  Weather conditions were very good with no winds until approximately 12:00 p.m., after which the wind increased to between three and seven miles an hour.  The balloon was tethered at 157 feet.  The balloon was aloft from 7:15 a.m. to 5:00 p.m.  (Council’s Hearing Notice dated May 30, 2008, Tr. 1, pp. 50-51)

- The public hearing was continued on July 31, 2008 beginning at 11:00 a.m. at the office of the Connecticut Siting Council, 10 Franklin Square, New Britain, Connecticut.  (Transcript 3 – 11:10 a.m. [Tr. 3], p. 3)

United States Department of the Interior Comments

- The United States Department of the Interior, National Park Service, submitted a letter to the Council dated April 18, 2008.  The National Park Service found that the proposed tower would not result in an adverse visual impact on the Appalachian National Scenic Trail, provided that the following mitigating measures be incorporated as recommended by representatives of the Appalachian Mountain Club, the Appalachian Trail Conservancy, and the National Park Service:

- The Applicant purchases, delivers and plants approximately 25 white pine trees, with a minimum height of five feet, along the Appalachian Trail near Warren Turnpike as directed by the National Park Service representative.

- The Applicant constructs a monopine, as proposed in the application.

(Verizon 4, Letter from US Department of the Interior)

- Verizon has agreed to comply with the recommendations of the Appalachian Mountain Club, the Appalachian Trail Conservancy and the National Park Service.  (Verizon 5, Letter from Verizon)

State Agency Comments

- Pursuant to CGS § 16-50j (h), on May 30, 2008, the following State agencies were solicited by the Council to submit written comments regarding the proposed facility; Department of Environmental Protection (DEP), Department of Public Health (DPH), Council on Environmental Quality (CEQ), Department of Public Utility Control (DPUC), Office of Policy and Management (OPM), Department of Economic and Community Development (DECD), and the Department of Transportation (DOT).  On August 1, 2008, the previously mentioned state agencies as well as the Department of Agriculture (DOA) were solicited by the Council to submit written comments regarding the proposed facility.  (Record)

- The Council received responses from the DOT on June 24, 2008.  DOT comments stated that any work within the Route 7 right-of-way would require an encroachment permit pursuant to Regulations of Connecticut State Agencies, § 13b-17-1.  (Record)

- The following agencies did not respond to the Council with comment on the application, as solicited by CGS § 16-50j (h): DEP, CEQ, DPUC, OPM, DPH, DOA, and DECD.  (Record)

Municipal Consultation

- On October 23, 2007, Verizon notified the Town of Canaan and met with its Chief Elected Official, First Selectman Patricia Allyn Mechare, providing copies of technical information regarding the proposed project.  (Verizon 1, p. 19) [Note: While First Selectman Mechare was only one member of the three-person Board of Selectmen, she was the Chief Elected Official of the Town and the full Board of Selectmen later made its position known to the Council.  See Finding No. 22 below.]

- Verizon provided copies of the technical information regarding the proposed project to the Town of Salisbury First Selectman, Chief Elected Official, Curtis G. Rand, on October 23, 2007.  (Verizon 1, p. 19)

- Upon filing the application with the Council, Verizon mailed copies of the application and attachments via certified mail, return receipt requested, to Town of Canaan Officials including First Selectman Mechare; Mary M. Palmer, Town Clerk; Frederick J. Laser, Chairman of the Planning and Zoning Commission; John Holland, Chairman of the Zoning Board of Appeals; Michael O’Neil, Zoning Enforcement Officer; and Ellery W. Sinclair, Chairman of the Inland Wetland Commission.  (Verizon 1, Tab 3)

- In a letter dated April 22, 2008, the Town of Canaan Planning & Zoning Commission (P&Z) provided comments regarding the proposed facility.  The P&Z stated that:

- Any new tower or antenna that is regulated and approved by the Council is permitted by right.  The tower setbacks for the proposed tower would be greater than 200 feet from each property boundary.  In addition, the town’s Zoning Regulations do not contain siting preferences for telecommunication facilities.

- The town’s Plan of Conservation and Development does not specifically reference telecommunications towers as a land use consistent or inconsistent with the general planning or conservation policies of the town.  The Plan of Conservation and Development does recognize the need for a new firehouse to enhance public safety.  The proposed telecommunications facility would further enhance public safety for the town.

- Verizon indicated that the proposed facility would have no significant environmental impacts.

(Council Admin. Notice, Municipal comments, 4)

- On April 28, 2008, the Town of Canaan Board of Selectmen (Board) sent a letter to the Council regarding the proposed project.  The letter expressed that the Board strongly supported Verizon’s application due to the proposed facility’s minimum impact on the surrounding area.  The proposed facility would be in accordance with the general objectives of the town’s Plan of Conservation and Development.  The Board stated that the proposed facility would begin to close the gaps in wireless service where it is essential, along the Route 7 corridor.  Verizon would provide space for the FVFD to locate on the tower, which the Board considers a benefit to public safety for the area.  (Council Admin. Notice, Municipal comments, 1)

- In a letter received by the Council on May 30, 2008, the town P&Z recommended the proposed telecommunications tower be constructed as a monopole at 150 feet agl, rather than an artificial tree at 157 feet agl based on a consensus that the artificial tree tower would not be in keeping with the rural character and integrity of the town.  (Council Admin. Notice, Municipal comments, 2)

- The Town of Canaan Inland Wetlands/Conservation Commission (Commission) submitted comments to the Council in a letter dated June 5, 2008.  The Commission found that there would be no intrusion upon any wetland or watercourse due to the construction or operation of the proposed project.  (Council Admin. Notice, Municipal comments, 3)

- Town and FVFD antennas would be installed at the top of the tower and extend upward.  The town and the FVFD have not yet provided information regarding their antenna needs to Verizon.  (Verizon 1, p. 2; Verizon 6, R. 3)

General Public Need for Service

- In 1996, the United States Congress recognized a nationwide need for high quality wireless telecommunications services, including cellular telephone service.  Through the Federal Telecommunications Act of 1996, Congress seeks to promote competition, encourage technical innovations, and foster lower prices for telecommunications services.  (Council Administrative Notice Item No. 7)

- In issuing cellular licenses, the Federal government has preempted the determination of public need for cellular service by the states, and has established design standards to ensure technical integrity and nationwide compatibility among all systems.  (Council Administrative Notice Item No. 7)

- The Telecommunications Act of 1996 prohibits local and state entities from discriminating among providers of functionally equivalent services.  (Council Administrative Notice Item No. 7)

- The Telecommunications Act of 1996, a Federal law passed by the United States Congress, prohibits any state or local entity from regulating telecommunications towers on the basis of the environmental effects of radio frequency emissions to the extent that such towers and equipment comply with FCC’s regulations concerning such emissions.  This Act also blocks the Council from prohibiting or acting with the effect of prohibiting the provision of personal wireless service.  (Council Administrative Notice Item No. 7)

- In an effort to ensure the benefits of wireless technologies to all Americans, Congress enacted the Wireless Communications and Public Safety Act of 1999 (the 911 Act). The purpose of this legislation was to promote public safety through the deployment of a seamless, nationwide emergency communications infrastructure that includes wireless communications services.  (Verizon 6, R. 5)

- Through the enhanced 911 Act of 2004 (E-911 Act), the FCC requires carriers to provide public safety facilities with information including the latitude and longitude of the caller.  The development of new technologies must support E-911 services.  (Verizon 6, R. 5)

- Verizon has incorporated the E-911 requirements into all existing Verizon facilities in Connecticut and the appropriate equipment would be installed at the proposed facility.  (Verizon 6, R. 5)

Site Selection

- Verizon established a search ring for the target service area in May of 2006.  The search ring consists of an oval area immediately west of Route 7 near the intersection with Six Rod Road in the Falls Village section of Canaan.  (Verizon 1, Tab 9)

- In the fall of 2006, Verizon representatives contacted First Selectman Mechare to discuss the availability of town-owned property for the construction of a telecommunications facility.  First Selectman Mechare requested that Verizon investigate the potential use of the town-owned parcel immediately south of the FVFD, which the Canaan Highway Department uses for truck and material storage.  Verizon’s investigation of the Highway Department parcel resulted in rejection of that site because elevation declines to the south and west and would, therefore, require a taller tower.  (Verizon 1, Tab 9)

- Verizon met with the First Selectman again regarding the use of the FVFD property.  Cellco then negotiated a lease with the FVFD.  (Verizon 1, Tab 9)

- There is one existing tower located within two-miles of the search area.  That facility is a monopine, owned by SBA Communications, located at 477 Route 7 in Sharon.  Verizon has antennas located at the 130-foot level of this 130-foot tower.  (Verizon 1, Tab 9)

- The Connecticut Light and Power Company (CL&P) transmission line structures along Beebe Hill Road are approximately 85 feet tall and the nearest are located approximately 2,000 feet north of the proposed site.  Although the CL&P poles are outside of the designated search ring, installation of Verizon antennas at a height of 150 feet agl and a ground elevation of 655 feet above mean sea level would likely provide comparable coverage to the proposed site.  (Verizon 6, R. 6, 7, 8)

- The potential use of the CL&P poles for wireless telecommunications antennas was rejected because:

- Access to some utility structures may be difficult due to topography or remoteness of the location.

- Carriers may need to obtain certain legal/property rights from the underlying landowner for access to the structure and installation of equipment at the base of the structure.

- CL&P may impose access restrictions on carriers regarding the use of these structures due to operating requirements of the transmission line, including limiting the ability to allow access to the structure for construction and/or maintenance of its cell site due to, amongst other things, reliability of the electric transmission grid in accordance with the North American Reliability Council, Northeast Power Coordinating Council and Northeast Utilities criteria.

- CL&P’s access restrictions would affect municipal and emergency service providers, which require access to their antennas and equipment on a continuous basis.

(Verizon 6, R. 6)

- Microcells and repeaters are not viable technological alternatives for providing coverage to the identified coverage gap due to the size of the existing coverage gaps along Route 7, and portions of Route 126 and Route 112.  (Verizon 6, R. 9)

Site Description

- The proposed site is located on a 7.15-acre parcel at 188 Route 7 South in Falls Village.  The property is owned by the Falls Village Volunteer Fire Department, Inc. and is the future home of the FVFD firehouse.  Figure 1 of this document is an aerial photograph depicting the location of the proposed site.  Figure 2 of this document is a site plan for the proposed site.  (Verizon 1, p. 2, Tab 1)

- The parcel is zoned Residential/Agricultural.  The Canaan Zoning Regulations do not contain preferences for siting telecommunications facilities.  (Verizon 1, pp. 2, 17, 18)

- The proposed site is within the Housatonic River Overlay Zone-Outer Corridor.  The Housatonic River Overlay Zone, as defined by the Housatonic River Commission’s Housatonic River Management Plan, is a flood-prone corridor of land adjacent to the Housatonic River.  The land is environmentally sensitive, and contains valuable natural resources.  The Outer Corridor of the Housatonic River Overlay Zone is the area essentially between the limit of the 100-year flood zone and the top of the valley ridge.  (Verizon 1c, Zoning Regulations, p. 29)

- The proposed tower would be located in the center portion of the property at an elevation of approximately 655 feet above mean sea level.  The site is wooded with an area cleared for a future fire department building and associated parking areas.  The proposed tower would be northwest of and behind the future fire department building and approximately 290 feet west of Route 7.  (Verizon 1, Tab 1, Tab 10)

- The proposed facility would include a 150-foot monopole, disguised as a pine tree, within a 100-foot by 100-foot leased area.  The top of the simulated branches would extend to 157 feet agl.  The proposed tower would accommodate the antennas of four carriers as well as town and FVFD antennas.  Verizon would construct the tower in accordance with the American National Standards Institute TIA/EIA-222-F “Structural Standards for Steel Antenna Towers and Antenna Support Structures.”   (Verizon 1, p. 2, 10, Tab 1; Verizon 6, R. 11)

- The diameter at the base of the proposed tower would range from 50 to 72 inches, tapering to a diameter of 24 inches at the top of the tower.  Branches on the proposed monopine tree would start at approximately 85 feet agl.  The bottom branches would total approximately 45 feet in width and taper to approximately 5 feet in width at the top of the monopine.  (Verizon 1, Tab 1; Tr. 1, p. 48)

- Verizon would install six PCS antennas and six cellular antennas with a centerline height of 150 feet agl.  The top of Verizon’s antennas would be approximately 153 feet agl.  (Verizon 1, Tab 1, Tab 8; Verizon 7, p. 1)

- A 50-foot by 75-foot compound, enclosed by an eight-foot tall security fence, would be established at the base of the tower.  Verizon would install equipment within a 12-foot by 30-foot shelter within the compound.  Verizon proposes to install a diesel-fueled generator within a separate generator room inside the shelter for use during power outages and for maintenance.  Refer to Figure 2 of this document.  (Verizon 1, p. 3, Tab 1)

- Construction of the access drive would include 20 cubic yards of cut and 75 cubic yards of fill, and the compound would require 50 cubic yards of cut and 350 cubic yards of fill.  The combined total would be 355 cubic yards of fill.  (Verizon 6, R. 12)

- Rather than bringing fill in for the proposed site, Verizon would be willing to investigate the potential to increase the amount of cut at the site and move it to the area that would need fill.  Increasing the amount of cut at the proposed site may require rock removal and an increased removal of trees.  If any rock removal were necessary, Verizon would use a hoe ram for this process.  (Tr. 3, pp. 151-152)

- Construction of the proposed site is not expected to require blasting.  (Verizon 6, R. 13)

- Verizon would apply for an encroachment permit with the DOT for access to the proposed site from Route 7.  (Tr. 1, p. 54)

- Access to the proposed site would extend from Route 7 over a new gravel driveway for a distance of approximately 308 feet.  Following construction of the FVFD firehouse, the same access road to the site would extend through the firehouse parking area.  (Verizon 1, p. 2, Tab 1)

- Utilities would be installed underground from Route 7 to the proposed site along the access drive.  (Verizon 1, Tab 1)

- The proposed tower would be approximately 90 feet northwest of the nearest corner of the future FVFD building.  Verizon could design a yield point into the proposed tower, if ordered by the Council.  (Verizon 6, R. 14, 15)

- The tower setback radius would remain within the host property boundaries.  Distance from the proposed tower to all property lines exceeds 157 feet.  (Verizon 1, Tab 1)

- There are six residences within a 1,000-foot radius of the proposed site.  The nearest residence, owned by Ralph and Dorothy Marshall, is located at 202 Route 7 South, approximately 635 feet to south of the proposed site.  (Verizon 1, p. 13; Verizon 6, R. 16)

- Intervenor Dina Jaeger’s residence is located approximately 1,290 feet east of the proposed tower.  Intervenor Jaeger also co-owns an undeveloped parcel of property directly across Route 7 South from the proposed site at 167 Beebe Hill Road, approximately 380 feet east of the proposed tower.  (Verizon 1, Tab 1; Verizon 10, p. 2)

- Land use surrounding the proposed site consists of undeveloped woodlands and agricultural land to the west; agricultural and low-density residential areas to the east; the Town Highway Department property and low-density residential areas to the south; and commercial and light industrial uses to the north.  (Verizon 1, Tab 1)

- The estimated construction cost of the proposed facility, including Verizon’s antennas and radio equipment, is:

| Cell site radio equipment | $450,000 |
| --- | --- |
| Tower, coax and antenna | 150,000 |
| Power systems | 20,000 |
| Equipment building | 50,000 |
| Miscellaneous | 95,000 |
| Total | 765,000 |

(Verizon 1, p. 21)

Environmental Considerations

- According to the State Historic Preservation Office, the proposed project would have no adverse effect on cultural resources eligible for or listed on the National Register of Historic Places with the condition that:

  - Verizon continue coordination with the National Park Service regarding views of the tower from portions of the Appalachian Trail.

  - “If antennas on the tower are not in use for six consecutive months, antennas and equipment shall be removed by the facility owner” within 90 days of such six-month period.  Upon removal, the property shall be restored to its original state.

(Verizon 1, Tab 11)

- No known federally listed or proposed, threatened or endangered species or critical habitat occur on the host property.  (Verizon 1, p. 14)

- Federal or State Endangered or Threatened or State Special Concern species that are known to occur outside of the host property but within a 984 foot (300 meter) radius of the proposed site include the Endangered plant species Ribes triste (Swamp Red Currant), the Threatened plant species Petasites frgidus var. palmatus (Sweet Coltsfoot) and the Passerculus sandwichensis (Savannah Sparrow), a state Special Concern bird species.  (Jaeger 15)

- The State-listed Special Concern Species Passerculus sandwichensis (savannah sparrow) has been known to occur in this portion of Canaan; however, the proposed site is unlikely to affect this bird species due to the primarily wooded vegetation on the property.  The savannah sparrow uses grassland areas.  The DEP recommended the minimization of tower lighting and lighting of equipment shelters and metering areas to the greatest extent possible.  (Verizon 1, Tab 11)

- The State-listed Endangered species Lota Lota (burbot) is a fish species that has been recorded at the Hollenbeck River, which is greater than two miles from the proposed site.  The proposed facility would not affect this endangered species.  (Verizon 1, Tab 11)

Continued on next page.

- The United States Department of Interior, Fish and Wildlife Service (FWS), Division of Migratory Bird Management provides “Guidance on the Siting, Construction, Operation and Decommissioning of Communications Towers” in accordance with the Migratory Bird Treaty Act.  The following are the FWS’s recommendations for the siting of telecommunications facilities.

| Recommendation | Verizon’s proposed facility |
| --- | --- |
| Encourage collocation on existing communications towers or other structures. | Verizon seeks collocation wherever possible but it is not an option as an alternative to the proposed facility. |
| New towers encouraged to be no more than 199 feet agl, use construction techniques that do not include guy wires and be unlighted if FAA regulations permit. | Proposed tower would be less than 199 feet agl and would not include the use of guy wires. The tower would not be lit per FAA regulations. |
| If multiple towers, consider cumulative impacts to migratory birds and threatened and endangered species, as well as the impact of each individual tower. | Not Applicable |
| If possible, site new towers within clusters of towers. Discourage the siting of towers near wetlands, other known bird concentration areas, in known migratory or daily movement flyways, or in habitat of threatened or endangered species. Also, towers should not be sited within areas of high incidence of fog, mist and low ceilings. | Intervenor Jaeger identified a “Beebe Hill Flyway,” which was identified as the full summit of Beebe Hill. The proposed tower is located approximately 3,500 feet from the Beebe Hill Flyway. |
| If a tower in excess of 199 feet agl must be constructed, the minimum amount of pilot warning and obstruction avoidance lighting required by the FAA should be installed. | The proposed tower would be less than 199 feet agl. The proposed tower would not be lit, per FAA regulations. |
| Towers using guy wires that are proposed within known raptor or waterbird concentration areas or daily movement routes, or in major daytime migratory bird movement routes or stopover sites should have visual markers on the wires to prevent collisions. | The proposed tower is a monopole and no guy wires are proposed. |
| Towers should be sited, designed and constructed to avoid or minimize habitat loss within and adjacent to the tower footprint. Access roads and fencing should be minimized to reduce or prevent habitat fragmentation and disturbance. | The site footprint would be 50 feet by 75 feet. The removal of six trees would be required for construction of the site and an additional tree for construction of the access road, for a total of seven trees. |
| An alternative site should be sought if significant numbers of breeding, feeding or roosting birds are known to inhabit the proposed construction area. If this is not possible, seasonal restrictions on construction may be advisable. | Not Applicable |
| Towers should be designed to accommodate at least two additional carriers’ antennas | The proposed tower is designed to support three additional carriers as well as town and FVFD antennas. |
| Security lighting for on-ground equipment should be down-shielded. | Security lighting would be down-shielded. |
| Service personnel from the Communication Tower Working Group should be allowed access to the tower site under construction or proposed for construction. | Not Applicable |
| Towers no longer in use should be removed within 12 months of cessation of use. | May be ordered by the Council |

(Verizon 8, R. 10; Verizon 11; Tr. 1, p. 92; Tr. 3, pp. 158-160, 162)

- The first paragraph of the “Briefing Paper on the Need for Research into the Cumulative Impacts of Communication Towers on Migratory Birds and Other Wildlife in the United States” (Briefing Paper) by the Division of Migratory Bird Management, U.S. Fish & Wildlife Service states “Virtually unknown,… are the potential effects of non-ionizing, non-thermal tower radiation on avifauna, including at extremely low radiation levels, far below maximum safe exposure levels previously determined for humans.”  The Briefing Paper also “addresses the need to cumulatively assess the impacts of communication towers on migratory birds both from collisions and radiation….”  (Jaeger 51, p. 1)

- “In 2000, the Communications Tower Working Group (chaired by Division of Migratory Bird Management/Manville) developed a nationwide tower research protocol that would assess cumulative impacts from tower collisions nationwide, suggesting the use of some 250 towers of different height, lighting, and support categories….No funding was ever acquired and the collision study has not yet been conducted.”  (Jaeger 51, p. 3)

- Vegetation at the proposed site consists of post-agricultural mid to late-succession growth with the exception of areas previously cleared by the property owner for the development of a fire department and ambulance service center and a gravel pit.  Trees existing on the host property consist predominantly of pine and oak.  Approximately seven trees would be removed for the construction of the proposed site and access road.  (Verizon 1, Tab 1; Verizon 6, R. 10)

- Properties surrounding the host property include oak forest, sawmill yard and business development, residential, upland meadow and cultivated field.  (Verizon 6, R. 10)

- No wetlands are located within 200 feet of the proposed site.  An intermittent watercourse was identified approximately 240 feet south of the proposed compound.  An additional intermittent watercourse was identified approximately 260 feet north of the proposed compound.  Construction of the proposed site is not expected to adversely affect either intermittent watercourse.  (Verizon 1, p. 18)

- The closest aviation facility to the proposed site is a heliport at the Sharon Hospital approximately 6.6 miles southwest of the proposed site.  The nearest airport is privately-owned and located in Great Barrington, Massachusetts, approximately 14.5 miles north of the proposed site.  (Verizon 1, Tab 13; Verizon 6, R. 17)

- The maximum power density from the radio frequency emissions of Verizon’s proposed antennas would be 18.8% of the standard for Maximum Permissible Exposure, as adopted by the FCC, at the base of the proposed tower. This calculation was based on methodology prescribed by the FCC Office of Engineering and Technology Bulletin No. 65E, Edition 97-01 (August 1997) that assumes all antennas would be pointed at the base of the tower and all channels would be operating simultaneously. (Verizon 1, p. 15; Verizon 7, p. 2)

- At a distance of 1,290 feet from the proposed antennas, the worst-case total radio frequency emissions of Verizon’s proposed antennas would be 0.25% of the standard for Maximum Permissible Exposure, as adopted by the FCC.  (Verizon 10, p. 2, attachment 2; Tr. 3, pp. 113-114)

- The Council has reviewed the studies introduced by the Intervenor.  Exhibit 51 is the U.S. FWS Briefing Paper, which has been discussed in Finding Nos. 66 and 67.  Exhibit 7 is a study on mice: the Council finds it does not provide credible evidence that radiofrequency (RF) emissions kill mice, birds or other wildlife.  Exhibit 6 regarding White Storks does not establish that RF emissions proximately kill such storks.  Exhibit 5 is a study regarding House Sparrows and does not demonstrate that RF emissions proximately kill such birds.  The same is true of Exhibit 4.  Exhibits 1, 2 and 3 do not demonstrate that RF emissions proximately kill the studied birds.  In summary, the Council does not believe that the submitted studies clearly demonstrate that RF emissions from wireless telecommunications towers, that are in compliance with FCC regulations, proximately cause the deaths of protected birds or their eggs.  (Jaeger 1; Jaeger 2; Jaeger 3; Jaeger 4; Jaeger 5; Jaeger 6; Jaeger 7; Jaeger 51)

- The Council notes that the Intervenor has introduced numerous exhibits alleging health risks to human beings from RF emissions.  The Council notes, however, that the RF emissions from the proposed tower would be fully in compliance with FCC regulations. (See Finding Nos. 72-73).  Consequently, the Council would be barred under Federal law, 47 U.S.C.§ 332 (c)(7)(B)(i), from basing any rejection of the pending application on these human health concerns.  Further, the binding case law interpreting this statutory provision has been explicit.  See Cellular Telephone Company v. Town of Oyster Bay, 166 F.3d 490, 495 (2nd Cir. 1999); Cellular Phone Taskforce v. FCC, 205 F.3d 82, 88 (2nd Cir. 2000), cert. denied, 531 U.S. 1070 (2001); Sprint Spectrum v. Mills, 283 F3d 404, 416 (2nd Cir. 2003). Therefore, the Council declines to make findings on these exhibits.  (Jaeger 34-44; Ex. E to EMPRI, August 25, 2008 statement)

Visibility

- The proposed tower would be visible year-round from approximately 24 acres within a two-mile radius of the site (refer to Figure 3 of this document).  The tower would be seasonally visible from an additional approximately 46 acres within a two-mile radius of the site.  (Verizon 1, Tab 10)

- Visibility of the proposed tower from specific locations within a two-mile radius of the site is presented in the table below:

| Location | Visible | Approx. Portion of Tower Visible | Approx. Distance from Tower |
| --- | --- | --- | --- |
| Intersection of Six Rod Road and Route 7 | Yes | 65 to 75 feet – above trees | 0.07 miles southeast |
| Intersection of Beebe Hill Road and Six Rod Road | Yes | 70 to 75 feet – above trees | 0.23 miles northeast |
| Beebe Hill Road (north of Six Rod Road) | Yes | 75 to 80 feet – above trees | 0.23 miles northeast |
| Route 112 (adjacent to #531) | Yes | 50 to 60 feet – above trees | 1.12 miles southwest |
| Route 112 (west of Route 7) | Yes | 80 to 90 feet – above trees | 1.03 miles southwest |
| Traffic triangle at Route 112 and Route 7 | Yes | 65 to 75 feet – above trees | 0.96 miles southwest |
| Route 7 (north of Route 112) paralleling the Appalachian Trail | Yes | 40 to 50 feet – above trees | 0.82 miles southwest |
| Outcrop along Mohawk Trail | Yes | 10 to 20 feet – through trees | 0.65 miles southeast |
| Beebe Hill Road | Yes | 20 to 25 feet – above trees (with trees as background) | 0.35 miles southeast |
| Appalachian Trail over Sharon Mountain | No | - | 2.11 miles southwest |
| Appalachian Trail on northern shoulder of Sharon Mountain | No | - | 1.93 miles southwest |
| Warren Turnpike/Appalachian Trail at Housatonic Valley Regional High School | No | - | 0.53 miles southwest |
| Appalachian Trail east of Warren Turnpike | No | - | 0.2 miles southwest |

(Verizon 1, Tab 10; Verizon 6, R. 18)

- The proposed tower would be visible year-round from portions of Six Rod Road and Beebe Hill Road, an approximately 0.5 mile segment of Route 112 west of Route 7, and a portion of Route 7 north of Route 112.  (Verizon 1, Tab 10)

- The proposed tower would be visible year-round from approximately five residential properties, including three residences in the Beebe Hill Road/Six Rod Road area and two residences along Route 112.  (Verizon 1, Tab 10)

- Seasonal views of the proposed tower are expected from four additional properties along portions of Route 7, Beebe Hill Road and Six Rod Road within ¼ mile of the proposed site.  (Verizon 1, Tab 10; Verizon 6, R. 20)

- The proposed tower would be seasonally visible from an outcrop along Mohawk Trail west of Lookout Point, as shown in view # 8 in the table above.

- A segment of the Appalachian Trail that parallels Route 7, north of Route 112, would have a year-round view of the proposed tower, as shown in view # 7 in the table above.  (Verizon 1, Tab 10)

- Visual impact of the tower on the Appalachian National Scenic Trail would be mitigated with measures recommended by the United States Department of the Interior, National Park Service, as stated in Finding of Fact number 13.  (Verizon 4, Letter from US Department of the Interior)

- The upper 25% of the proposed tower would be visible from portions of the Housatonic Valley Regional High School athletic fields, as shown in the “Regional High Sch.” area in Figure 3 of this document.  (Verizon 1, Tab 10)

- The proposed monopine design of the proposed tower could minimize visual impact to the surrounding community.  (Verizon 1, Tab 10)

Existing and Proposed Wireless Coverage – Verizon

Public Need for the proposed site

- Verizon operates in the FCC’s Block F, which is associated with PCS frequencies of 1890 to 1895 MHz and 1970 and 1975 MHz.  Verizon recently acquired Alltel Communication’s cellular license (for the 850 MHz frequency range) and would install equipment and antennas at the proposed site that would provide service in both cellular and PCS frequency bands.  The signal level service design for the Falls Village section of Canaan is -85 dBm and -75 dBm for in-vehicle and in-building coverage, respectively.  (Verizon 1, Tab 6, Tab 7; Verizon 6; Tr. 1, p. 54)

- Verizon uses both PCS and cellular frequencies to provide both voice and data services, in general.  In Litchfield County, Verizon proposes to use both PCS and cellular frequencies for voice services and PCS frequencies for data services.  (Tr. 1, pp. 56-57)

- The existing signal level in the area of the proposed site ranges from -86 dBm to -104 dBm, at both PCS and cellular frequencies.  (Verizon 6, R. 22)

- A coverage gap exists in Verizon’s PCS and cellular coverage between the existing 130-foot tree tower at 477 Route 7 in Sharon and the 195-foot tower off Lower Road in North Canaan.  Figure 4 of this document depicts existing PCS coverage and Figure 6 depicts existing cellular coverage.  (Verizon 1, p. 2)

- The proposed facility would provide approximately 2.6 miles of reliable PCS coverage to Route 7, 1.1 miles to Route 112, and 1.2 miles to Route 126.  The overall PCS footprint of coverage from the proposed tower would be 2.92 square miles.  Figure 5 of this document depicts existing and proposed PCS coverage from the proposed site.  (Verizon 1, p. 2)

- The proposed facility would provide approximately 3.45 miles of reliable cellular coverage along Route 7, 1.25 miles along Route 112, and 1.3 miles along Route 126.  The overall cellular footprint of coverage from the proposed tower would be 10.6 square miles.  Figure 7 of this document depicts existing and proposed cellular coverage from the proposed site.  (Verizon 7, p. 2)

- Verizon’s coverage footprint from a telecommunications facility increases and decreases in size based on the number of users on a particular site at a particular time.  Figures 4 through 7 of this document show coverage at 50% loading, meaning Verizon assumed, for the purpose of these coverage plots, that the number of users is 50% of the total capacity of the towers depicted.  (Tr. 1, pp. 63-65; Tr. 3, p. 87)

- Verizon antennas on the proposed tower would hand-off to:

| Address | Tower Height | Verizon Antenna Height | Distance & Direction |
| --- | --- | --- | --- |
| 477 Route 7, Sharon | 130 feet | 130 feet | 2.4 miles south |
| 38 Lower Road, North Canaan | 195 feet | 168 feet | 5.13 miles northeast |

(Verizon 6, R. 23)

- At the Council’s July 1, 2008 public hearing, a public comment session was held, providing an opportunity for limited appearance statements.  Such statements are not made under oath or subject to cross-examination.  During the public hearing in Falls Village, three of the people who provided comments stated that they have cell phone coverage within Falls Village, but none of them indicated what carrier they used and none were called as a witness in this proceeding.  Consequently, the Council cannot make a finding that any particular carrier has existing coverage over the area to be served by the proposed facility.  (Tr. 2, pp. 13, 15-17)

- Verizon determines public need for a facility based upon factors including dropped calls and ineffective attempts data, customer complaints and marketing input.  An ineffective attempt occurs when a call, either initiated or received by a customer, fails due to unreliable signal strength.  On the Verizon system, a call may be lost due to less than reliable signal strength within, or at the edge of, a coverage footprint from a facility.  Facilities without hand-off capability typically will have higher lost call rates.  (Tr. 3, pp. 138, 139, 144, 146; Verizon, Late-filed exhibit dated August 11, 2008)

- Verizon monitors dropped call and ineffective attempt data with the goal of maintaining a standard of less than 1% for dropped calls and ineffective attempts from each cell site.  The two sites nearest to the proposed site experience a dropped call rate of 5.6% and an ineffective attempt rate of 2.7%.  An ineffective call rate is always an undercount in areas with no coverage or severely limited capacity, since any attempted calls that do not have sufficient signal strength to reach a tower cannot be counted.  (Tr. 3, pp. 144, 146; Verizon, Late-filed Exhibit dated August 11, 2008)

- In the future, Verizon would require a site to the north to fill a coverage gap along Route 7 between the proposed site and Verizon’s existing North Canaan antenna site.  (Verizon 6, R. 2)

Figure 1.  Aerial photograph of the proposed site and surrounding area in Falls Village, CT.  (Verizon 1, Tab 1)

Figure 2.  Site plan for proposed site.  (Verizon 1, Tab 1)

Figure 3.  Viewshed analysis of a 157-foot monopine at the proposed site.  (Verizon 1, Tab 10)

Figure 4.  Verizon’s existing PCS coverage in the area surrounding the proposed site.  (Verizon 1, Tab 7)

Figure 5.  Verizon’s existing PCS coverage and PCS coverage from the proposed site at 150 feet agl.  (Verizon 1, Tab 7)

Figure 6.  Verizon’s existing cellular coverage in the area surrounding the proposed site.  (Verizon 7, Tab 2)

Figure 7.  Verizon’s existing cellular coverage and cellular coverage from the proposed site at 150 feet agl.  (Verizon 7, Tab 2)

# Footnotes

Additionally, it is the Council’s policy to strongly encourage co-location for future carriers in the area in accordance with CGS 16-50aa.