| DOCKET NO. 190A – Meriden Gas Turbines, LLC Certificate of Environmental Compatibility and Public Need for the construction, maintenance, and operation of a 530 MW combined cycle generating plant in Meriden, Connecticut. Reopening of this docket pursuant to Connecticut General Statutes § 4-181a(b) limited to Council consideration of changed conditions and of the attachment of conditions to the certificate consistent with the findings and recommendations in the Final Report issued by the Kleen Energy Plant Investigation Review Panel (Nevas Commission) and the findings and recommendations in the Executive Report issued by the Thomas Commission. | } } } } | Connecticut Siting Council March 3, 2011 |
| --- | --- | --- |

Decision and Order

In response to recommendations contained within the Kleen Energy Plant Investigation Review Panel (Nevas Commission) Final Report of June 3, 2010 and the Thomas Commission Executive Report of September 21, 2010, the Connecticut Siting Council (Council) hereby modifies its Docket No. 190 Decision and Order of April 27, 1999, to include the following additional conditions:

- The use of natural gas as a fuel pipeline/system cleaning media for any future facility modification shall be prohibited.

- The Certificate Holder shall submit the following information to the Council 15-days prior to any future fuel pipeline/system cleaning operations related to any future facility modification:

  - Identification of the cleaning media to be used;

  - Identification of any known hazards through use of the cleaning media;

  - Description of how known hazards will be mitigated, including identification of any applicable state or federal regulations concerning hazard mitigation measures for such media;

  - Identification and description of accepted industry practices or relevant regulations concerning the proper use of such media;

  - Detailed specifications (narratives/drawings) indicating the location and procedures to be used during the pipe cleaning process, including any necessary worker safety exclusion zones;

  - Identification of the contractor or personnel performing the work, including a description of past project experience and the level of training and qualifications necessary for performance of the work;

  - Contact information for a special inspector hired by the Certificate Holder who is a Connecticut Registered Engineer with specific knowledge and experience regarding electric generating facilities or a National Board of Boiler and Pressure Vessel Inspector and written approval of such special inspector by the local fire marshal and building inspector; and

  - Certification of notice regarding pipe cleaning operations to all state agencies listed in General Statutes § 16-50j(h) and to the Department of Consumer Protection, Department of Labor, Department of Public Safety, Department of Public Works, and the Department of Emergency Management and Homeland Security.

- The Certificate Holder shall submit a copy of an Emergency Response/Safety Plan within 90 days of the date of this decision that identifies any revisions since the initial filing of the Development and Management Plan, if applicable, and that includes, but is not limited to the following:

  - A description of the results of any simulated emergency response activities with any state and/or local emergency response officials;

  - Details of the current construction site access system that accounts for all personnel entering and leaving facility; and

  - Establishment of an emergency responder/local community notification system for on-site emergencies and planned construction-related activities that could cause community alarm.  The system shall include notification to the following:  local emergency responders, city or town officials, state legislators, and local residents who wish to participate.

- The Certificate Holder shall comply with the following codes and standards, as adopted and amended by the Department of Public Safety and/or the Authority Having Jurisdiction, for any future fuel pipeline/system cleaning operations  related to any future facility modification:

  - NFPA 37 (2010 edition);

  - NFPA 54 (2009 edition);

  - NFPA 54 Temporary Interim Amendment 09-3 (August 25, 2010);

  - NFPA 850 (2010 edition);

  - NFPA 850 Temporary Interim Amendment 10-2 (November 9, 2010);

  - ASME B31 (2007); and

  - ASME B31.1 Appendices IV and V (2007).

- The Certificate Holder or facility owner/operator shall remit timely payments associated with annual assessments and invoices submitted by the Council for expenses attributable to the facility under Conn. Gen. Stat. §16-50v.

- The Certificate may be transferred in accordance with Conn. Gen. Stat. §16-50k(b), provided both the Certificate Holder/transferor and the transferee are current with payments to the Council for their respective annual assessments and invoices under Conn. Gen. Stat. §16-50v. In addition, both the Certificate Holder/transferor and the transferee shall provide the Council a written agreement as to the entity responsible for any quarterly assessment charges under Conn. Gen. Stat. §16-50v(b)(2) that may be associated with this facility.

- Not less than 30 days in advance, the Certificate Holder or facility owner/operator shall provide the Council with written notice that the facility plans to cease operation.

- If the Certificate Holder is a wholly owned subsidiary of a corporation or other entity and is sold/transferred to another corporation or other entity, the Council shall be notified of such sale and/or transfer and of any change in contact information for the individual or representative responsible for management and operations of the Certificate Holder within 30 days of the sale and/or transfer.

We hereby direct that a copy of the Findings of Fact, Opinion, and Decision and Order be served on each person listed below, and notice of issuance published in The Hartford Courant, New Britain Herald, and the Record-Journal.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are:

Applicant		Its Representatives

Meriden Gas Turbines, LLC	Andrew W. Lord, Esq.

Murtha Cullina LLP

CityPlace I, 185 Asylum Street

Hartford, CT  06103-3469

Raymond G. Long

Director, Government Affair

NRG Energy, Inc.

Middletown Station

P.O. Box 1001

1866 River Road

Middletown, CT  06457

Jonathan Milley

Vice President, NE Region

NRG Energy, Inc.

211 Carnegie Center

Princeton, NJ  08540

NRG Energy, Inc.

c/o Julie L. Friedberg, Senior Counsel – NE

211 Carnegie Center

Princeton, NJ  08540

Intervenor	Its Representative

The Connecticut Light and Power Company	Stephen Gibelli, Esq.

Associate General Counsel

The Connecticut Light & Power Company

P.O. Box 270

Hartford, CT 06141-0270

John R. Morissette, Manager

Manager - Transmission Siting and Permitting

The Connecticut Light & Power Company

P.O. Box 270

Hartford, CT 06141-0270

Christopher R. Bernard

Manager, Regulatory Policy (Transmission)

The Connecticut Light & Power Company

P.O. Box 270

Hartford, CT 06141-0270

Intervenor	Its Representative

Rivers Alliance of Connecticut/	Eric Hammerling, President

Farmington River Watershed Association	Rivers Alliance of Connecticut

P.O. Box 1797

Litchfield, CT  06759

Kevin Case

Farmington River Watershed Association

749 Hopmeadow Street

Simsbury, CT  06070

Party		Its Representative

Quinnipiac River Watershed Association	Mary Mushinsky

Executive Director

Quinnipiac River Watershed Association

P.O. Box 2825

Meriden, CT  06450