| DOCKET NO. 225D - Kleen Energy Systems, LLC Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of a Electric Generating Facility and Switchyard on River Road, Middletown, Connecticut. Reopening of this docket pursuant to Connecticut General Statutes § 4-181a(b) limited to Council consideration of changed conditions and of the attachment of conditions to the certificate consistent with the findings and recommendations in the Executive Report issued by the Thomas Commission. | } } } } | Connecticut Siting Council February 8, 2011 |
| --- | --- | --- |

Decision and Order

In response to recommendations contained within the Thomas Commission Executive Report of September 21, 2010, the Connecticut Siting Council (Council) hereby modifies its Docket No. 225 Decision and Order of November 21, 2002, to include the following additional conditions:

- Compliance with the following codes and standards, as adopted and amended by the Department of Public Safety and/or the Authority Having Jurisdiction, for any future fuel pipeline/system cleaning operations  related to any future facility modification:

  - NFPA 37 (2010 edition);

  - NFPA 54 (2009 edition);

  - NFPA 54 Temporary Interim Amendment 09-3 (August 25, 2010);

  - NFPA 850 (2010 edition);

  - NFPA 850 Temporary Interim Amendment 10-2 (November 9, 2010);

  - ASME B31 (2007); and

  - ASME B31.1 Appendices IV and V (2007).

- Establishment of an emergency responder/local community notification system within 30 days for on-site emergencies and planned construction-related activities that could cause community alarm.  The system shall include notification to the following:  local emergency responders, City of Middletown and Town of Portland officials, district legislators, representatives of the NRG facility on River Road, and local residents who wish to participate, specifically on Bow Lane (east of Cedar Lane) and River Road (east of Silvermine Road) in Middletown, and Wellwyn Drive, Lyman Road, and Payne Road in Portland.

- Inclusion of a facility operation Emergency Response Plan (ERP) within the Operations Plan that is required by the Council’s Decision and Order dated November 21, 2002.  Prior to commencing facility operations, the ERP shall be provided to the Council.  The Council shall consult with and solicit comments from all State agencies listed in General Statute ( 16-50j(h) and the Department of Emergency Management and Homeland Security, Department of Public Safety, Department of Labor, Department of Consumer Protection, Department of Public Works, City of Middletown, Town of Portland, and the South District Fire Department prior to approval of the ERP.

We hereby direct that a copy of the Findings of Fact, Opinion, and Decision and Order be served on each person listed below, and notice of issuance published in the Middletown Press.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are:

Applicant		Its Representatives

Kleen Energy Systems, LLC	Mr. William C. Corvo

President

Kleen Energy Systems, LLC

90 Industrial Park Road

Middletown, Connecticut 06457

Lee D. Hoffman, Esq.

Pullman & Comley, LLC

90 State House Square

Hartford, Connecticut 06103

Intervenor	Its Representative

NRG Middletown Power LLC	Alfred E. Smith, Jr.

Murtha Cullina LLP

Two Whitney Avenue

P.O. Box 704

New Haven, CT  06503

Intervenor	Its Representative

The Connecticut Light and Power Company	Duncan R. Mackay, Esq.

Vincent P. Pace, Esq.

Christopher R. Bernard

Manager-Regulatory Policy (Transmission)

John R. Morissette

Manager-Transmission Siting and Permitting

The Connecticut Light & Power Company

P.O. Box 270

Hartford, CT  06141-0270

Intervenor	Its Representative

City of Middletown	Timothy P. Lynch

Deputy City Attorney

City Attorney's Office

City of Middletown

245 deKoven, P.O. Box 1300

Middletown, CT  06457-1300

Intervenor		Its Representative

Connecticut River Watershed Council, Inc.	Jacqueline Talbot

Connecticut River Watershed Council, Inc.

DeKoven House Community Center

27 Washington Street

Middletown, CT 06457

Intervenor

Earle Roberts

785 Bow Lane

Middletown, CT  06457-4810

Party		Its Representative

Town of Portland	Jean M. D’Aquila

D’Aquila Law Offices, LLC

100 Riverview Center, Suite 205

Middletown, CT  06457

Intervenor

The Honorable Eileen M. Daily

State Senator - 33rd District

103 Cold Spring Drive

Westbrook, CT  06498

Intervenor

The Honorable Christie M. Carpino

State Representative – 32nd District

Legislative Office Building, Room 4108

Hartford, CT  06106-1591