| DOCKET NO. 398 - Northeast Utilities Service Company, on behalf of The Connecticut Light and Power Company application for a Certificate of Environmental Compatibility and Public Need for the construction, maintenance and operation of the proposed Sherwood Substation located at 6 New Creek Road, Westport, Connecticut. | } } } } | Connecticut Siting Council May 18, 2010 |
| --- | --- | --- |

Decision and Order

Pursuant to the foregoing Findings of Fact and Opinion, the Connecticut Siting Council (Council) finds that the effects associated with the construction, operation, and maintenance of a new substation located at 6 New Creek Road in Westport, Connecticut, including effects on the natural environment; ecological integrity and balance; forests and parks; scenic, historic, and recreational values; air and water purity; fish and wildlife; and public health and safety are not disproportionate either alone or cumulatively with other effects compared to need, are not in conflict with the policies of the State concerning such effects, and are not sufficient reason to deny the application.  Therefore, the Council directs that a Certificate of Environmental Compatibility and Public Need, as provided by General Statutes § 16-50k, be issued to The Connecticut Light and Power Company (CL&P) for the construction, operation, and maintenance of a new substation.

The facility shall be constructed, operated, and maintained substantially as specified in the Council’s record in this matter, and is subject to the following conditions:

- The Development and Management Plan shall include the following elements:

- A final site plan showing the placement of all substation equipment, structures, and buildings within the substation perimeter, landscape plantings, access, location of all temporary and permanent tap structures, and demolition plan for all structures and building components to be removed;

- Erosion and sediment controls consistent with the 2002 Connecticut Guidelines for Soil Erosion and Sediment Controls;

- Provisions for storm water management and transformer oil containment and;

- Discussion of the feasibility of an underground cable connection rather than an open-bus connection.

- The Certificate Holder shall comply with all future electric and magnetic field standards promulgated by State or federal regulatory agencies.  Upon the establishment of any new standards, the facilities granted in this Decision and Order shall be brought into compliance with such standards as soon as practical.

- The Certificate Holder shall provide the Council with written notice two weeks prior to the commencement of site construction activities.  In addition, the Certificate Holder shall provide the Council with written notice of the completion of site construction and the commencement of substation operation.

- The Certificate Holder shall notify the Council if and when substation operations terminate.

- Unless otherwise approved by the Council, this Decision and Order shall be void if all construction authorized herein is not completed within five years of the effective date of the Decision and Order, or within five years after all appeals to this Decision and Order have been resolved.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are:

| Applicant The Connecticut Light and Power Company | Its Representative John R. Morissette, Manager Transmission Siting and Permitting Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 Chris Swan, Director Municipal Relations Siting and Permitting Northeast Utilities Service Company 9 Tindall Avenue Norwalk, CT 06851 Kris Aberg, Project Manager Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 Duncan MacKay, Esq. Jeffery Cochran, Esq. Legal Department Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 Marianne Barbino Dubuque, Esq. Robert S. Golden, Jr., Esq. Carmody & Torrance LLP 50 Leavenworth Street P.O. Box 1110 Waterbury, CT 06721-1110 |
| --- | --- |