| DOCKET NT-2010 - Reopening of final decisions pursuant to C.G.S. §4-181a(b) for jurisdictional natural gas-fired electric generating facilities under C.G.S. §16-50i(a)(3) and C.G.S. §16-50k(a) limited to Council consideration of changed conditions and the attachment of conditions to the certificates and declaratory rulings consistent with the findings and recommendations in the Final Report issued by the Kleen Energy Plant Investigation Review Panel (Nevas Commission) and the findings and recommendations in the Executive Report issued by the Thomas Commission. DOCKET NO. 54/ DOCKET NO. 54A – O’Brien Energy Systems, Inc. Certificate of Environmental Compatibility and Public Need to construct a cogeneration facility in the City of Hartford, Connecticut DOCKET NO. 59 – Capitol District Energy Center Cogeneration Associates Certificate of Environmental Compatibility and Public Need for the construction, maintenance, and operation of a 55 MW cogeneration facility in Hartford, Connecticut. DOCKET NO. 60/ DOCKET NO. 60A – Flagg Energy Development Corporation Certificate of Environmental Compatibility and Public Need for the construction, maintenance, and operation of a 10,000 kW cogeneration facility located in Hartford, Connecticut. DOCKET NO. 64/DOCKET NO. 64A/DOCKET NO. 64B Dexter Corporation Certificate of Environmental Compatibility and Public Need for the construction, maintenance, and operation of a 48.5 MW cogeneration facility located in Windsor Locks, Connecticut. DOCKET NO. 189 - Lake Road Generating Company, L.P.Certificate of Environmental Compatibility and Public Need for an electric generating project located off of Lake Road in Killingly, Connecticut. DOCKET NO. 192 - Towantic Energy, LLC Certificate of Environmental Compatibility and Public Need for the construction, maintenance, and operation of a proposed electric generating facility located north of he Prokop Road and Towantic Hill Road intersection in the Town of Oxford, Connecticut. PETITION NO. 352 - The Connecticut Light and Power Company declaratory ruling that no Certificate is required for the emergency installation of four gas turbine generating units at Devon Station, in Milford. PETITION NO. 377 – Bridgeport Energy, LLC declaratory ruling that no Certificate is required for modifications to United Illuminating’s Bridgeport Harbor Station for constructing a 520 MW combined cycle gas turbine generating project, in Bridgeport. PETITION NO. 451 - PPL Wallingford Energy LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the construction of an electric generating facility at the site of the existing Alfred L. Pierce Station, located at 195 East Street in Wallingford. PETITION 546- Pratt & Whitney declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed modification to the existing cogeneration power facility at the Pratt & Whitney manufacturing facility located at 400 Main Street, East Hartford, Connecticut. PETITION NO. 902 - Pratt & Whitney declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed modification to the existing cogeneration power facility at the Pratt & Whitney manufacturing facility located at 400 Main Street, East Hartford, Connecticut PETITION NO. 563 - The Torrington Company declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed installation of two 70 kilowatt microturbine generators at 59 Field Street, Torrington, Connecticut. PETITION NO. 778 - Connecticut Municipal Electric Energy Cooperative declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed repowering of the Alfred L. Pierce Generating Station located at 195 East Street, Wallingford, Connecticut. PETITION NO. 805 - Ansonia Generation LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed construction, maintenance, and operation of a 58.4 MW combined heat and power natural gas-fired electric generating facility and transmission line tap located at 75 Liberty Street, Ansonia, Connecticut. PETITION NO. 813 - Kimberly-Clark Corporation declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed construction, maintenance, and operation of a combined heat and power electric generating facility, located at 58 Pickett District Road, New Milford, Connecticut. PETITION NO. 831 – Waterbury Generation LLC declaratory ruling no Certificate of Environmental Compatibility and Public Need is required for the construction of an electric generating facility and associated transmission line tap located at 725 Bank Street, Waterbury, Connecticut. PETITION NO. 841 – The Bridgeport Energy II, LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed construction, operation and maintenance of a 350 MW Peaking Facility at the existing Bridgeport Energy Facility located at 10 Atlantic Street, Bridgeport, Connecticut. PETITION NO. 843 – The NRG Energy, Inc. declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed installation of four 50 MW Peaking Units at its Devon Facility located at 700 Naugatuck Avenue, Milford, Connecticut. PETITION NO. 870 – The Hartford Steam Company declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed location, installation and operation of a 3.5 megawatt co-generation facility located at 60 Columbus Boulevard, Hartford, Connecticut. PETITION NO. 875 - GenConn Energy LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed installation and operation of four 50 MW peaking units at the Middletown Station located at 1866 River Road, Middletown, Connecticut. PETITION NO. 925 - PSEG Power Connecticut LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation and operation of three 48.5 MW peaking units at New Haven Harbor Station, 1 Waterfront Street, New Haven, Connecticut. | } } } | Connecticut Siting Council March 17, 2011 Electric Generator Decision and Order |
| --- | --- | --- |

Decision and Order

In response to recommendations contained within the Kleen Energy Plant Investigation Review Panel (Nevas Commission) Final Report of June 3, 2010 and the Thomas Commission Executive Report of September 21, 2010, the Connecticut Siting Council (Council) hereby modifies the above-referenced Decision and Orders and Declaratory Rulings, to include the following additional conditions:

- The use of natural gas as a fuel pipeline/system cleaning medium for construction or any future facility modification shall be prohibited.

- Submit the following information to the Council 15 days prior to any future fuel pipeline/system cleaning operations related to construction or any future facility modification:

  - Identification of the cleaning media to be used;

  - Identification of any known hazards through use of the selected cleaning media;

  - Description of how known hazards will be mitigated, including identification of any applicable state or federal regulations concerning hazard mitigation measures for such media;

  - Identification and description of accepted industry practices or relevant regulations concerning the proper use of such media;

  - Provide detailed specifications (narratives/drawings) indicating the location and procedures to be used during the pipe cleaning process, including any necessary worker safety exclusion zones;

  - Identification of the contractor or personnel performing the work, including a description of past project experience and the level of training and qualifications necessary for performance of the work;

  - Contact information for a special inspector hired by the Certificate Holder who is a Connecticut Registered Engineer with specific knowledge and experience regarding electric generating facilities or a National Board of Boiler and Pressure Vessel Inspector and written approval of such special inspector by the local fire marshal and building inspector; and

  - Certification of notice regarding pipe cleaning operations to all state agencies listed in General Statutes § 16-50j(h), the Department of Consumer Protection, Department of Labor, Department of Public Safety, Department of Public Works, Department of Emergency Management and Homeland Security, and the local Fire Marshal.

- Compliance with the following codes and standards, as adopted and amended by the Department of Public Safety and/or the Authority Having Jurisdiction, for any future fuel pipeline/system cleaning operations  related to construction or any future facility modification, as applicable:

  - NFPA 37 (2010 edition);

  - NFPA 54 (2009 edition);

  - NFPA 54 Temporary Interim Amendment 09-3 (August 25, 2010);

  - NFPA 850 (2010 edition);

  - NFPA 850 Temporary Interim Amendment 10-2 (November 9, 2010);

  - ASME B31 (2007); and

  - ASME B31.1 Appendices IV and V (2007).

- Submit a copy of an Emergency Response/Safety Plan within 90 days of the date of this decision that identifies any revisions since the initial filing of the Development and Management Plan, if applicable, and that includes, but is not limited to the following:

  - A description of the results of any simulated emergency response activities with any state and/or local emergency response officials;

  - Details of any facility site access system that accounts for all personnel entering and leaving the facility; and

  - Establishment of an emergency responder/local community notification system for on-site emergencies and planned construction-related activities that could cause community alarm.  The system shall include notification to the following:  local emergency responders, city or town officials, state legislators, and local residents that wish to participate.

- The Certificate Holder or facility owner/operator shall remit timely payments associated with annual assessments and invoices submitted by the Council for expenses attributable to the facility under Conn. Gen. Stat. §16-50v.

- If applicable, the Certificate Holder or facility owner/operator shall provide the Council with written notice of the completion of site construction and the commencement of site operation.

- This Certificate or Declaratory Ruling may be transferred in accordance with Conn. Gen. Stat. §16-50k(b), provided both the Certificate Holder/transferor or facility owner/operator/transferor and the transferee are current with payments to the Council for their respective annual assessments and invoices under Conn. Gen. Stat. §16-50v. In addition, both the Certificate Holder/transferor or the facility owner/operator/transferor and the transferee shall provide the Council a written agreement as to the entity responsible for any quarterly assessment charges under Conn. Gen. Stat. §16-50v(b)(2) that may be associated with this facility.

- The Certificate Holder or facility owner/operator shall provide the Council with not less than 30 days written notice that the facility plans to cease operation.

- If the Certificate Holder or facility owner/operator is a wholly owned subsidiary of a corporation or other entity and is sold/transferred to another corporation or other entity, the Council shall be notified of such sale and/or transfer and of any change in contact information for the individual or representative responsible for management and operations of the facility within 30 days of the sale and/or transfer.

We hereby direct that a copy of the Findings of Fact, Opinion, and Decision and Order be served on each person listed below, and notice of issuance published in The Hartford Courant.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are: