| DOCKET NT-2010 - Reopening of final decisions pursuant to C.G.S. §4-181a(b) for jurisdictional natural gas-fired electric generating facilities under C.G.S. §16-50i(a)(3) and C.G.S. §16-50k(a) limited to Council consideration of changed conditions and the attachment of conditions to the certificates and declaratory rulings consistent with the findings and recommendations in the Final Report issued by the Kleen Energy Plant Investigation Review Panel (Nevas Commission) and the findings and recommendations in the Executive Report issued by the Thomas Commission. PETITION NO. 482 - HEC, Inc., acting as agent for the State of Connecticut, declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for fuel cells and emergency generating devices to be developed at the Connecticut Juvenile Training School in Middletown, Connecticut. PETITION NO. 553 - Town of South Windsor declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed installation of a fuel cell at the South Windsor High School, 161 Nevers Road, South Windsor, Connecticut. PETITION NO. 598 - Yale University declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the construction of a fuel cell to be located on Yale's Campus in New Haven, Connecticut. PETITION NO. 619E - Select Energy Services, Inc. declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required is required for the construction, operation and maintenance of a fuel cell to be located at St. Francis Hospital and Medical Center, 114 Woodland Street, Hartford, Connecticut. PETITION NO. 647 - Nxegen, Inc. declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a fuel cell at the Water Pollution Control Authority at 345 East Shore Parkway, New Haven, Connecticut. PETITION NO. 696 - Johnson Controls, Inc. declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a 200-kW Fuel Cell at the Water Pollution Control Facility located at 330 One Rod Highway, Fairfield, Connecticut. PETITION NO. 711 -PPL Energy Services Holding, LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a Fuel Cell power plant for the Pepperidge Farm Inc. Facility located at 1414 Blue Hill Avenue, Bloomfield, Connecticut. PETITION NO. 785 - Bridgeport Fuel Cell Park declaratory ruling no Certificate of Environmental Compatibility and Public Need is required for the construction, maintenance, and operation of a 14.4 MW Fuel Cell Electric Project located on Hancock Street, Bridgeport, Connecticut. PETITION NO. 957 - Bridgeport Fuel Cell Park, LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed installation of a fuel cell generating facility located at Hancock Street, Bridgeport, Connecticut. PETITION NO. 810 - City of Middletown declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed construction, maintenance, and operation of a 200 kW fuel cell located at the new Middletown High School, Wilderman’s Way, Middletown, Connecticut. PETITION NO. 828 – DFG-ERG Milford, LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a fuel cell facility located at 775 Oronoque Road, Milford, Connecticut. PETITION NO. 847 – Pepperidge Farm, Inc. declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed installation of a 1.2 megawatt fuel cell located at 1414 Blue Hills Avenue, Bloomfield, Connecticut. PETITION NO. 921 - DFC-ERG CT, LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a Fuel Cell generating facility located at 535 Simsbury Road, Bloomfield, Connecticut. PETITION NO. 922 - DFC-ERG CT, LLC declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a Fuel Cell generating facility located at 1835 Hebron Avenue, Glastonbury, Connecticut. PETITION NO. 923 - Fuel Cell Energy, Inc. declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation and operation of a Fuel Cell test facility located at 539 Technology Park Drive, Torrington, Connecticut. PETITION NO. 943 - UTC Power Corporation declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a Customer-Side 400 kW Fuel Cell to be located at 931 Torringford Street, Torrington, Connecticut. PETITION NO. 948 - UTC Power Corporation declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a 400 kW Fuel Cell to be located at 360 State Street, New Haven, Connecticut. PETITION NO. 949 - UTC Power Corporation declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a 400 kW Fuel Cell to be located at 835 Washington Street, Middletown, Connecticut. PETITION NO. 953 - UTC Power Corporation declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of two 400 kW Fuel Cell to be located at 1 Aircraft Road, Middletown, Connecticut. PETITION NO. 961 - UTC Power Corporation declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the installation of a 400 kW Fuel Cell to be located at 170 Dewitt Street, New Haven, Connecticut. | } } } | Connecticut Siting Council March 17, 2011 Fuel Cell Decision and Order |
| --- | --- | --- |

Decision and Order

In response to recommendations contained within the Kleen Energy Plant Investigation Review Panel (Nevas Commission) Final Report of June 3, 2010 and the Thomas Commission Executive Report of September 21, 2010, the Connecticut Siting Council (Council) hereby modifies the above-referenced Declaratory Rulings, to include the following additional conditions:

- The use of natural gas as a fuel system cleaning medium during fuel cell construction, installation or modification shall be prohibited.

- Submit the following information to the Council 15 days prior to any fuel pipe cleaning operations related to fuel cell construction, installation, or modification:

  - Identification of the cleaning media to be used;

  - Identification of any known hazards through use of the selected cleaning media;

  - Description of how known hazards will be mitigated, including identification of any applicable state or federal regulations concerning hazard mitigation measures for such media;

  - Identification and description of accepted industry practices or relevant regulations concerning the proper use of such media;

  - Provide detailed specifications (narratives/drawings) indicating the location and procedures to be used during the pipe cleaning process, including any necessary worker safety exclusion zones;

  - Identification of the contractor or personnel performing the work, including a description of past project experience and the level of training and qualifications necessary for performance of the work;

  - Contact information for a special inspector hired by the Certificate Holder who is a Connecticut Registered Engineer with specific knowledge and experience regarding electric generating facilities or a National Board of Boiler and Pressure Vessel Inspector and written approval of such special inspector by the local fire marshal and building inspector; and

  - Certification of notice regarding pipe cleaning operations to all state agencies listed in General Statutes § 16-50j(h) and to the Department of Consumer Protection, Department of Labor, Department of Public Safety, Department of Public Works, and the Department of Emergency Management and Homeland Security.

- Compliance with the following codes and standards, as adopted and amended by the Department of Public Safety and/or the Authority Having Jurisdiction, during fuel cell construction, installation or modification, as applicable:

a.   NFPA 54 (2009 edition);

  - NFPA 54 Temporary Interim Amendment 09-3 (August 25, 2010);

  - NFPA 853 (2010 edition); and

  - ASME B31.

- Submit a copy of an Emergency Response/Safety Plan within 90 days of the date of this  decision that includes, but is not limited to the following:

  - A description of the results of any simulated emergency response activities with any state and/or local emergency response officials;

  - Details of any facility site access system; and

  - Establishment of an emergency responder/local community notification system for on-site emergencies and planned construction-related activities that could cause community alarm.  The system shall include notification to the following:  local emergency responders, city or town officials, state legislators, and local residents that wish to participate.

- The facility owner/operator shall remit timely payments associated with annual assessments and invoices submitted by the Council for expenses attributable to the facility under Conn. Gen. Stat. §16-50v.

- If applicable, the facility owner/operator shall provide the Council with written notice of the completion of site construction and the commencement of site operation.

- If the facility owner/operator is a wholly owned subsidiary of a corporation or other entity and is sold/transferred to another corporation or other entity, the Council shall be notified of such sale and/or transfer and of any change in contact information for the individual or representative responsible for management and operations of the facility within 30 days of the sale and/or transfer.

- The facility owner/operator shall provide the Council with not less than 30 days written notice that the facility plans to cease operations.

We hereby direct that a copy of the Findings of Fact, Opinion, and Decision and Order be served on each person listed below, and notice of issuance published in The Hartford Courant.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are: