PETITION NO. 352 - The Connecticut Light and Power Company petition that no Certificate of Environmental Compatibility and Public Need is required for the permanent installation of four existing gas turbine generators at Devon Station in Milford, Connecticut.

Connecticut

Siting

Council

June 30, 1997

Decision and Order

Pursuant to the foregoing Findings of Fact and Opinion, the siting of the four existing gas turbine generators at Devon Station, Milford, Connecticut, will not have a substantial adverse environmental effect and pursuant to General Statutes ( 16-50k, will not require a Certificate of Environmental Compatibility and Public Need.

The turbine units shall be operated and maintained substantially as specified in the Council’s record in this matter and subject to the following conditions:

CL&P shall continue monitoring and undertaking mitigation to address tonal and other noise that can be attributed to the facility.  These efforts shall be extended to include areas in Stratford, across the Housatonic River.

CL&P shall provide the results of DEP air quality modeling, monitoring, and orders to the Council, as such information becomes available from the Department of Environmental Protection.

CL&P shall notify the Council of changes in the lease/purchase agreement when such changes are executed.

Pursuant to General Statutes ( 16-50p, the Council directs that a copy of the Findings of Fact, Opinion, and Decision and Order be served on each person listed below, and notice of issuance shall be published in the Milford Citizen & Reporter and the Connecticut Post.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The participants to this proceeding are:

PETITIONER						ITS REPRESENTATIVES

Connecticut Light and Power Company	Daniel P. Venora

Senior Counsel

Northeast Utilities Service Company

P.O. Box 270

Hartford, CT  06141-0270

PARTY

Scott M. Allen

436 Bridgeview Place

Stratford, Connecticut 06497