| PETITION NO. 702 - Connecticut Light & Power Company petition for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed Plumtree to Triangle 115-kV Transmission Upgrade Project in the towns of Bethel and Danbury, Connecticut. | } } } | Connecticut Siting Council June 28, 2005 |
| --- | --- | --- |

Decision and Order

Pursuant to the foregoing Findings of Fact and Opinion, the Connecticut Siting Council (Council) finds that the effects associated with the reconstruction the existing 115-kV electric transmission line between the Plumtree Substation in Bethel and the Triangle Substation in Danbury are not significant and therefore are not sufficient reason to deny this petition.

The facilities shall be constructed, operated, and maintained substantially as specified in the Council’s record in this matter, and is subject to the following conditions:

1.	The Certificate Holder shall not commence construction activities until securing Council approval of a Development & Management Plan, consistent with the Regulations of Connecticut State Agencies Section 16-50j-60 through Section 16-50j-62 and which includes the following elements:

- A detailed site plan showing the placement of the access roads, structure foundations, equipment and material staging areas;

b.	An erosion and sediment control plan, consistent with the 2002 Connecticut Guidelines for Soil Erosion and Sediment Control as amended;

c.	Provisions for crossing inland wetland and watercourses;

d.	Vegetative clearing plan;

e.	A wetland restoration plan; and

f.	Invasive species management plan.

2.	The Certificate Holder shall hire an independent environmental consultant, subject to Council approval, to monitor and report on the removal of the existing infrastructure and installation of the new transmission system.

3.	The Certificate Holder shall comply with all future electric and magnetic field standards promulgated by State or federal regulatory agencies.  Upon the establishment of any new standards, the facilities granted in this Decision and Order shall be brought into compliance with such standards.

4.	Unless otherwise approved by the Council, this Decision and Order shall be void if all construction authorized herein is not completed within five years of the effective date of the Decision and Order, or within five years after all appeals to this Decision and Order have been resolved.

By this Decision and Order, the Council disposes of the legal rights, duties, and privileges of each party named or admitted to the proceeding in accordance with Section 16-50j-17 of the Regulations of Connecticut State Agencies.

The parties and intervenors to this proceeding are:

| APPLICANT Northeast Utilities Service Company, on behalf of The Connecticut Light and Power Company | Richard L. Street Carmody & Torrance LLP P.O. Box 1110 50 Leavenworth Street Waterbury, CT 06721-1110 Helen H. Wong Project Manager Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 Roger C. Zaklukiewicz Vice President-Transmission Projects Northeast Utilities Service Company P.O. Box 270 Hartford, CT 06141-0270 |
| --- | --- |