| PETITION NO. 831 – Waterbury Generation LLC petition for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the construction of an electric generating facility and associated transmission line tap located at 725 Bank Street, Waterbury, Connecticut. | } } } | Connecticut Siting Council April 10, 2008 |
| --- | --- | --- |

Decision and Order

Pursuant to the record in this proceeding, Waterbury Generation LLC’s proposed 96 MW combustion turbine peaking facility located at 725 Bank Street in Waterbury and the associated transmission line tap extending from the facility to the Baldwin Street Substation in Waterbury, will not have a substantial adverse environmental effect, and pursuant to General Statutes § 16-50k(a), we hereby declare that the project will not require a Certificate of Environmental Compatibility and Public Need.

The proposed facility shall be implemented substantially as specified in the Council’s record in this matter and subject to the following conditions:

- Waterbury Generation LLC shall comply with all applicable Department of Environmental Protection permits.

- Waterbury Generation LLC shall submit a copy of the final New Source Review Permit as approved by the Department of Environmental Protection.

- Waterbury Generation LLC shall comply with all State and local noise regulations.  Any required noise mitigation methods shall be submitted to the Council for review and approval.

- Waterbury Generation LLC shall develop a recreation resource plan with the City of Waterbury for the development of recreational resources in the South End Neighborhood.  Such plan shall be submitted to the Council upon completion.

- Waterbury Generation LLC shall submit a final air hazard determination to the Federal Aviation Administration (FAA) if the Connecticut Department of Environmental Protection determines the final height of the generator exhaust stack shall be less than 213 feet above ground level.  Waterbury Generation LLC shall submit the final FAA determination to the Council including the specifications of the associated marking and/or lighting scheme, if deemed necessary.

- Waterbury Generation LLC shall submit details of the final fence design and any associated landscape plan to the City of Waterbury for comment and to the Council for review and approval.

- Waterbury Generation LLC, or its successors, shall apply to the Council for approval of any substantial modifications to the site design or equipment, or the frequency of operation beyond peaking hours, as set forth in the Council’s record in this matter.

CERTIFICATION

The undersigned members of the Connecticut Siting Council (Council) hereby certify that they have heard this case, or read the record thereof, in PETITION NO. 831 – Waterbury Generation LLC petition for a declaratory ruling that no Certificate of Environmental Compatibility and Public Need is required for the proposed construction, maintenance, and operation 96 MW combustion turbine peaking facility and transmission line tap located at 725 Bank Street in Waterbury, Connecticut, and voted as follows to approve the proposed project:

Council Members						      Vote Cast

__________________________________				Yes

Daniel F. Caruso, Chairman

__________________________________	Yes

Colin C. Tait, Vice Chairman

__________________________________				Yes

Commissioner Donald W. Downes

Designee:  Gerald J. Heffernan

__________________________________				Abstain

Commissioner Gina McCarthy

Designee:  Frederick Riese

__________________________________				Absent

Philip T. Ashton

__________________________________				Yes

Daniel P. Lynch, Jr.

__________________________________				Yes

James J. Murphy, Jr.

__________________________________				Yes

Dr. Barbara Currier Bell

__________________________________				Yes

Edward S. Wilensky

Dated at New Britain, Connecticut, April 10, 2008.